TENDER SPECIFICATIONS

Unit mounted on an anodized aluminium structure with panels in painted steel.

Two transparent measuring cylinders:

Internal diameter: 114 mm.

External diameter: 120 mm.

Length: 1.3 m.

Both cylinders are marked longitudinally every 50 cm, so that the distance the ball travels after being thrown inside can be read.

Two light sources placed between the tubes for ease of viewing. Power: 58 W.

Two guides to aid the introduction of particles at the top of the tubes with the minimum disturbance to the liquid.

Six couplings for the guides to make the introduction of smaller balls possible (5 mm, 10 mm and 15 mm).

Two ball valves and two gate valves to aid the removal of balls from the bottom of the tubes, without a large loss of liquid.

Sets of balls of different sizes:

Ball 1 is made of stainless steel, diameter = 5 mm.

Ball 2 is made of stainless steel, diameter = 10 mm.

Ball 3 is made of stainless steel, diameter = 15 mm.

Ball 4 is made of stainless steel, diameter = 20 mm.

Ball 5 is made of stainless steel, diameter = 25 mm.

A stopwatch.

Two plastic beakers with a capacity of 0.50  l.  each one.

Cables and accessories, for normal operation.

Manuals:

This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

- Dimensions: 500 x 670 x 1800  mm approx. (19.68 x 26.38 x 70.87 inches approx.). - Weight: 40 Kg approx. (88.18 pounds approx.).

EXERCISES AND PRACTICAL POSSIBILITIES

1.- Determination of the Reynolds number.

2.- Determination of the dynamic and kinematic viscosity of a fluid.

3.- Drag coefficient of various particles of spheres.

4.- Measurements of the spheres resistance coefficients vs Reynolds number.

5.- Measurement of the terminal velocities of the spheres.

Optional

HVB/ICAI. Interactive Computer Aided Instruction Software System:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.