Tender Specifications

Bench-top unit.

Anodized aluminum frame and panels made of painted steel.

Main metallic elements made of stainless steel.

Diagram in the front panel with distribution of the elements similar to the real one.

The unit includes three types of nozzles, which can be changed quickly and easily:

Convergent type (conical), with 6 pressure tappings.

Convergent- divergent type, with 5 pressure tappings, for a design pressure ratio of 0.25.

Convergent- divergent, with 8 pressure tappings, for a design pressure ratio of 0.1.

Two control valves to provide an accurate control of the air pressure at the inlet and at the outlet as well.

Two manometers with a diameter of 100 mm, with a manometric pressure range from 0 to 10 bars, to indicate the inlet and outlet pressure of the air.

Eight manometers of 63 mm diameter, with a manometric pressure range from -1 to 9 bars, to indicate the pressure on the measuring points of the nozzle.

Two thermometers , from 0º C to 60° C, to indicate the air temperature before and after the nozzle.

Variable area flowmeter to indicate airflow in standard conditions (correction factors for other pressures and temperatures are provided).

Air filter and pressure regulator to provide constant pressure, clean and water-free air to the unit.

Manuals:

This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

Dimensions: 800 x 500 x 850 mm. approx. (31.50 x 19.68 x 33.46 inches approx.).  Weight: 50 Kg. approx. (110 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.-   Study of the flow in a convergent-divergent nozzle.

2.-   Study of the flow in a convergent nozzle.

3.-   Visual demonstration of the “choking effect”.

4.-   Visual demonstration of the pressure distribution.

5.-   Visual demonstration of the counter-pressure on the recompression position.

6.-   Determination of the inlet pressure effect on the mass flow rate with a constant counter-pressure and comparison with the theoretical predictions.

7.-   Determination of the counter-pressure effect on the mass flow rate.

8.-   Observation of the pressure distribution in nozzles.

Other practical possibilities:

9.-   Visual demonstration of under expansion and over expansion with re-compression.

10.- Investigation of the relationship between inlet pressure and mass flow rate.

11.- Investigation of the relationship between outlet pressure and mass flow rate for a convergent nozzle.

12.- Investigation of the relationship between outlet pressure and mass flow rate for convergent-divergent nozzles.

13.- Investigation of the pressure distribution in convergent and convergent-divergent nozzles when working over a variety of overall pressure ratios.

14.- Study of the effect of air temperature at the nozzles inlet and outlet.

Optional

TPT/ICAI. Interactive Computer Aided Instruction Software System:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.