TENDER SPECIFICATIONS

The complete AEL-FUSG. Final Smart Grid Trainer consists of:

a) AEL-FUSG-M. Final User Smart Grid - Smart Meter Trainer.

b) AEL-FUSG-E. Final User Smart Grid - Smart Energy Trainer.

c) AEL-FUSG-N. Final User Smart Grid - Net Metering Trainer.

d) AEL-FUSG-LO. Smart Grid Loads.

e) Optional accessories.

- AEL-FUSG-M. Final User Smart Grid - Smart Meter Trainer, consist of the following modules:

N-ALI01. Industrial Power Supply.

This module is used to simulate the electrical grid and supply the data concentrator (N-CTT) and other possible elements.

Three-phase differential protection.

Three-phase output: 380 Vac.

Single-phase output: 230 Vac.

Safety key.

Emergency stop button.

Required power supply: three-phase 380 Vac.

N-CTT. Data Concentrator Module.

The communications concentrator consists of:

-	A metering system formed by a number of smart meters (on our case, there is one residential smart meter). The data concentrator communicates with the smart meter by means of a power line.

-	Remote control System. It is a web platform that let us have access to the data concentrator, visualize all the smart meters connected to the power line and configure different parameters, visualize all the electrical parameters of the load connected to each smart meter, etc.

Configuration and control software (platform web).

The N-CTT module includes a platform web to control the Smart Meter.

So, the user can perform the following functions:

Real time monitoring, remote management and verification of the network quality.

Relay breaker to limit the maximum consumed power by the final user.

Bidirectional communication between the Utility (the student) and the Smart Meter: the student can control and monitoring the loads state and limit the maximum power required.

N-SM. Smart Meter Module.

The N-SM Module can carry out the following measurements and controls:

-	Current measurements.

-	Voltage measurements.

-	Active and reactive power measurement in four quadrants.

-	Bidirectional measurements of the active and reactive energy in four quadrants.

-	Power factor measurements.

-	Smart Relay to be controlled from the data concentrator platform web.

- AEL-FUSG-E. Final User Smart Grid - Smart Energy Trainer, consist of the following modules:

N-HPM. Home Power Module.

This module is used to share the electrical energy to other modules. Besides, it has a differential circuit breaker and a wireless smart energy meter.

The wireless smart energy meter has a ZigBee communication protocol and it can be programmed to control the smart relays that supply the loads. When the consumed energy reaches a programmed value, the smart relay will be opened, so we can limit the energy consumption.

Power supply: 230 Vac. 1 Input terminal. 8 Outputs terminals.

Smart Energy Meter: 2 x 1.5 V AAA batteries.

N-WLSM. Wireless Light Sensor Module.

This module is used to measure the luminance of a room and to send the measured parameters to the software. Through previous programming, we can associate luminance parameters to the smart relays and switch on/off the lights in function on the amount of light.

Wireless communication.

Button battery: 1.5 V.

Luminance sensor.

N-WSM. Wireless Switches Module.

This module is used to send commands of switching on/off to the N-IOWM (smart relays) with previews software programming. Besides this module has a temperature sensor to control the temperature with previously programming.

Wireless communication.

Button battery: 1.5 V.

N-IOWM. Wireless Outputs Module. (4 units)

This module is used to supply different loads. This element receives commands by means of radio frequency and it used to supply contactors coil or other loads in function of the programming software.

Wireless communication.

Nominal current: 0.5 A.

Input voltage: 230 Vac.

2 Outputs relays.

N-CON02. 3-Pole Contactor. (4 units)

These modules are contactors that receive orders of switching from the N-IOWM.

Coil voltage: 230 Vac.

Contacts current: 20 A.

Control and programming software.

The AEL-FUSG-E is provided with control and programming software.

The user can schedule switching schemes, visualize and compare the consumption with different loads, configure virtual scenes with different sensors and actuators to achieve the optimal consumption, among other possibilities to automate the consumption.

All these possibilities are programmed remotely through the software with the PC.

- AEL-FUSG-N. Final User Smart Grid - Net Metering Trainer, consist of the following modules:

N-ALI01. Industrial Power Supply.

This module is used to supply others modules.

Three-phase differential protection.

Three-phase output: 380 Vac.

Single-phase output: 230 Vac.

Safety key.

Emergency stop button.

Required power supply: three-phase 380 Vac.

N-PFD. Power Flow Distribution Module.

This module is used to control the power flows that come from the generator and the grid to supply the loads. Besides, it has an internal PLC to control automatically the measurement point by means of three switches. This module together the network analyzer (N-EALDG) let us to know the electrical parameters in the grid, in the generator and the loads in order to calculate the Net-Metering.

N-EALDG. Network Analyzer Unit with Computer Data Acquisition + Oscilloscope Display.

This module is used to take readings of the power flows of the loads, the grid and the generator.

With this unit the user can measure the following parameters:

+KWh, -KWh, +KVar, -KVar, +KVa, -KVa, +P, -P, +Q, -Q.

Besides this module can show currents and voltages waves.

It includes data acquisition PC oscilloscope and screen oscilloscope. It can monitor every electrical parameter involved in an electrical network.

N-VREG. Voltage Regulator Module.

This module is used to regulate the current excitation of the electrical generator.

This module has a switch to enable and disable the control of the excitation. Through a potentiometer, the user can regulate the amount of the current excitation.

This module has an ammeter in order to show the current excitation level.

N-ASY. Synchronoscope Module.

This module is used to synchronize the generator with the grid, so the user can inject energy and makes Net-Metering.

This module has a push-button to enable the synchronization and other push-button to disable the synchronization.

Besides it has a display that shows the following parameters:

Grid frequency.

Generator frequency.

Grid Voltage.

Generator output voltage.

Grid and Generator phase angle degrees.

N-REL46. Thermal Electric Motor Protection Module.

Magneto-thermal protection for the generator, with a current range from 6 to 10 Amperes, with trip type 10. It provides protection against overcurrent and short-circuits.

N-VVCA4K. 4 KW Motor Controller Module.

This module is used to control the motor that moves the electrical generator. With this module we simulate the wind speed. For this purpose the module has a potentiometer that allows control the speed of the motor, that is to say, the wind speed. Thus, the user can increase or decrease the generated active power.

Required power supply: 230 Vac.

Enable control switch.

Control speed potentiometer.

Nominal power: 4KW.

PMW three-phase output.

GMG4K. 4 KW Generator-Group.

This is an unit that simulates a wind turbine in home or industrial installations.

The generator has a nominal power of 3.5Kva and it is moved by mean of induction motor to simulate the wind speed.

It includes:

Induction motor: 4 KW.

Synchronous generator: 3.5 KVa.

When the electrical generator is synchronized with the grid, the potentiometer of the N-VVCA4K let us increase or decrease the active power generation.

- AEL-FUSG-LO. Smart Grid Loads:

In order to simulate different real consumptions and to carry out all the practical possibilities proposed AEL-FUSG Trainer requires a set of static and dynamic loads that represent different consumption generally used at home, industries and other places.

It is formed by:

N-REV. Variable Resistor.

Nominal current: 2 A. Nominal power: 500 W.

N-LAM16. Halogen Lamp.

Input voltage: 2 terminals of 230 Vac.

Power: 60W.

N-IND. Variable Inductance Load with commutator.

Nominal current: 2 A.

Inductance: 33 mH; 78 mH; 140 mH; 236 mH.

Commutator.

N-CAR19. Single-Phase Commutable Capacitor Load.

Nominal voltage: 230 Vac.

Capacitance: 7 F; 14 F; 21 F; 28 F; 35 F.

Commutator.

N-LAM32. LED Lamp.

Nominal voltage: 230 Vac.

N-VVCC/M. DC Motor Speed Controller.

Adjustable voltage: up to 320 Vdc. Maximum current: 2 A.

N-REF. Resistor Load with commutator. (4 units)

Nominal current: 2 A. Nominal power: 500 W.

EMT12. Universal Motor.

Power: 230 W.

Speed: 5000/9000 r.p.m.

Frequency: 50Hz/60Hz.

V.Armature.: 230 V.

FRECP. Eddy Current Brake.

FRECP is an unit designed to work as a magnetic brake by means of the induction of Foucault's parasitic currents.

The FRECP is similar to an electrical motor, since it has a stator winding, the inductor, that we will feed with a DC voltage. We will change the braking torque by means of this direct voltage.

The breaking torque is proportional to the current injected.

Nominal current: 1.67 A.

Maximum current: 1.8 A.

Maximum braking torque: 1.4 Nm.

Bench - support.

DC power supply.

EH. Electric Heating Module.

This module can be used for different purposes

Load purpose: this module is used like a resistive load of 700 W.

The EL-FUSG Trainer is supplied with:

Cables and Accessories, for normal operation.

Manuals.

- Optional accessories:

For AEL-FUSG-M. Final User Smart Grid - Smart Meter Trainer:

-OSM. Additional Smart Meter with AEL-FUSG-LO. Smart Grid Loads.

For AEL-FUSG-E. Final User Smart Grid - Smart Energy Trainer:

It can be included a series of home automation modules to complete the knowledge about smart control systems:

-AEL-HP-EM. Home Emergency Module.

-AEL-HP-SE. Home Security Module.

-AEL-HE-EN. Home Energy Module.

For AEL-FUSG-N. Final User Smart Grid - Net Metering Trainer:

It can be included a set of modules to simulate different renewable energy power generation:

-PPINV. Photovoltaic Panel with Inverter.

For simulating photovoltaic energy production.

-SWTI. Small Wind Turbine with Inverter.

For simulating wind energy production.

For AEL-FUSG-LO. Smart Grid Loads:

Optionally, in order to study the automatic reactive power compensation the AEL-FUSG-LO can be supplied with the following application:

-AEL-APFC. Single-phase Automatic Power Factor Compensation.

EXERCISES AND PRACTICAL POSSIBILITIES

Some Practical Possibilities:

AEL-FUSG-M. Final User Smart Grid – Smart Meter Trainer:

1.-	Communication process with the data concentrator.

2.-	Remote control of the smart meter relay.

3.-	Real time monitoring of the energy consumed by the loads.

4.-	Power factor comparison with different load combinations using the data concentrator web server.

5.-	Comparison of the energy consumption from the utility point of view (with the platform integrated in the data concentrator) and from the final user point of view (using the smart meter display).

6.-	Power factor correction using capacitor banks. The student can configure different loads and analyze the quality of energy in real time.

7.-	Instantaneous measurement of the current, voltage, active power and power factor.

NOTE: All practical exercises above can be done remotely, as actual utilities do with real Smart Grids.

AEL-FUSG-E. Final User Smart Grid – Smart Energy Trainer:

8.-	Studying the energy efficiency increase by using capacitor banks to compensate the reactive power of loads.

9.-	Real time monitoring of local consumptions with induction, resistor or capacitive loads.

10.-Simulation of different consumptions and scheduling of the Home Energy Management System devices by the final customer.

11.-Study of the optimal load demand and programming the smart devices according to different programming schemes.

12.-Controlling and programming the loads maximum accumulated consumption.

13.-Programming the panel´s inputs and outputs.

14.-Illumination control.

15.-Temperature control system.

16.-Programming the moment of the activating of washing machine.

17.-Remote scheduling of smart devices (Smart relays, thermostat, different sensors, etc.).

18.-Developing switching schemes for appliances connected to the smart relays or thermostat with the management platform.

Practical exercises of AEL-FUSG-E Trainer with AEL-FUSG-M Trainer:

19.-Measurement of energy consumption at home or by an industrial consumer and comparison of this measurement with the utility´s register (smart meter).

20.-Simulation of different consuming periods and scheduling of the Home Energy Management System devices.

21.-Telemetering of the energy consumed by the loads using the data concentrator platform.

AEL-FUSG-N. Final User Smart Grid – Net Metering Trainer.

22.-Synchronization operations of the generator.

23.-Real time monitoring of local consumptions with induction, resistor or capacitive loads.

24.-Simulation of renewable energy generation through Generator-Motor Group.

25.-Measurement of the energy generated by the Generator-Motor Group.

26.-Net Metering. Measuring the energy consumed and the energy injected to the grid and, finally, measuring the positive or negative energy balance.

27.-Measuring of the energy consumption by the loads without generator.

28.-Measuring the energy consumption by the loads with the generator and the grid controlling the power flows from the generator.

29.-Net-Metering operations: selling energy to the grid.

Other practical exercises that can be carry out with AEL-FUSG Trainer (complete system):

30.-Measurement of energy consumption at home or by an industrial consumer and comparison of this measurement with the utility´s register (smart meter).

31.-Remote scheduling of Smart devices (Smart plug, Smart relays, thermostat, different sensors, etc.)

32.-Development of switching schemes through the management platform for appliances connected to the smart plugs, smart relays or the thermostat.

33.-Scheduling the energy consumption for optimal periods of sunlight.