TECNEL/B is a Unit with Computer Control and Data Acquisition System designed to study the basis of Power Electronics. It allows students to study AC/DC, AC/AC converters.

TENDER SPECIFICATIONS

Items always included in the supply:

1 TECNEL/B. Unit:

Diagram in the front panel with similar distribution that the elements in the real unit.

Steel box.

Front panel:

Diodes module: 6 diodes.

Thyristors module: 6 thyristors.

Snubber net.

Sensors module:

4 Voltage sensors.

2 Current sensors.

Power supply connections for Vr, Vs, Vt, Neutral and Ground.

Practices schemes.

Back panel:

Data Acquisition Board connector (SCSI connector).

Tachodynamo connector.

Main fuses (Vr, Vs, Vt) and LEDs.

Circuit breaker (main switch).

Single-phase driver.

Three-phase driver.

TSI board.

Four relays board.

2 Three-phase relays.

Commuted power supply.

Three-phase magnetothermal.

Control Interface.

2 DAB. Data Acquisition Board:

PCI Data acquisition board (National Instruments) to be placed in a computer slot. Bus PCI.

Analog input:

Number of channels= 16 single-ended or 8 differential. Resolution=16 bits, 1 in 65536.

Sampling rate up to: 250 KSPS. (Kilo samples per second).

Input range (V)= 10V. Data transfers=DMA, interrupts, programmed I/0. Number of DMA channels=6.

Analog output:

Number of channels=2. Resolution=16 bits, 1 in 65536. Maximum output rate up to: 833 KS/s.

Output range(V)=10V. Data transfers=DMA, interrupts, programmed I/0.

Digital Input/Output:

Number of channels=24 inputs/outputs. D0 or DI Sample Clock frequency: 0 to 1 MHz.

Timing: Counter/timers=2. Resolution: Counter/timers: 32 bits.

3 TECNEL/B/CCSOF.Computer Control+Data Acquisition+Data Management Software:

Compatible with actual Windows operating systems. Graphic and intuitive simulation of the process in screen. Compatible with the industry standards.

Registration and visualization of all process variables in an automatic and simultaneously way.

Flexible, open and multicontrol software, developed with actual windows graphic systems, acting simultaneously on all process parameters.

Management, processing, comparison and storage of data.

Sampling rate up to 250,000 data per second.

Comparative analysis of the obtained data, after to the process and modification of the conditions during the process.

4  Cables and Accessories, for normal operation.

5  Manuals: This unit is supplied with 8 manuals: Required Services, Assembly and Installation, Interface and Control Software, Starting-up, Safety, Maintenance, Calibration & Practices Manuals.

Dimensions: 490 x 330 x 310 mm. approx.     Weight: 35 Kg. approx.

- References 1 to 5: TECNEL/B + DAB + TECNEL/B/CCSOF + Cables and Accessories + Manuals are included in the minimum supply, enabling a normal operation.

###### Complementary items:

Simulation Software:

6	PECADS. Power Electronics Computer Aided Design and Simulation Software. (Converters: DC/AC, AC/DC, DC/DC, AC/AC).

Digital Measurement Unit:

7	EAL. Network Analyzer Unit:

Steel box. Diagram in the front panel.

3 current inputs, for series intensity.

3 voltage terminals for each phase (R,S,T) measure and another one for the neutral connection.

Control and visualization digital display.

Voltage:	Range 20 - 500 Vrms.  Prec.: 0.5%. Phase to phase - Phase to neutral.

Current:	Range 0.02 - 5 Arms.  Prec.: 0.5%.

Frequency:	Range 48 to 62 Hz. 0.1Hz.

Power:	Active, Reactive and Apparent. Range 0.01 to 9900 kW. Prec.: 1%.

Power Factor:	Power Factor for each phase and average. Range -0.1 to + 0.1. Prec.: 1%.

Temperature:	Operating temperature 0 to +50°C.

Dimensions: 300 x 180 x 120 mm. approx.         Weight: 3 Kg. approx.

Analog Measurement Unit:

8	EAM-VA. Analog Measurement Unit:

Steel box.

4 Voltmeters.

- A.C. Measuring Instruments with moving iron.

- Voltmeter with measuring range from 0 to 500Vac.

- Horizontal scale with precision grade of 1.5 (following norm BS89/IEC51).

2 Ammeters.

- A.C. Measuring Instruments with moving iron.

- Ammeter with measuring range of 0 to 5A.

- Horizontal scale with precision grade of 1.5 (following norm BS89/IEC51).

2 Analog inputs for each meter.

Dimensions: 490 x 330 x 310 mm. approx.         Weight: 10 Kg. approx.

###### Recommended Accessories:

###### Loads:

IND. Inductance: (2 units)

- From 33 to 236 mH, or similar.

+

REV. Variable Resistance: (2 units)

-0-150W (500W), or similar.

OR

RCL3R. Resistive, Inductive and Capacitive Loads Module:

Our Resistive, Capacitive and Inductive Loads Module (RCL3R) offers: Single and Three-phase resistances,  Single and Three-phase inductances, Single and Three-phase capacitors.

Steel box. Diagram in the front panel.

Variable resistive loads:	3 x [ 150   (500 W) ].

Fixed resistive loads:	 3 x [ 150  (500 W) + 150  (500 W) ].

Inductive loads:	 3 x [ 0, 33, 78, 140, 193, 236 mH ].(230V /2 A)

Capacitive loads:	 3 x [ 4 x 7 F ]. (400V)

Dimensions: 490 x 450 x 470 mm. approx.       Weight: 30 Kg. approx.

###### Motors:

EMT15. D.C. Permanent magnet motor:

Power: 100W. Speed:4000 r.p.m. Maximum terminal voltage: 100V.

This motor is supplied with connectors, couplings and standard motor support.

###### Tachodynamo:

TECNEL/T. Tachodynamo:

Output voltage gradient: 30 +/-  3% V /1000 r.p.m.

Electrical supply: continuous d.c. output 0-100 V.

Dimensions: 200 x 150 x 50 mm. approx.           Weight: 1 Kg. approx.

EXERCISES AND PRACTICAL POSSIBILITIES

Some Practical Possibilities of the Unit:

- Single phase half-wave rectifier with load R.

- Single phase half-wave rectifier with load R-L.

- Single-phase half-wave rectifier with R-L load with free wheeling diode (FWD).

- Single-phase full-wave rectifier.

- Three-phase half-wave uncontrolled rectifier.

- Three-phase full-wave uncontrolled rectifier.

- Single-phase half-wave controlled rectifier.

- Single-phase full-wave controlled rectifier.

- Single-phase full-wave controlled rectifier with a DC motor.

- Three-phase full-wave completely controlled.

- Single-phase semi-controlled rectifier.

- Three-phase full-wave semi-controlled rectifier.

- Alternating regulators: R and R-L load.