TENDER SPECIFICATIONS

The EDAS/VIS System includes a Hardware: DAIB Data Acquisition Interface Box + DAB. Data Acquisition Board and a Software: EDAS/VIS-SOF.

Data Acquisition and Virtual Instrumentation Software:

1 DAIB. Data Acquisition Interface Box:

Metallic box. Dimensions: 310 x 220 x 145 mm. approx.

Front panel:

16 Analog inputs (1 block with12 voltage channels and 1 block with 2 current channels (4 connections)).

Sampling velocity 1,250,000 samples per second for EDAS/VIS 1.25 Version.

Sampling velocity 250,000 samples per second for EDAS/VIS 0.25 Version.

2 Analog outputs.

24 Digital inputs/outputs, configurable as inputs or outputs, with 24 state led indicators. These digital inputs/outputs are grouped in three ports of eight channels (P0, P1 and P3).

4 Digital signal switches 0-5V.

2 Analog signal potentiometers 12V.

Main ON/OFF switch.

Inside: Internal power supply of 12 and 5 V. Potentiometer.

Back panel:

Power supply connector. SCSI connector (for connecting with the data acquisition board).

Connecting cables.

2 DAB. Data Acquisition Board:

For EDAS/VIS 1.25 Version:

PCI Data acquisition board (National Instruments) to be placed in a computer slot. Bus PCI.

Analog input:

Number of channels= 16 single-ended or 8 differential. Resolution=16 bits, 1 in 65536.

Sampling rate up to: 1,250,000 S/s (samples per second). Input range (V)= 10V.

Data transfers=DMA, interrupts, programmed I/0. Number of DMA channels=6.

Analog output:

Number of channels=2. Resolution=16 bits, 1 in 65536. Max. output rate up to: 833 KS/s.

Output range(V)=10V. Data transfers=DMA, interrupts, programmed I/0.

Digital Input/Output: Number of channels=24 inputs/outputs. Port 0 up to 8 MHz.

Timing: Counter/timers=2. Resolution: Counter/timers: 32 bits.

For EDAS/VIS 0.25 Version:

Sampling rate up to: 250,000 S/s (samples per second).

Analog output: Max. output rate up to: 10 KS/s.

Digital Input/Output: Number of channels=24 inputs/outputs. Port 0 up to 1 MHz.

Rest of characteristics are the same than EDAS/VIS 1.25 Version.

3 EDAS/VIS-SOF.Data Acquisition and Virtual Instrumentation Software:

Compatible with actual Windows operating systems. Amicable graphical frame.

Configurable software allowing the temporal/frequency representation of the different inputs and outputs.

Visualization of a voltage of the circuits on the computer screen.

It allows data store in a file, print screens and reports of the signals at any time.

Measurement, analysis, visualization, representation and report of results.

Set of Virtual Instruments:

- Oscilloscope:

Channels: 12 simultaneous. Maximum input voltage: 10V.

All 12 input channels could be scaled to compare signal with different voltage levels.

“Math Menu” with operations as Addition, Subtraction, Multiplication and Division, between any of the 12 oscilloscope channels.

- Function Generator:

Two independent signal generators, for sinusoidal, triangular, saw tooth and square.

Channels: 2  (allowing working simultaneously). Maximum output voltage: 10V.

It includes a graph where an output signal for each channel is shown.

- Spectrum Analyzer:

Channels: 12 (simultaneous). Max. voltage: 10V. Digital spectrum analyzer: based on the FFT.

- Multimeter:

Voltmeter (Channels: 12 (simultaneous).Max voltage: 10V RMS).

Ammeter (Channels: 2 (simultaneous). Max. Ampere: 500 mArms per channel).

- Transient Analyzer.

- Logic Analyzer:

Number of Input channels: 8. TTL Voltage Level.

Clock Source: 3 different sources.

This instrument allows receiving as far as 8 digital signal simultaneously at 1 or 8 Mbps (depending of the version).

- Logic Generator:

Number of transmission channels: 8. TTL voltage level.

This instrument allows generating up to 8 digital simultaneous signals of 1 or 8 Mbps (depending of the version).

Sampling velocity 1,250,000 samples per second for EDAS/VIS 1.25 Version.

Sampling velocity 250,000 samples per second for EDAS/VIS 0.25 Version.

Manuals: This system is supplied with the following manuals: Required Services, Assembly and Installation, Interface and Software, Starting-up, Safety, Maintenance & Practices Manuals.

This system can be used with:

- All Modules type “M” (M1 to M99) of Basic Electronics (LIEBA).

- All Modules type “ED-CAM, ED-CFM and EDICOM” of Communications (LICOMBA).

- SAIT. Transducers and Instrumentation Trainer.

* Any other electronic board.