Tender Specifications

All elements are mounted in a metallic box, with power supply and block diagram.

Functional blocks:

Modulators and demodulators:

Amplitude Modulation (AM):

Double Side Band modulator (DSB).

Double Side Band Suppressed Carrier modulator (DSB-SC).

Single Side Band Suppressed Carrier AM modulator (SSB-SC).

Radio- Frequency Tuning.

Intermediate-Frequency (I.F) Mixer.

I.F Amplifier.

Envelope detector.

Product detector.

Frequency Modulation (FM):

Voltage Controlled Oscillator (VCO).

Phase-Locked Loop detector (PLL).

Analog Generators:

Carrier and audio signals.

Five analog Inputs.

Nine analog Outputs.

18 Test points.

Two controls.

Cables and Accessories, for normal operation.

Manuals: This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

Dimensions: 490 x 330 x 310 mm approx. (19.29 x 12.99 x 12.20 inches approx.)  Weight: 20 Kg approx. (44 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.-  Study of basic principles of AM modulation and demodulation technique.

2.-  Basic principles of DSB modulation and demodulation.

3.-  Basic principles of DSBSC modulation and demodulation.

4.-  Basic principles of SSBSC modulation and demodulation.

5.-  Comparison of the spectrum of AM, SSBSC and DSBSC signals.

6.-  Basic principles of FM modulation and demodulation.

7.-  Introduction to the PLL operation.

Optional

EMDA/ICAI. Interactive Computer Aided Instruction Software System:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager -ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft -ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.