TENDER SPECIFICATIONS

All elements are mounted in a metallic box, with power supply and block diagrams.

Signal Generators blocks:

Square Signal Generator block:

Amplitude: +12V.

Frequency range: 1Hz to 50KHz.

Sine Signal Generator block:

Amplitude: ± 2.5 V.

Frequency range: 1 Hz to 100KHz.

Triangle Signal Generator block:

Amplitude: ± 2.5 V.

Frequency range: 1 Hz to 100KHz.

Each signal generator contains an encoder to change the signal frequency and four BNC connectors with different output impedance.

Transmission Lines block:

2 transmission lines.

2 BNC connectors for each transmission line.

5 Test points along of each transmission line. The first and the last test point are straight connected with the BNC connectors and there is 10 m. of coaxial cable between test points.

40 m. of RG-174 coaxial cable in each line, a total of 80 m. in the 2 lines.

Load block:

Type of loads: resistive, inductive and capacitive loads.

First group of loads:

1 K potentiometer.

33  Resistance.

1 nF Capacitor.

4.7 H Inductance.

Short circuit/Open circuit.

Second group of loads:

1 K potentiometer.

50  Resistance.

10 nF Capacitor.

4.7 H Inductance.

Short circuit/Open circuit.

Switches to connect and disconnect each load.

3 BNC connectors.

Cables and Accessories, for normal operation.

Manuals: This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

Dimensions: 490 x 330 x 310 mm. approx. (19.29 x 12.99 x 12.20 inches approx.).     Weight: 20 Kg. approx. (44 pounds approx.).

EXERCISES AND PRACTICAL POSSIBILITIES

1.-	Familiarization with the trainer.

2.-	Analysis of the attenuation measurement along the line with Sine signal.

3.-	Analysis of the attenuation and distortion measurements along the line with Triangle signal.

4.-	Analysis of the attenuation and distortion measurements along the line with Square signal.

5.-	Calculation of insertion losses.

6.-	Measuring of VSWR of a matched and mismatched load and the conversion in return loss and reflection coefficient.

7.-	Calculation of line impedance and reflection coefficient with the Smith chart.

8.-	Analysis the velocity of propagation with TDR.

9.-	Measuring the length of a line with TDR.

10.-Use TDR to identify faults in the transmission line.

11.-Use TDR to identify the differences between matched loads and mismatched loads and study of the transmission line impedance.

12.-Use TDR to identify the differences between inductive and capacitive loads.

13.-Finding discontinuities on a line with TDR.