TENDER SPECIFICATIONS

The Antenna Trainer “EAN” is composed of:

RF-Generator and SWR-Meter: (in metallic box)

RF-Generator:

Based on voltage controlled oscillator (VCO).

Wide range of generated frequencies: from 600MHz to 1700MHz.

Frequency tuning through a potentiometer on the front panel.

Frequency display on the front panel.

50  of nominal impedance.

SWR-Meter:

Frequency range: 600 MHz to 2.5GHz.

Insertion loss ≥ 0.1dB.

SWR measurement through cross needle of forward and reflected RF power.

50  of nominal impedance.

SMA connector to transmitter antenna.

Spectrum Analyzer: (located in the receiver antenna tower)

Frequency range: 700 MHz to 2.5GHz.

Typically level range: -80 dBm to 0 dBm.

Configurable sample time, minimum 100ms.

Accuracy +/- 4 dB.

Direct RF spectrum display.

Frequency and signal strength display.

High resolution multifunction display.

50  of nominal impedance.

SMA connector to receiver antenna.

Two Towers of Antennas:

Receiver Antenna Tower.

Transmitter Antenna Tower. The base of this tower has screen printed marks of position (degree wheel) for help the students performing the radiations plots with different degree resolutions.

EAN-1. Antennas Kit: (included in the supply)

All antennas connect to RF-Generator through a SMA connector.

Monopole antenna:

Designed for 1200MHz transmission. /2 of wavelength. 50  of nominal impedance.

Monopole antenna with ground plane:

Designed for 1200MHz transmission. /2 of wavelength. 50  of nominal impedance.

Drooping monopole antenna:

Designed for 1200MHz transmission. /4 of wavelength. 50  of nominal impedance.

Straight dipole antenna (Short /2):

Designed for 1300MHz transmission. /2 of wavelength. 50  of nominal impedance.

Straight dipole antenna (Large ):

Designed for 1300MHz transmission.  of wavelength. 50  of nominal impedance.

Folded dipole antenna (300):

Designed for 1400MHz transmission. /2 of wavelength. 300  of nominal impedance.

Folded dipole antenna (adapted 50):

Designed for 1400MHz transmission. /2 of wavelength. 6:1 Balun (length: /2 of wavelength) inside the fixing system of the antenna. 50  of nominal impedance.

Helical antenna (Right-hand circular polarization):

Designed for 1600MHz transmission. 50  of nominal impedance.

Helical antenna (Left-hand circular polarization):

Designed for 1600MHz transmission. 50  of nominal impedance.

Circular loop antenna:

Designed for 850MHz transmission. 50  of nominal impedance.

Square loop antenna:

Designed for 850MHz transmission. 50  of nominal impedance.

Diamond loop antenna:

Designed for 850MHz transmission. 50  of nominal impedance.

Microstrip patch antenna:

Designed for 5 bands of frequency transmission. /2 of wavelength. 50  of nominal impedance.

Yagi-Uda antenna:

Designed for 900MHz transmission. 9 elements Yagi-Uda antenna. 50  of nominal impedance.

Log-periodic antenna:

Designed for the range between 700-2500MHz transmission. Max. transmission power: 100 W. 50  of nominal impedance. VSWR (typ.): <1:2. Gain (typ.): 4dBi.

Antennas expositor which allows the access of different antennas easily.

Space required between antennas: 2-3 m.

Cables and Accessories, for normal operation.

Manuals: This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

Optional accessories: (NOT included in the standard supply)

EAN-2. Antennas Kit:

Microstrip patch array antenna.

Horn antenna.

Parabolic reflector.

Log-periodic antenna.

Discone antenna.

Antennas expositor which allows the access of different antennas easily.

Dimensions: 	RF-Generator and SWR-Meter (in metallic box): 490 x 330 x 310 mm. approx. (19.29 x 12.99 x 12.20 inches approx.).

Transmitter Antenna Tower: 310 x 310 x 700 mm. approx. (12.20 x 12.20 x 27.56 inches approx.).

Receiver Antenna Tower: 310 x 310 x 700 mm. approx. (12.20 x 12.20 x 27.56 inches approx.).

Antennas Kit (EAN-1) in expositor: 1000 x 500 x 600 mm. approx. (39.37 x 19.69 x 23.62 inches approx.).

Total weight:	45 Kg. approx. (99 pounds approx.).

EXERCISES AND PRACTICAL POSSIBILITIES

1.-	Familiarization with the trainer.

2.-	Basic principles of radiation pattern parameters measurement.

3.-	Distance effect over radiation power.

4.-	Study of the surrounding signals.

5.-	Direction of maximum radiation and gain of an antenna.

6.-	Analysis of the antenna bandwidth.

7.-	Study of monopole antennas.

8.-	Study of antennas with ground planes.

9.-	Study of dipole antennas.

10.-Study of loop antennas (circular, square and diamond loop antennas).

11.-Study of circular polarization helical antennas.

12.-Study of Yagi-Uda antennas.

13.-Study of microstrip patch antennas.

14.-SWR measurement and conversion in Return loss and Reflected Power.

15.-Improvement of the performance of a system.

Additional practical possibilities to be done with the optional Antennas Kit (EAN-2):

16.-Study of horn antenna.

17.-Study of parabolic reflector.

18.-Basic principles of wide bandwidth antennas: log-periodic antenna.

19.-Basic principles of wide bandwidth antennas: discone antenna.

20.-Basic principles of microstrip patch array antenna.