TENDER SPECIFICATIONS

1  ESA. Unit:

Satellite Ground Transmitter Station (in metallic box):

Block diagram on the front panel with the components of the Satellite Ground Transmitter Station.

Different test points to connect to the Control Signal and Data Acquisition Module, to visualize in the computer the internal signals and the intermediate steps in the modulation of a signal and generation of the uplink.

Possibility of insert different faults to test the response of the system to components failure.

Generators:

Analog Generator:

Analog signal parameters configured with the software.

Audio Frequency Range: 0 Hz to 100 Hz.

Digital Generator:

Digital signal parameters configured with the software.

One byte sent per cycle.

Modulators:

Analog Modulator:

FM modulator based on Voltage Controlled Oscillator.

Digital Modulator:

DQPSK modulator based on PSK modulator.

Up Converter (Two steps up-converter): Receive the original modulated signal and generates the Uplink to be transmit to the Satellite Repeater.

First Local Oscillator: 10 kHz.

Second Local Oscillator: 916 MHZ.

BNC connector to Satellite Ground Transmitter Antenna.

Satellite Repeater (in metallic box):

Block diagram on the front panel with the components of the Satellite Repeater.

Different test points to connect to the Control Signal and Data Acquisition Module, to visualize in the computer the internal signals and the intermediate steps in the Satellite Repeater.

Possibility of insert different faults to test the response of the system to components failure.

Down Converter (Two steps down-converter): Receive the Uplink and recover the original modulated signal:

First Local Oscillator: 916 MHZ.

Second Local Oscillator: 10 kHz.

BNC connector to Satellite Receiver Antenna.

Up Converter (Two steps up-converter): Receive the original modulated signal and generates the 	Downlink to be transmit to the Satellite Ground Receiver 	Station:

First Local Oscillator: 8 kHz.

Second Local Oscillator: 869 MHZ.

BNC connector to Satellite Transmitter Antenna.

Satellite Ground Receiver Station (in metallic box):

Block diagram on the front panel with the components of the Satellite Ground Receiver Station.

Different test points to connect to the Control Signal and Data Acquisition Module, to visualize in the computer the internal signals and the intermediate steps in the reception of the downlink and demodulation of a signal.

Possibility of insert different faults to test the response of the system to components failure.

Down Converter (Two steps down-converter): Receive the Downlink and recover the original modulated signal:

First Local Oscillator: 869 MHZ.

Second Local Oscillator: 8 kHz.

BNC connector to Satellite Ground Receiver Antenna.

Demodulators:

Analog Demodulator:

FM demodulator based on PLL circuit.

Digital Demodulator:

DQPSK demodulator based on Costas Loop circuit.

Four Antennas for the Satellite Ground Transmitter and Receiver stations and the Satellite Repeater:

Horn antenna:

Operates in the Microwaves band of frequencies.

Sectorial horn antenna.

Flared in the direction of the magnetic plane (H-plane).

Antenna holder and structure:

Fixed antenna holder.

The complete unit includes as well:

Open Control + Multicontrol + Real-Time Control.

Specialized EDIBON Control Software based on Labview.

Projector and/or electronic whiteboard compatibility allows the unit to be explained and demonstrated to an entire class at one time.

Capable of doing applied research, training courses, etc.

Remote operation and control by the user and remote control for EDIBON technical support, are always included.

Totally safe, utilizing 4 safety systems (Mechanical, Electrical, Electronic & Software).

Designed and manufactured under several quality standards.

This unit has been designed for future expansion and integration. A common expansion is the

EDIBON Scada-Net (ESN) System which enables multiple students to simultaneously operate many units in a network.

2  Control Signal and Data Acquisition Module:

Metallic box.

Control & Faults: To connect to the different Control & Faults connectors of the unit.

Three DB-9 connectors to Satellite Ground Transmitter/Receiver Stations and Satellite Repeater.

Data Acquisition: To connect to the different test points of the unit.

Four BNC connectors to analog inputs.

250.000 samples per second in each channel.

Voltage range: ±10V.

3  DAB. Data Acquisition Board:

PCI Express Data acquisition board (National Instruments) to be placed in a computer slot. Bus PCI Express.

Analog input:

Number of channels= 16 single-ended or 8 differential. Resolution=16 bits, 1 in 65536.

Sampling rate up to: 250 KS/s (kilo samples per second).

Input range (V)= ±10 V. Data transfers=DMA, interrupts, programmed I/0. DMA channels=6.

Analog output:

Number of channels=2. Resolution=16 bits, 1 in 65536. Maximum output rate up to: 900KS/s.

Output range(V)= ±10 V. Data transfers=DMA, interrupts, programmed I/0.

Digital Input/Output:

Number of channels=24 inputs/outputs. D0 or DI Sample Clock frequency: 0 to 100 MHz.

Timing: Number of Counter/timers=4. Resolution: Counter/timers: 32 bits.

4  ESA/CCSOF. Computer Control + Data Acquisition + Data Management Software:

It works in conjunction with the “Control Signal and Data Acquisition Module” and it used to perform several tasks:

Generation configuration of the analog and digital signals that the user wants to transmit through the Satellite link.

Select the desired test points in the Satellite Ground Transmitter Station, Satellite Ground Receiver Station and the Satellite Repeater to be visualized.

Select the desired fault in the Satellite Ground Transmitter Station, Satellite Ground Receiver Station and the Satellite Repeater to analyze the response of the system.

Compatible with actual Windows operating systems.

Compatible with the industry standards.

Registration and visualization of all values and data information in an automatic and simultaneous way

Flexible, open and multi-control software, developed with actual windows graphic systems, acting simultaneously on all data from the system.

Management, processing, comparison and storage of data.

Sampling velocity up to 250 KS/s (kilo samples per second).

Graphic representation in real time

Comparative analysis of the obtained data, after the process with different parameters configuration

This unit allows the 30 students of the classroom to visualize simultaneously all the results and the manipulation of the unit, during the process, by using a projector or an electronic whiteboard.

5  Cables and Accessories, for normal operation.

6  Manuals:	This unit is supplied with the following manuals: Required Services, Assembly and Installation, Control Software, Starting-up, Safety, Maintenance & Practices Manuals.

* References 1 to 6 are the main items: ESA + Control Signal and Data Acquisition Module + DAB + ESA/CCSOF + Cables and Accessories + Manuals are included in the minimum supply for enabling normal and full operation.

Exercises and Practical Possibilities

1.-	Study of the operation principles of a satellite communication system.

2.-	Basic principles of analog modulation, frequency modulation (FM).

3.-	Basic principles of analog demodulation, frequency modulation (FM).

4.-	Basic principles of digital modulation, differential quadrature phase shift keying (DQPSK).

5.-	Basic principles of digital demodulation, differential quadrature phase shift keying (DQPSK).

6.-	Study of the characteristics of the Satellite Ground Transmitter Station, Satellite Repeater and Satellite Ground Receiver Station.

7.-	Study of the communication system through a Satellite Repeater performing the uplink and downlink.

8.-	Performing data transfers through a satellite communication system (Satellite Ground Transmitter Station–Satellite Repeater-Satellite Ground Receiver Station).

9.-	Study of the quality of the data transmission link.

10.-	Analysis of the system response with different fault insertions in the Satellite Ground Transmitter Station.

11.-	Analysis of the system response with different fault insertions in the Satellite Repeater.

12.-	Analysis of the system response with different fault insertions in the Satellite Ground Receiver Station.