TENDER SPECIFICATIONS

The AEL-PMEI application includes the following elements:

• Differential Switches.

Differential Switch 4 poles, 63A, 300mA and AC class.

Differential Switch 4 poles, 40A, 30mA and AC class.

Differential Switch 4 poles, 25A, 30mA and AC class.

Differential Switch 2 poles, 25A, 30mA and AC class.

• Circuit Breaker Switches.

Circuit breaker 4 poles, 16A, a cutting power of 6 kA and Curve C.

Circuit breaker 3 poles, 60A, a cutting power of 10 kA and Curve D.

Circuit breaker 3 poles, 25A, a cutting power of 10 kA and Curve C.

• Incandescent Lamps.

Halogen lamp, 33W, 230V.

Single Phase Outlet 230V.

2 x Switches.

4 x Switch of double way.

• Industrial Energy Supplying with energy counter.

3 x Carry fuses.

Carry fuse single phase encapsulated.

3 x Fuses.

Fuse for neutral.

Three-phase energy meter.

• General Control Panel and Protection.

Switch of Control of Potency, SCP, 20A.

Automatic General Switch, AGS, 25A.

Differential Switch, DS, 40A 30mA type A.

PIAs:

Automatic Switch 10 A.

2 x Automatic Switch 16 A.

Automatic Switch 25 A.

Automatic Switch 20 A.

• Surge Arresters.

Protector against transient modular of 500V, a cutting power of 40 kA and type 2.

Protector against transient modular of 275V, a cutting power of 40 kA and type 2.

Protector against transient modular of 255V, a cutting power of 5 kA and type 3.

Connecting to lightning rod.

• Power Outlets.

4 x Outlets with a protective earth.

Industrial outlet 3P + N + E.

• Measuring Instrumentation.

Clamp Meter:

Clamp for alternating current measurements contactless.

The clamp can measure:

Current.

Voltage.

Resistance.

Voltage and continuity tester:

Voltage range: 12-690V AC.

Phases rotating detection in three-phase systems.

Polarity tester.

Digital Multimeter.

This module has a digital multimeter of about 3 ½ digits, with double-jack ending cables of about 4 mm to facilitate interconnections.

With this digital multimeter we will bo able to measure:

Voltage.

Current.

Resistance.

Capacitors capacity.

Temperature.

Checker of Residual Currents (RCD).

This module is able to do cross-checks of impedance of connection to ground along with test of devices of residual currents (RCD).

Recommended elements:

• AEL-PC. Touch Screen and Computer.

Touch Screen:

Energy efficiency class: A.

Screen diagonal: 68.6 cm (27 inch (s)).

Power consumption (operating): 26 watts.

Annual energy consumption: 38 kWh.

Power consumption (standby / off) 0.49 watts.

Screen resolution: 1920 x 1080 pixels.

Computer:

Processor Number: Intel Core i7-6600U Processor (4M Cache, up to 3,40 GHz).

Cache: 4 MB Intel Smart Cache.

Clock speed: 2.6 GHz.

# Of Cores/# of Threads: 2/4.

Max. TDP/Power: 15 W.

Memory Types: DDR4-2133, LPDDDR3-1866, DDR3L-1600.

Graphics: Intel HD Graphics 530.

Slot for PCI Express.

• AEL-WBR. Electrical Workbench (Rack).

• All necessary cables to realize the practical exercises are included.

Cables and Accessories, for normal operation.

Manuals:

This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

- Dimensions: 1500 x 400 x 1800 mm approx. (59.05 x 15.74 x 70.86 inches approx.) - Weight: 80 Kg approx. (176 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.- Wiring, installation and test of protection fuses of the general line power supply.

2.- Wiring, installation and test of surge protection devices.

3.- Wiring, installation and test of three phase energy meter.

4.- Wiring, installation and test of the General Control and Protection Box.

5.- Wiring and test of Power Control Switch.

6.- Wiring and test of the General Circuit breakers.

7.- Wiring and test of Residual Current Device (RCD).

8.- Wiring and test of residual circuit breakers selective, both industrial and domestic.

9.- Wiring and test of light points corresponding to the C1 circuit.

10.- Wiring and test of power outlets corresponding to the C2 circuit.

11.- Wiring and test of industrial power outlet on its corresponding circuit.

12.- Study of various problems in domestic and industrial electrical installation.

13.- Measuring of the resistance of the electrode to ground.

14.- Study and verification of different protection measures.

15.- Study of lighting and surge protection.

16.- Verification of continuity of protective conductors connections.

- Several other exercises can be done and designed by the user.

Optional

AEL-PMEI/ICAI. Interactive Computer Aided Instruction Software System:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.