TENDER SPECIFICATIONS

The application includes the following modules:

• N-ALI02. Domestic Main Power Supply.

Supply voltage (Single-Phase): 230 VAC, PH+N+G.

ON-OFF removable key.

Output Voltage Connections:

Two Single-Phase: 230 VAC.

Single-Phase supply wire connecting plug.

Differential magnetothermal, 2 poles, 25A, 30mA AC 6KA.

• N-DAC. DALI Controller Module.

DALI input controller.

4 independent inputs for floating contacts.

For connecting standard momentary-action switch or switches.

Adjustable operating mode and range via rotary selector.

Power supply via DALI line: 24 VDC.

• N-LED1. LED Lamps Module.

Power supply: 230 VAC.

Typ. luminous flux category: 1,000 / 2,000 lm.

High system efficacy up to 90 lm/W at tp = 65 °C.

• N-MSE1. DALI Motion sensor Module.

Component of the comfortDIM system (DALI standalone).

With ambient light dependent control and presence detection.

Simple group assignment via rotary switch.

Multiple MSensors possible in a group.

Lighting control and presence detection can be deactivated.

Individual adjustment of the parameters with configuration software.

Power supply via DALI line: 24 VDC.

• N-PUS1. DALI Push-buttons Module.

2 x Push buttons.

• N-SFU1. Staircase Module.

Relay contact: 16 A.

Timer 0 – 17 min.

• N-LAM10.  Two Halogen Lamps.

Nominal voltage: 230 VAC.

Nominal Power: 2x 40W.

Additional and recommended modules:

• N-MED60. Network Analyzer.

ON-OFF switch.

Supply voltage: 230 VAC.

Input terminals: Input connection with the measurement point.

Output terminals: Output connection with the measurement point.

Digital outputs: Three digital outputs are used for pulses or alarms, or for combining both.

Fuses: 3x10 A.

Network Analyzer Display. It shows:

Active, reactive and apparent power.

Active, reactive and apparent energies.

Lines and phase currents.

Line and phase voltages.

Frequencies.

Power Factor.

• N-TCP1. DALI Touch Control Panel Module.

Control panels for DALI systems.

For controlling multiple luminaire groups and calling up preset lighting scenes.

Power supply via DALI line: 24 VDC.

Individual adjustment of the control panel and button assignments with configuration software.

Setting group addresses or “broadcast”.

Setting scenes.

• N-DKG. DALI-KNX Gateway.

Power supply: 230 VAC.

DC BUS: 24 VDC.

• All necessary cables to realize the practical exercises are included.

Cables and accessories, for normal operation.

Manuals:

This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

Dimensions: 1380 x 840 x 2010 mm. approx. (54.33 x 33.07 x 79.13 inches approx.).  Weight: 30 Kg. approx. (66 pounds approx.).

EXERCISES AND PRACTICAL POSSIBILITIES

1.- Connection of automatic and semi-automatic motion sensor to the main controller.

2.- Programming and regulation of constant light output.

3.- Scene setting.

4.- Testing the push-button function

5.- Testing of on-off lights function

6.- Staircase function (timer function)

7.- System analysis software

8.- Addressing capabilities.

9.- Comparison conventional lighting energy consumption and DALI lighting systems.

- Several other exercises can be done and designed by the user.

Optional

AEL-DALI/ICAI. Interactive Computer Aided Instruction Software System:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager –ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft –ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

-ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc...so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

User Data Base Management.

Administration and assignment of Workgroup, Task and Training sessions.

Creation and Integration of Practical Exercises and Multimedia Resources.

Custom Design of Evaluation Methods.

Creation and assignment of Formulas & Equations.

Equation System Solver Engine.

Updatable Contents.

Report generation, User Progression Monitoring and Statistics.

-ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF  is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired technical knowledge.

Innovative features:

Student Log-In & Self-Registration.

Existing Tasks checking & Monitoring.

Default contents & scheduled tasks available to be used from the first session.

Practical Exercises accomplishment by following the Manual provided by EDIBON.

Evaluation Methods to prove your knowledge and progression.

Test self-correction.

Calculations computing and plotting.

Equation System Solver Engine.

User Monitoring Learning & Printable Reports.

Multimedia-Supported auxiliary resources.