TENDER SPECIFICATIONS

• N-ALI01. Industrial Main Power Supply.

Supply voltage: 400 VAC, 3PH+N+G.

ON-OFF removable key.

Output voltage connections:

Three-Phase + Neutral: 400 VAC.

Single-Phase: 230 VAC.

Three-Phase supply hose with IP44 3PN+E 32A 400V connecting plug.

Differential magnetothermal, 4 poles, 25 A, 300 mA AC 6KA.

• N-REL09. Time Electronic Relay against Overcurrents (1.2 - 7 A).

Nominal  voltage: 230/24 VAC.

Time Electronic Relay against Overcurrents.

Contacts:

One Normally Open Contact (NO).

One Normally Close Contact (NC).

Common point of normally close/open contacts.

• N-REL60. Single-Phase Over/ Undercurrent Relay.

Overcurrent electronic relay.

Range: 0, 05-10 A.

Reset and test function.

One NONC contact.

Timing.

• N-ARR12. Direct Starter Module.

Nominal voltage: 400 VAC.

Maximum contacts current: 10 A.

Two positions commutator (ON-OFF):

0: Open circuit.

1: Closed circuit.

• N-VVCA. Advanced AC Motor Speed Controller.

Supply voltage: 230 VAC.

Nominal power: 0,75 kW.

PWM output voltage connections:

Three-Phases: 230 VAC.

Digital inputs control panel: 5 configurable digital inputs.

Analog inputs control panel:

0-10 V analog input for speed control.

4-20 mA analog input for speed control.

10 K, potentiometer for the induction motor control speed.

2 relay outputs for alarms configuration: 2 outputs NO/NC.

50 mA, 2 transistor outputs for alarms configuration.

Setting and visualization display of the machine parameters.

• N-EALD. Network Analyzer Unit with Computer Data Acquisition.

ON-OFF switch.

Supply voltage: 230 VAC+N+GND.

Input terminals: Input connection with the measurement point.

Output terminals: Output connection with the measurement point.

RS-485 Communication port.

Fuses: 3x10 A.

Network Analyzer Display. It shows:

Voltages (phase-phase, phase-neutral, angles, frequency, unbalance, THD)

Currents (max. demand, unbalance, TDD, THD)

Active, reactive and apparent power

Power factor (inductive and capacitive load)

Maximum demand (import, export, voltages, currents, PF).

MAX/MIN values.

V and I individual harmonics and their spectrums.

Voltages and currents phasors diagrams.

Waveforms of voltages and currents and THD values.

State of digital signals, external pulse counters or installation point counters

Relay output status.

Load bar graph displays the amount, in percent with respect of the nominal defined by the user.

• N-MED09. AC Ammeter (0-2.5 A).

Measurement range: 0-2.5 A.

Terminals:

Measurement Terminals.

Ground Terminal.

• N-MED11. AC Ammeter (0-10 A).

Measuring range:  0-10 A.

Terminals:

Measuring terminal.

Ground terminal.

• MED65. Digital Multimeter.

This module has a digital multimeter of about 3 ½ digits, with double-jack ending cables of about 4 mm to facilitate interconnections.

With this digital multimeter we will be able to measure:

Voltage.

Current.

Resistance.

Capacitors capacity.

Temperature.

• TECNEL/TM. Hand Tachometer.

Two AA batteries.

Three Positions switch to choice the measurement method.

Speed recording push button.

Speed measurement push button.

Disassemble pieces for different shafts.

Speed digital display.

• N-SERV1K. 1 kW Servomotor Module.

Dynamic and static four-quadrant operation.

Speed and torque displays.

Four-quadrant monitor.

Thermal monitoring of the machine under test.

Testing for the presence of a shaft cover.

Connection voltage: 400 V.

Frequency: 50 Hz.

Maximum power output: 10 kVA.

Maximum speed: 4000 r.p.m.

Maximum torque 30 Nm.

Temperature monitoring.

• N-TRANS03. Three-Phase Autotransformer  400/230 VAC, 1 kVA, Module.

Three-phase autotransformer.

Nominal supply voltage: 400 VAC (3PH).

Nominal output voltage: 3 x 230 VAC (3PH+N).

Nominal power: 1 kVA.

Transformer connection: YY0.

Start/stop commutator for instantaneous connection/disconnection of the grid transformer.

Fuses: 3 x 5 A.

• N-ARR01. Manual Star-Delta Starter.

Nominal voltage: 400 VAC.

Maximum contacts current: 10 A.

aStar-Delta three positions commutator:

0: Open circuit.

Y: Star connection.

Δ: Delta connection.

• N-ARR07. Manual Dahlander Commutator Module, 2 speeds.

Nominal voltage: 400 VAC.

Maximum contacts current: 10 A.

Three positions commutator:

0: Open circuit.

1: Low speed.

2: High speed.

• N-ARR09. Manual Independent Windings Commutator Module, 2 speeds.

Nominal voltage: 400 VAC.

Maximum contacts current: 10 A.

Three positions commutator:

0: Open circuit.

1: Winding 1.

2: Winding 2.

• N-REFTI. Three-phase Independent Resistor Module.

Nominal voltage: 400 VAC.

Resistor value: 3x150 Ohms.

Nominal power: 3x352 W.

Manual commutator to switch on/off the resistors.

Fuses: 3x5 A.

Terminals:

Three input terminals (3PH).

Three output terminals (3PH).

Ground terminal.

• N-VVCC/M. DC Motor Speed Controller (intermediate option).

Supply voltage: 230 VAC.

Variable output voltage: 0-300 VCC.

Fuse: 2 A.

• N-DMC01. Double Measurement and Control Module 1.

Power supply: 230 VAC.

Analog inputs:

Torque signal: 0-10 VDC.

Speed signal: 0-10 VDC.

• EMT6. A.C. Synchronous Three-Phase Motor Alternator.

Nominal power: 250 W.

Nominal output voltage: 3x 400 VAC.

Frequency: 50/60 Hz.

RPM:3000 r.p.m.

Nominal output current: 1 A.

Nominal excitation current: 0,25 A.

• EMT7. Asynchronous Three-Phase Motor of Squirrel Cage.

Nominal power: 370 W.

Nominal voltage: 3x 230/400 VAC  Δ/Y.

Frequency: 50/60 Hz.

Number of poles: 2.

RPM: 2730 r.p.m.

Nominal current: 1,67/ 0,97 A.

• EMT8. Asynchronous Three-Phase Motor of Wound Rotor.

Nominal power: 300 W.

Nominal voltage: 3x 230/400 VAC Δ/Y.

Frequency: 50/60 Hz.

Number of poles: 2.

RPM: 2870 r.p.m.

Nominal current: 1/ 0,5 A.

• EMT9. Dahlander Three-Phase Motor (two speeds).

Nominal power: 370 W.

Nominal voltage: 3x 400 VAC.

Frequency: 50/60 Hz.

Number of poles: 4.

RPM: 1400/2800 r.p.m

Nominal current: 1,2 / 1,55 A.

• EMT10. Asynchronous Three-Phase Motor with two independent speeds.

Nominal power: 240/370 W.

Nominal voltage: 3x 400 VAC.

Frequency: 50/60 Hz.

RPM: 900/1420 r.p.m.

Nominal current: 1,05 / 1,35 A.

• EMT11. Asynchronous Single-Phase Motor with Starting Capacitor.

Nominal power: 370 W.

Nominal voltage: 3x 230 VAC.

Frequency: 50/60 Hz.

RPM: 2780 r.p.m.

Nominal current: 2,53 A.

• EMT16: Asynchronous Single-Phase Motor with Starting and Running Capacitor.

Supply voltage: 110-220 V.

Power: 370 W.

Speed: 2780 r.p.m.

Frequency: 50/60 Hz.

Armature current: 1,85 A.

• EMT20. Asynchronous Single-phase Motor with split phase.

Supply voltage: 220 V.

Power: 370 W.

Speed: 2780 r.p.m.

Frequency: 50 Hz.

Armature current: 2,53 A.

• EMT21. Three-phase Reluctance Motor.

Nominal power: 300 W.

Nominal voltage: 3x 400 VAC.

Frequency: 50/60 Hz.

RPM:3000 r.p.m.

Nominal current: 1,4 A.

• All necessary cables to realize the practical exercises are included.

Cables and accessories, for normal operation.

Manuals:

This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

-Dimensions: 1380 x 840 x 2010 mm approx. (54.33 x 33.07 x 79.13 inches approx.).  -Weight: 80 Kg approx. (176 pounds approx.).

EXERCISES AND PRACTICAL POSSIBILITIES

ACEMT-K1: Asynchronous Three-Phase Squirrel Cage Motor Kit.

1.- Advanced frequency controller wiring and start-up. (Optional).

2.- Advanced frequency controller programming. (Optional).

3.- Three-Phase Asynchronous Squirrel Cage Motor speed control through the frequency controller. (Optional).

4.- Direct starting of the Three-Phase Asynchronous Motor of Squirrel Cage.

5.- Star-delta starting of the Three-Phase Asynchronous Motor of Squirrel Cage.

6.- Measuring of Voltages, Currents, Active Power, Reactive Power, Power Factor, etc. of the Three-Phase Asynchronous Motor of Squirrel cage.

7.- Speed digital measurement of the Three-Phase Asynchronous Motor of Squirrel cage.

8.-  Braking test with the servomotor for the Three-Phase Asynchronous Squirrel Cage Motor controlled by the frequency controller.

9.-  Three-Phase ovecurrent protection calibration and testing.

ACEMT-K2: Asynchronous Three-Phase Motor of Wound Rotor Kit.

10.- Advanced frequency controller wiring and start-up. (Optional).

11.- Advanced frequency controller programming. (Optional).

12.- Three-Phase Asynchronous Motor of Wound Rotor speed control through the frequency controller. (Optional).

13.- Direct starting of the Three-Phase Asynchronous Motor of Wound Rotor.

14.- Star-delta starting of the Three-Phase Asynchronous Motor of Wound Rotor.

15.-  Measuring of Voltages, Currents, Active Power, Reactive Power, Power Factor, etc. of the Three-Phase Asynchronous Motor of Wound Rotor.

16.-  Speed digital measurement of the Three-Phase Asynchronous Motor of Wound Rotor.

17.- Braking test with the servomotor for the Three-Phase Asynchronous Motor of wound rotor controlled by the frequency controller.

18.- Three-Phase ovecurrent protection calibration and testing.

ACEMT-K3: Dahlander Three-Phase Motor Kit.

19.- Wiring of the Three-Phase Dahlander Motor and the manual commutator of two speeds.

20.- Direct starting of the Three-Phase Dahlander Motor.

21.- Manual change of the Three-Phase Dahlander Motor speed.

22.- Measuring of Voltages, Currents, Active Power, Reactive Power, Power Factor, etc. of the Three-Phase Dahlander Motor.

23.- Speed digital measurement of the Three-Phase Dahlander Motor.

24.- Braking test with the servomotor for the Three-Phase Dahlander Motor.

25.- Three-Phase ovecurrent protection calibration and testing.

ACEMT-K4: Asynchronous Three-Phase Motor of two independent speeds Kit.

26.- Wiring of the Three-Phase Asynchronous Motor of two independent speeds and the independent windings manual commutator.

27.- Direct starting of the Three-Phase Asynchronous Motor of two independent speeds.

28.- Manual change of the Three-Phase Asynchronous Motor of two independent speeds speed.

29.- Measuring of Voltages, Currents, Active Power, Reactive Power, Power Factor, etc. of the Three-Phase Asynchronous Motor of two independent.

30.- Speed digital measurement of the Three-Phase Asynchronous Motor of two independent speeds.

31.- Braking test with the servomotor for the Three-Phase Asynchronous Motor of two independent speeds.

32.- Three-Phase overcurrent protection calibration and testing.

ACEMT-K5: Asynchronous Single-Phase Motor with starting capacitor Kit.

33.- Wiring of the Single-Phase Asynchronous Motor with Starting Capacitor.

34.- Direct starting of the Single-Phase Asynchronous Motor with Starting Capacitor.

35.- Measuring of Voltages, Currents, Active Power, Reactive Power, Power Factor, etc. of the Single-Phase Asynchronous Motor with Starting Capacitor.

36.- Speed digital measurement of the Single-Phase Asynchronous Motor with Starting Capacitor.

37.- Braking test with the servomotor for the Single-Phase Asynchronous Motor with Starting Capacitor.

38.- Single-phase overcurrent protection calibration and testing.

ACEMT-K6: Asynchronous Single-Phase Motor with starting and running capacitor Kit.

39.- Wiring of the Single-Phase Asynchronous Motor with Starting and Running Capacitor.

40.- Direct starting of the Single-Phase Asynchronous Motor with Starting and Running Capacitor.

41.- Measuring of Voltages, Currents, Active Power, Reactive Power, Power Factor, etc. of the Single-Phase Asynchronous Motor with Starting and Running Capacitor.

42.- Speed digital measurement of the Single-Phase Asynchronous Motor with Starting and Running Capacitor.

43.- Braking test with the servomotor for the Single-Phase Asynchronous Motor with Starting and Running Capacitor.

44.- Single-phase overcurrent protection calibration and testing.

ACEMT-K7: Asynchronous Single-Phase Motor with split phase Kit.

45.- Wiring of the Single-Phase Asynchronous Motor with split phase.

46.- Direct starting of the Single-Phase Asynchronous Motor with split phase.

47.- Measuring of Voltages, Currents, Active Power, Reactive Power, Power Factor, etc. of the Single-Phase Asynchronous Motor with split phase.

48.- Speed digital measurement of the Single-Phase Asynchronous Motor with split phase.

49.- Braking test with the servomotor for the Single-Phase Asynchronous Motor with split phase.

50.- Single-phase overcurrent protection calibration and testing.

ACEMT-K8: Three-Phase Reluctance Motor Kit.

51.- Wiring of the Three-Phase Reluctance Motor.

52.- Direct starting of the Three-Phase Reluctance Motor.

53.- Measuring of Voltages, Currents, Active Power, Reactive Power, Power Factor, etc. of the Three-Phase Reluctance Motor.

54.- Speed digital measurement of the Three-Phase Reluctance Motor.

55.- Braking test with the servomotor for the Three-Phase Reluctance Motor.

56.- Three-Phase ovecurrent protection calibration and testing.

ACEMT-K9: Three-Phase Synchronous Generator Kit.

57.- Wiring of the Three-Phase Synchronous Generator.

58.- Analysis of the parameters to be controlled in an AC synchronous generator .

59.- Analysis of the speed vs voltage at the generator output with a constant excitation current.

60.- Analysis of the excitation current vs voltage at the generator output with constant frequency.

61.-  Analysis of the voltage drop in the under loaded generator.

Practical exercises with the recommended Control and Data Acquisition System Software for Electrical Machines, with SCADA, “EM-SCADA”:

62.- Real time torque measurement.

63.- Real time speed measurement.

64.- Real time current and voltage RMS values.

65.- Real time current and voltage waveforms measurement.

66.- Electrodynamical study of the motor.

67.- Obtaining characteristic curves (torque-speed curve, torque-current curve etc).

68.- Obtaining the saved results.

69.- Manual and automatic braking test and real time monitoring of the results.

- Several other exercises can be done and designed by the user.

Optional

AEL-ACEMT/ICAI. Interactive Computer Aided Instruction Software System:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.