TENDER SPECIFICATIONS

The trainer includes the following modules:

• N-ALI01. Industrial Power Supply

Supply voltage: 400 VAC, 3PH+N+G.

ON-OFF removable key.

Output voltage connections:

Three-Phase + Neutral: 400 VAC.

Single-Phase: 230 VAC.

Three-Phase supply hose with IP44 3PN+E 32A 400V connecting plug.

Differential magnetothermal, 4 poles, 25A, 300mA AC 6KA.

• N-VVCA. Advanced AC Motor Speed Controller.

Supply voltage: 230 VAC.

Nominal power: 0,75 kW.

PWM output voltage connections:

Three-Phases: 230 VAC

Digital inputs control panel: 5 configurable digital inputs.

Analog inputs control panel:

0-10V analog input for speed control.

4-20mA analog input for speed control.

10K, potentiometer for the induction motor control speed.

2 relay outputs for alarms configuration: 2 outputs NO/NC.

50 mA, 2 transistor outputs for alarms configuration.

Setting and visualization display of the machine parameters.

• N-ARR01. Manual Star-Delta Starter.

Nominal voltage: 400 VAC.

Maximum contacts current: 10A.

Star-Delta three positions commutator:

0: Open circuit.

Y: Star connection.

Δ: Delta connection.

• N-ARR13. Direct Starter with Inversion.

Nominal voltage: 400 VAC.

Maximum contacts current: 10A.

Three positions commutator:

0: Open circuit.

1: Direct connection.

2: Reverse connection.

• N-VVCC/M. DC Motor Speed Controller (Middle option).

Supply voltage: 230 VAC.

Variable output voltage: 0-300 VCC

Fuse: 2 A.

• N-ARR12. Direct Starter.

Nominal voltage: 400 VAC.

Maximum contacts current: 10A.

Two positions commutator (ON-OFF):

0: Open circuit.

1: Closed circuit.

• N-TRANS03. Three-Phase Autotransformer.

Three-phase autotransformer.

Nominal supply voltage: 400 VAC (3PH).

Nominal output voltage: 3 x 230 VAC (3PH+N).

Nominal power: 1 kVA.

Free configuration (delta, star and zig-zag).

Start/stop commutator for instantaneous connection/disconnection of the grid transformer.

Fuses: 3x5 A.

• FRECP. Eddy Current Brake.

Maximum supply voltage: 60 V cc

Nominal current: 1,67 A

Maximum current: 1,8 A

Maximum braking torque: 1,4 Nm.

• N-EALD. Network Analyzer Unit with Computer Data Acquisition

ON-OFF switch

Supply voltage: 400 VAC

Input terminals: Input connection with the measurement point.

Output terminals: Output connection with the measurement point.

Digital outputs: Three digital outputs are used for pulses or alarms, or for combining both.

RS-485 Communication port

Fuses: 3x10 A

Network Analyzer Display. It shows:

Active, reactive and apparent power

Active, reactive and apparent energies

Lines and phase currents

Line and phase voltages

Frequencies

Power Factor

• EMT7. Asynchronous Three-Phase Motor of Squirrel Cage.

Nominal power: 370 W

Nominal voltage: 3x 230/400 VAC  Δ/Y

Frequency: 50/60 Hz

Number of poles: 2

Speed: 2730 rpm

Nominal current: 1,67/ 0,97 A

• All necessary cables to realize the practical exercises are included.

Cables and accessories, for normal operation.

Manuals:

This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

Dimensions: 1380 x 840 x 2010 mm. approx.  (54.33 x 33.07 x 79.13 inches approx.). Weight: 85 Kg. approx. (187 pounds approx.).

EXERCISES AND PRACTICAL POSSIBILITIES

1.-	Advanced programming of a Variable Frequency Controller.

2.-	Manual control speed of the induction motor with the frequency controller.

3.-	Forward and Reverse operations with the induction motor and the frequency controller.

4.-	Programming of the acceleration time of the induction motor with the frequency controller.

5.-	Programming of the deceleration time of the induction motor with the frequency controller.

6.-	Programming different conditions with digital inputs in the frequency controller to simulate different real situations in the industry.

7.-	Programming the speed response of the induction motor with the frequency controller.

8.-	Study of load consumption of the induction motor changing the braking torque.

9.-	Study of different alarms that can be programmed in the frequency controller.

10.-	Manual star-delta starter operation.

11.-	Direct starter with inversion operation.

12.-	Direct starter operation.

Some practical exercises possibilities with the EM-SCADA:

13.- 	Visualization of torque/current VS speed of the induction motor with manual star/delta starter.

14.-  	Visualization of torque/current VS speed of the induction motor with the frequency controller.

15.-  	Visualization of torque/current VS speed of the induction motor with direct starter.

16.-  	Comparison of graphs with different starting types.

Optional

AEL-IMSU/ICAI. Interactive Computer Aided Instruction Software System:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager –ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft –ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

-ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc...so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

User Data Base Management.

Administration and assignment of Workgroup, Task and Training sessions.

Creation and Integration of Practical Exercises and Multimedia Resources.

Custom Design of Evaluation Methods.

Creation and assignment of Formulas & Equations.

Equation System Solver Engine.

Updatable Contents.

Report generation, User Progression Monitoring and Statistics.

-ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired technical knowledge.

Innovative features:

Student Log-In & Self-Registration.

Existing Tasks checking & Monitoring.

Default contents & scheduled tasks available to be used from the first session.

Practical Exercises accomplishment by following the Manual provided by EDIBON.

Evaluation Methods to prove your knowledge and progression.

Test self-correction.

Calculations computing and plotting.

Equation System Solver Engine.

User Monitoring Learning & Printable Reports.

Multimedia-Supported auxiliary resources.