TENDER SPECIFICATIONS

The AEL-EEA application includes the following elements:

• N-ALI02. Domestic Main Power Supply.

Supply voltage (Single-Phase): 230 VAC, PH+N+G.

ON-OFF removable key.

Output Voltage Connections:

Two Single-Phase: 230 VAC.

Single-Phase supply hose connecting plug.

Differential magnetothermal, 2 poles, 25A, 30mA AC 6KA.

• N-VVCA/M. AC Motor Speed Controller (Intermediate option).

Supply voltage: 230 VAC.

Nominal power: 0,4 kW.

PWM output voltage connections:

Three-Phases: 230 VAC

10K, potentiometer for the induction motor control speed.

Setting and visualization display of the machine parameters.

• EMT7. Asynchronous Three-Phase Motor of Squirrel Cage.

Nominal power: 370 W.

Nominal voltage: 3x 230/400 VAC  Δ/Y.

Frequency: 50/60 Hz.

Number of poles: 2.

RPM: 2730 rpm.

Nominal current: 1,67/ 0,97 A.

• EMT6. Synchronous Three-Phase Motor Alternator.

Nominal power: 200 W.

Nominal voltage: 3x 400/230VAC Y/ Δ.

Frequency: 50/60 Hz.

Number of poles: 2.

RPM: 3000 rpm.

Nominal current: 1 A.

Nominal excitation current: 0,7 A.

• N-VREG. Voltage Regulator.

Supply voltage (Single-Phase): 230 VAC PH+N+G.

Output terminals:

Terminal to be connected to the generator excitation.

Analog ammeter 0-10 A.

Switch to enable the excitation.

Fuse: 5 A.

• N-REFT300. 300 Ohms Three-phase Fixed Resistor Module.

Nominal voltage: 400 VAC.

Resistor value: 3x300 Ohms.

Nominal power: 3x200 W.

Manual commutator to switch on/off the resistors.

Fuses: 3x5 A.

Terminals:

Three input terminals (3PH).

Three output terminals (3PH).

Ground terminal.

• N-INDT. Three-phase Commutable Inductive Load.

Nominal voltage: 400 VAC.

Inductance value: 1,4 H.

Nominal current: 1,6 A.

Manual commutator to switch on/off the inductances.

Fuses: 3x2 A.

Terminals:

Four inputs terminals (3PH+N).

Four outputs terminals (3PH+N).

Ground terminal.

• N-CONT. Three- phase Commutable Capacitive Load.

Capacitor value: 3x7 uF.

Nominal Voltage: 400 VAC.

Manual commutator to switch on/off the capacitors.

Fuses: 3x4 A.

Terminals:

Four inputs terminals (3PH+N).

Four outputs terminals (3PH+N).

Ground terminal.

• N-MED60. Network Analyzer.

Supply voltage: 230 VAC, PH+N.

ON-OFF power supply switch.

Fuses: 3x10 A.

Input terminals:

Four input terminals (3PH+N).

Output terminals:

Four output terminals (3PH+N).

Ground terminal.

Network Analyzer Display. It shows:

Active, reactive and apparent power.

Active, reactive and apparent energies.

Lines and phase currents.

Line and phase voltages.

Power Factor.

Line frequency.

• MED65. Digital Multimeter.

This module has a digital multimeter of about 3 ½ digits, with double-jack ending cables of about 4 mm to facilitate interconnections.

With this digital multimeter we will be able to measure:

Voltage.

Current.

Resistance.

Capacitors capacity.

Temperature.

-Dimensions: 1380 x 840 x 2010 mm. approx. (54.33 x 33.07 x 79.13 inches approx.).  -Weight: 75 Kg. approx. (165 pounds approx.).

EXERCISES AND PRACTICAL POSSIBILITIES

1.- Checking the main power supply.

2.- Commissioning of the Frequency Controller.

3.- Adjusting the necessary values in the frequency controller.

4.- Adjusting the rotation direction.

5.- Adjusting the start function.

6.- Adjusting the frequency commutation, nominal voltage, nominal current, nominal frequency, etc.

7.- Study the operational performance in the frequency controller.

8.- Measuring power and RMS.

9.- Realize different experiments with the generator and the loads.

10.- U/f function optimization.

11.- Field current regulation and open circuit voltage.

12.- Generator drop voltage with resistive load.

13.- Generator drop voltage with inductive load.

14.- Generator get output voltage constant.

15.- Generator power factor compensation.

Some practical exercises possibilities with the EM-SCADA:

16.- Visualization of synchronous generator waves.

- Several other exercises can be done and designed by the user.

Optional

AEL-EEA/ICAI. Interactive Computer Aided Instruction Software System:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.