TENDER SPECIFICATIONS (for main items)

1 AEL-SST-01. Unit.

The application includes the following modules:

• N-ALI01. Industrial Main Power Supply.

Supply voltage: 400V AC, 3PH+N+G.

ON-OFF removable key.

Output voltage connections:

Three-Phase + Neutral: 400V AC.

Single-Phase: 230V AC.

Three-Phase supply hose with IP44 3PN+E 32A 400V connecting plug.

Differential magnetothermal, 4 poles, 25A, 300mA AC 6KA.

• N-EALD. Network Analyzer Unit with Data Acquisition.

ON-OFF switch.

Supply voltage: 400V AC.

Input terminals: Input connection with the measurement point.

Output terminals: Output connection with the measurement point.

Digital outputs: Three digital outputs are used for pulses or alarms, or for combining both.

RS-485 Communication port.

Fuses: 3x10 A.

Network Analyzer Display. It shows:

Active, reactive and apparent power.

Active, reactive and apparent energies.

Lines and phase currents.

Line and phase voltages.

Frequencies.

Power Factor.

• N-BUS08. Distribution Busbar Module (4 units)

Supply Voltage: 230V AC.

Double busbar topology, with two disconnectors and one circuit breaker.

Two interconnection terminals.

One Power Input/Output to connect lines, generation, loads, etc.

Two push-buttons by each disconnector / circuit breaker to open and close them.

State indications lamps:

Two lamps to indicate the state of busbars.

Three pilot-lights to indicate the state of the circuit breaker and the disconnectors.

Two Ethernet connections.

• N-BUS09. Coupling Busbar Module.

Supply Voltage: 230V AC.

Double busbar topology, with two disconnectors and one circuit breaker. The circuit breaker open and close the circuit between the two busbars.

Two interconnection terminals.

Two push-buttons by each disconnector / circuit breaker to open and close them.

State indications lamps:

Two lamps to indicate the state of busbars.

Three pilot-lights to indicate the state of the circuit breaker and the disconnectors.

Two Ethernet connections.

• N-PSM. Power Switch Module.

Supply voltage: single-phase 230V AC.

Power terminals:

Four power input terminals (3PH+N)

Four power output terminals (3PH+N)

Auxiliary contacts:

One “NO” contact.

One “NC” contact.

Two push-buttons to open / close the power terminals and auxiliary contacts.

Two control contacts of 24V DC.

Two voltage supply outputs of 24V DC.

• N-REL09. Time Electronic Relay against Overcurrents (1.2 - 7 A).

Electronic thermal relay.

Overload protection.

Range 1.2 – 7A.

Reset and test function.

1 NONC contact.

Temporization.

Additional and recommended modules:

• N-REFT/3C. 3x300 W Three-Phase Configurable Resistors Module.

Configurable Star and Delta connections.

Three banks with three three-phase resistors of 1600 Ω.

Nominal voltage: 400V AC.

Nominal power: 3 x (3 x 300) W.

• N-INDT/3C. 3x300 Var Three-Phase Configurable Inductances Module.

Configurable Star and Delta connection.

Three banks with three three-phase inductances of 5 H.

Nominal voltage: 400V AC.

Nominal power: 3 x (3x300) VAr.

• N-CAR19T/3C. 3x300 Var Three-Phase Configurable Capacitors Module.

Configurable Star and Delta connection.

Three banks with three three-phase capacitors of 2 µF.

Nominal voltage: 400V AC.

Nominal power: 3 x (3 x 300) VAr.

• N-AE1. Transmission Line Simulator Module.

Four capacitors  banks of 1uF by capacitor to simulate capacitance between lines.

Two capacitors of 1 and 2uF by phase to simulate capacitances between the line and earth.

Two resistors of 15 and 30 Ohm by phase.

One inductance by phase with 33, 78, 140, 193 and 236 mH terminals.

One neutral resistor of 10 Ohm.

• All necessary cables to realize the practical exercises are included.

The complete unit includes as well:

Advanced Real-Time SCADA.

Open Control + Multicontrol + Real-Time Control.

Specialized EDIBON Control Software based on LabVIEW.

Projector and/or electronic whiteboard compatibility allows the unit to be explained and demonstrated to an entire class at one time.

Capable of doing applied research, real industrial simulation, training courses, etc.

Remote operation and control by the user and remote control for EDIBON technical support, are always included.

Totally safe, utilizing 4 safety systems (Mechanical, Electrical, Electronic & Software).

Designed and manufactured under several quality standards.

Optional ICAI software to create, edit and carry out practical exercises, tests, exams, calculations, etc. Apart from monitoring user's knowledge and progress     reached.

This unit has been designed for future expansion and integration. A common expansion is the EDIBON Scada-Net (ESN) System which enables multiple students to simultaneously operate many units in a network.

2 Cables and Accessories, for normal operation.

3 Manuals:

This unit is supplied with 7 manuals: Required Services, Assembly and Installation, Control Software, Starting-up, Safety, Maintenance & Practices Manuals.

*	References 1 to 6 are the main items: AEL-SST-01 + AEL-SST-01/CIB + DAB + AEL-SST-01/CCSOF + Cables and Accessories + Manuals are included in the minimum supply for enabling normal and full operation.

EXERCISES AND PRACTICAL POSSIBILITIES TO BE DONE WITH THE MAIN ITEMS

1.-  Basic wiring of double busbar substation.

2.-  Double busbar coupling maneuver.

3.-  Operation logic with circuit breakers and disconnectors in a double busbar substation.

4.-  Load sharing with different feeders.

5.-  Busbar changeover without interruption.

6.-  Automatic opening of circuit breakers and disconnectors through overcurrent relay. (AEL-SST-02 base unit required)

7.-  Voltage drop at the line as function of line length.

8.-  Voltage drop at the line as function of the power factor of the load.

9.-  Capacitive and inductive power losses on a line.

10.-Compensation of the power factor with capacitors bench.

11.-Remote coupling maneuver of double busbar with SCADA (AEL-TI-07 base unit required).

12.-Remote control operations logic with circuit breakers and disconnectors in switching substations with SCADA (AEL-TI-07 base unit required).

13.-Remote busbar changeover maneuver without interruption of supplying with SCADA (AEL-TI-07 base unit required).

14.-Voltage drop at the line as function of line length with SCADA (AEL-TI-07 base unit required).

15.-Voltage drop at the line as function of the power factor of the load with SCADA (AEL-TI-07 base unit required).

16.-Capacitive and inductive power losses on a line with SCADA (AEL-TI-07 base unit required).

17.-Load sharing with different feeders with SCADA (AEL-TI-07 base unit required).

18.-Remote control operations with circuit breakers and disconnectors with SCADA (AEL-TI-07 base unit required).

19.-Remote electrical measurements in several points of switching substation with SCADA (AEL-TI-07 base unit required).

Other possibilities to be done with this application:

20.-Many students view results simultaneously. To view all results in real time in the classroom it can be used a projector or an electronic whiteboard.

21.-The Computer Control System with AEL-TI-07/CCSOF allows a real industrial simulation.

22.-This application is totally safe as uses mechanical, electric and electronic, and software safety devices.

23.-This application can be used for doing applied research.

24.-This application can be used for giving learning courses to industries even to other Technical Education Institutions.

- Several other exercises can be done and designed by the user.

TENDER SPECIFICATIONS (for optional items)

a) Technical and Vocational Education configuration

4 AEL-SST-01/ICAI. Interactive Computer Aided Instruction Software System.

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc...so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.

b) Multipost Expansions options

5 MINI ESN. EDIBON Mini Scada-Net System for being used with EDIBON Teaching Units.

MINI ESN. EDIBON Mini Scada-Net System allows up to 30 students to work with a Teaching Unit in any laboratory, simultaneously.

The MINI ESN system consists of the adaptation of any EDIBON Computer Controlled Unit with SCADA integrated in a local network.

This system allows to view/control the unit remotely, from any computer integrated in the local net (in the classroom), through the main computer connected to the unit.

Main characteristics:

- It allows up to 30 students to work simultaneously with the EDIBON Computer Controlled Unit with SCADA, connected in a local net.

- Open Control + Multicontrol + Real Time Control + Multi Student Post.

- Instructor controls and explains to all students at the same time.

- Any user/student can work doing "real time" control/multicontrol and visualisation.

- Instructor can see in the computer what any user/student is doing in the unit.

- Continuous communication between the instructor and all the users/students connected.

Main advantages:

- It allows an easier and quicker understanding.

- This system allows you can save time and cost.

- Future expansions with more EDIBON Units.

The system basically will consist of:

This system is used with a Computer Controlled Unit.

- Instructor’s computer.

- Students’ computers.

- Local Network.

- Unit-Control Interface adaptation.

- Unit Software adaptation.

- Webcam.

- MINI ESN Software to control the whole system.

- Cables and accessories required for a normal operation.