TENDER SPECIFICATIONS

The WIT-IEP application includes the following elements:

• FP-STR. Assembly Frame with Safe Electrical Power Supply.

Aluminum structure:

Three aluminum struts.

Easy assembly of components via hammer head screws.

Possibility of simultaneous  work of several students.

Four swiveling casters to facilitate the movement.

Dimensions:

Structure height: 1800 mm.

Useful working height: 1000 mm.

Width: 1500 mm.

Three-Phase connection plug.

Safe electric box:

Differential magnetothermal, 4 poles, 25A, 300mA AC 6KA.

Emergency stop mushroom (230/400V AC).

5-wire hose for connection to frame.

Signal lamp of voltage presence.Armature voltage: 200V DC.

• FP-KIT-1. Feeders Installation Kit.

Differential magnetothermal, 4 poles, 25A, 300mA AC 6KA.

Single-phase fuse holder for DIN rail mounting:

Fuse: 1 x 30 A.

Three-phase fuse holder for DIN rail mounting:

Fuses: 3 x 30 A.

• FP-KIT-4. Wiring Installation Kit.

100 meters of grey wire of 2.5 mm².

100 meters of brown wire of 2.5 mm².

100 meters of black wire of 2.5 mm².

100 meters of green/yellow wire of de 2.5 mm².

25 meters of screened wire.

• FP-KIT-10. Tubes and Fittings for Channeling Wiring Kit.

PVC electrical conduit for wiring installation, 20 m.

3 electrical boxes.

Cable guide.

20 PMA cable clamps 20 mm.

• FP-KIT-9. 400 VAC Contactors Kit.

Five three pole circuit breakers:

Nominal voltaje of power terminals: 400V AC.

Nominal voltaje of control terminals: 230V AC.

Nominal voltaje coil: 230V AC.

Auxiliary contacts: 3 NO / 2 NC.

• FP-KIT-24. Differential Circuit Breakers Kit.

Differential circuit breaker, selective (S), 4 poles, 63A, 300mA, A.

Differential circuit breaker, 2 poles, 25A, 300mA, A.

Differential circuit breaker, 2 poles, 16A, 10mA, A.

Differential circuit breaker, 2 poles, 25A, 30mA, AC.

• FP-KIT-25. Magnetothermal Circuit Breakers Kit.

Magnetothermal circuit breaker, 4 poles, 16A, C curve, 6kA.

Magnetothermal circuit breaker, 2 poles, 10A, C curve, 6kA.

Magnetothermal circuit breaker, 2 poles, 6A, C curve, 6kA.

Magnetothermal circuit breaker, 2 poles, 6A, B curve, 6kA.

• FP-KIT-27. Thermal Relays Kit.

Thermal Relay:

Three-phase.

Adjustable current range: 2,5-4 A.

Auxiliary contacts: NO / NC.

Electronic thermal relay:

Three-phase.

Adjustable current range: 1-4 A.

Auxiliary contacts: NO / NC.

• FP-KIT-28. Overvoltage Protection Kit.

Transient overvoltage suppressor:

Protects against transient overvoltage.

• FP-KIT-30. Electrical Protections Testing Kit.

Equipment to inject differential adjustable current for testing:

Current range: 0-30 Ma.

Equipment to inject adjustable current for magnetothermal testing:

Current range: 0-50 A.

Required elements:

• CHER. Tool Box.

Crimper.

Tin.

Meter.

Insulation tape.

Heat shrink.

Voltage tester screwdriver.

Cross-head screwdriver and flat-head screwdriver.

Allen keys.

Soldering iron.

Rubber hammer.

Wire terminals and Connection terminals.

Flanges.

Wire cutter.

Screw Clamp Terminals.

Wire Stripper.

Recommended elements:

• MED65. Digital Multimeter.

This module has a digital multimeter of about 3 ½ digits, with double-jack ending cables of about 4 mm to facilitate interconnections.

With this digital multimeter we will be able to measure:

Voltage.

Current.

Resistance.

Capacitors capacity.

Temperature.

• FP-KIT-10/B. Rigid Tube Kit.

20 m PVC Rigid Tube.

10 x Threaded connector.

5 x Elbows for conducts clamping.

• FP-KIT-5. Measuring Kit.

Clamp Meter:

Clamp for alternating current measurements contactless.

The clamp can measure:

Current.

Voltage.

Resistance.

A voltage and continuity tester:

Voltage range: 12-690V AC.

Phases rotating detection in three-phase systems.

Polarity tester.

• FP-KIT-26. Isolation Transformers Kit.

Single-phase isolation transformer, 230/230V AC, 400 VA.

Single-phase isolation transformer, 230/24V AC, 100 VA.

Three-phase isolation transformer, 230/230V AC.

• All necessary cables to realize the practical exercises are included.

Cables and Accessories, for normal operation.

Manuals:

This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

- Dimensions: 1500 x 400 x 1800 mm approx.  (59.05 x 15.75 x 70.86 inches approx.) - Weight: 80 Kg approx. (194 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.- Wiring and installation of the magnetothermal differential protection and the fuses.

2.- Connections identification and wiring of the selective diferential switch.

3.- Connections identification and wiring of the 2 pole difrential switches.

4.- Connections identification and wiring of the 4 pole magnetothermal switch for three-phase installations without neutral (IT scheme).

5.- Connections identification and wiring of the 4 pole magnetothermal switch for three-phase installations with neutral.

6.-  Connections identification and wiring of the 2 pole magnetothermal switches.

7.-  Wiring and setting of the thermal relay.

8.-  Wiring and setting of the overload electronic relay.

9.-  Wiring and setting of the transient overvoltage supressor.

10.-  Current injection for differential switches operation.

11.-  Current injection for magnetothermal switches operation.

12.-  Checking and testing of the protections elements  selectivity  by combining them and the injection of currents.

13.-  Wiring, installation and testing of the isolation tranformers.

-Several other exercises can be done and designed by the user

Optional

WIT-IEP/ICAI. Interactive Computer Aided Instruction Software System:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.