TENDER SPECIFICATIONS

The WIT-ILI application includes the following elements:

• FP-STR. Assembly Frame with Safe Electrical Power Supply.

Aluminum structure:

Three aluminum struts.

Easy assembly of components via hammer head screws.

Possibility of simultaneous work of several students.

Four swiveling casters to facilitate the movement.

Dimensions:

Structure height: 1800 mm.

Width: 1500 mm.

Three-Phase connection plug.

Safe electric box:

Differential magnetothermal, 4 poles, 25A, 300mA AC 6KA.

Emergency stop mushroom (230/400V AC).

5-wire hose for connection to frame.

Signal lamp of voltage presence.Armature voltage: 200V DC.

• FP-KIT-4. Wiring Installation Kit.

100 meters of grey wire of 1.5 mm².

100 meters of brown wire of 1.5 mm².

100 meters of black wire of 1.5 mm².

100 meters of green/yellow wire of de 1.5 mm².

25 meters of screened wire.

• FP-KIT-10. Tubes and Fittings for Channeling Wiring Kit.

PVC electrical conduit for wiring installation, 20 m.

7 electrical boxes.

Cable guide.

20 PMA cable clamps, 20 mm.

• FP-KIT-32. Switches Kit.

Two switches.

Two double switches.

Two commutators.

Two push-buttons.

One cross switch.

• FP-KIT-33. Lighting Regulation Kit.

Dimmer for LED lamps.

Dimmer for incandescent lamps.

RLC/LED/CFL universal regulator.

• FP-KIT-34. Lighting Relays Kit.

Timer relay.

Switch relay:

Coil voltage: 230V AC.

Commutator relay:

Coil voltage: 24V DC.

24V DC power supply.

• FP-KIT-37. Fluorescent Ceiling Fixture Kit (2 units).

2 x 8W lineal fluorescent tube (with tube holder).

• FP-KIT-38. Mercury Vapor Lamps Kit.

2 x Mercury vapor lamp.

Nominal voltage: 230V AC.

Approximate power:  250 W.

• FP-KIT-39. High Pressure Sodium Vapor Lamps Kit.

2 x High pressure sodium vapor lamp.

Nominal voltage: 230V AC.

Approximate power: 250 W.

• FP-KIT-40. Low Pressure Sodium Vapor Lamps Kit.

2 x Low pressure sodium vapor lamp.

Nominal voltage: 230V AC.

Approximate power: 250 W.

• FP-KIT-41. Metal Halide Lamps Kit.

2 x Metal halide lamp.

Nominal voltage: 230V AC.

Approximate power: 150 W.

• FP-KIT-42. Incandescent lamps kit.

4 x Double throw lighting switch.

4 x Encapsulated halogen lamp, 230 V.

230 VAC single phase socket.

2 x Commutator switch.

• FP-KIT-43. LED Lamps Kit.

2 x High pressure sodium vapor lamp.

Nominal voltage: 230V AC.

Approximate power: 20 W.

Required elements:

• CHER. Tool Box.

Crimper.

Tin.

Meter.

Insulation tape.

Heat shrink.

Voltage tester screwdriver.

Cross-head screwdriver and flat-head screwdriver.

Allen keys.

Soldering iron.

Rubber hammer.

Wire terminals and Connection terminals.

Flanges.

Wire cutter.

Screw Clamp Terminals.

Wire stripper.

Recommended elements:

• MED65. Digital Multimeter.

This module has a digital multimeter of about 3 ½ digits, with double-jack ending cables of about 4 mm to facilitate interconnections.

With this digital multimeter we will be able to measure:

Voltage.

Current.

Resistance.

Capacitors capacity.

Temperature.

• FP-KIT-10/B. Rigid Tube Kit.

20 m PVC Rigid Tube.

10 x Threaded connector.

5 x Elbows for conducts clamping.

• FP-KIT-5. Measuring Kit.

Clamp Meter:

Clamp for alternating/direct current measurements contactless.

The clamp can measure:

Current.

Voltage.

Resistance.

A voltage and continuity tester:

Voltage range: 12-690V AC.

Phases rotating detection in three-phase systems.

Polarity tester.

• All necessary cables to realize the practical exercises are included.

Cables and Accessories, for normal operation.

Manuals:

This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

- Dimensions: 1500 x 400 x 1800 mm approx. (78.74 x 15.75 x 78.74 inches approx.) - Weight:  80 Kg approx. (220 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.-  Wiring, installation lihgitng and adjustment for the fluorescent ceiling fixture.

2.- Wiring and lighting of the mercury vapor lamp.

3.- Wiring and lighting of the high pressure sodium vapor lamp.

4.- Wiring and lighting of the low pressure sodium vapor lamp.

5.- Wiring and lighting of the metal halide lamp.

6.- Wiring, lighting and adjustment of the incandescent lamp.

7.- Wiring, lighting and adjustment of the LED lamp.

8.- Wiring and lighting of one lamp switched by one switch.

9.- Wiring and lighting of one lamp switched by two switches.

10.- Wiring and lighting of one lamp switched by one double switch.

11.- Wiring and lighting of two lamp switched by one double switch.

12.- Wiring and lighting of one lamp switched by one commutator.

13.- Wiring and lighting of two lamp switched by one commutator.

14.- Wiring and lihgitng of a lamp controlled from more than two points.

15.- Wiring and timed lighting of stair light controlled from one point.

16.- Wired and timed lighting of the stair light controlled from two points.

- Several other exercises can be done and designed by the user.

Optional

WIT-ILI/ICAI. Interactive Computer Aided Instruction Software System:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.