Tender Specifications

• FP-KIT-5. Measuring Kit.

Clamp Meter:

Clamp for alternating/direct current measurements contactless.

The clamp can measure:

Current.

Voltage.

Resistance.

Voltage and continuity tester:

Voltage range: 12 - 690 VAC.

Phases rotating detection in three-phase systems.

Polarity tester.

• FP-KIT-56. Network Wiring Kit.

100 meters of data wire:

Unshielded Twisted Pair wire (UTP).

Category: 5e.

Pins: 8.

Punchdown tool:

Tool for a simple placement of the wires in the terminal blocks.

Category of suitable wire: 5e, 6.

Data cable stripper:

Wire diameter: 3-11 mm.

Category of suitable wire: 4, 5, 5e, 6, 7.

Completely closed knife blade for total security.

Data wire crimptool:

Cut and peeled of UTP wire.

Suitable connectors:

6-poles type RJ11/12.

8-poles type RJ45.

Data wire tester:

RJ45 male connector.

Suitable to detect:

Open circuits.

Short-circuits.

RJ45 male connectors.

RJ45 female connectors.

• FP-KIT-57. Wall Installation Kit.

Wall assembly box.

Push-on frame.

Connector cover.

Trim.

• SHCM. Self Healing Cutting Mat.

Help to preserve the work surface and the life of knife blades.

Dimensions:

Height: 200 mm.

Width: 300 mm.

Thickness: 3 mm.

• WMPP. Wall-Mount Patch Panel.

It allows to quickly change the port assignment of any equip connected to the network.

Port types: RJ45.

Number of ports: 12.

Wire type: UTP wire.

Wire category: 5e.

• MED65.  Digital Multimeter.

Digital multimeter of about 3 ½ digits, with double-jack ending cables of about 4 mm to facilitate interconnections.

With this digital multimeter we will be able to measure:

Voltage.

Current.

Resistance.

Capacitors capacity.

Temperature.

• CHER. Tool Box.

It contains the following tools:

Allen key.

Cross-head screwdriver.

Flat-head screwdriver.

Rubber hammer.

Insulation tape.

Soldering iron.

Tin.

Heat shrink.

Cable stripper.

Crimper.

Voltage Tester.

Meter.

• PAP. Perforated Aluminum Panel.

Perforated aluminum sheet panel.

Approximate size: (Width x High) 1200 x 800 mm.

It is mounted in a structure to be placed in a workbench.

• All necessary cables to realize the practical exercises are included.

Cables and Accessories, for normal operation.

Manuals: This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

Dimensions: 1500 x 400 x 1800 mm approx. (59.05 x 15.74 x 70.86 inches approx.)  Weight: 80 Kg approx. (176 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.-  Implementation of a RJ45 male wire with T-568A termination.

2.-  Implementation of a RJ45 male wire with T-568B termination.

3.-  Testing of the RJ45 wire.

4.-  Wiring and installations of a rosette box for data connection.

5.-  Commissioning and maintenance of a network of tow to fifty personal computers.

6.-  Study of several network schemes.

- Several other exercises can be done and designed by the user.

Optional

AEL-WTNT/ICAI. Interactive Computer Aided Instruction Software System:

This complete software package consists of an Instructor Software (INS/SOF) totally integrated with the Student Software (AEL-WTNT/SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.