TENDER SPECIFICATIONS

The application includes the following modules:

• N-ALI02. Domestic Main Power Supply.

Supply voltage (Single-Phase): 230 VAC, PH+N+G.

ON-OFF removable key.

Output Voltage Connections:

Two Single-Phase: 230 VAC.

Single-Phase supply hose connecting plug.

Differential magnetothermal, 2 poles, 25A, 30mA AC 6KA.

• N-VREG. Voltage Regulator Module.

Power supply: 230 VAC.

Variable output voltage: 0 – 300 VDC.

Nominal current: 2 A.

Fuse: 2 A.

Ammeter: 0 – 2 A.

• N-INV03. Single-Phase Stand-Alone Inverter Module, 1200 VA.

Single Phase Inverter.

Input voltage: 12 VDC.

Output voltage: 230 VAC.

Nominal power: 1200 VA.

• N-REG01. Wind Turbine Current Controller Module.

Input voltage: 3 x 24 VAC.

Output voltage: 12 VDC.

• N-REF. Single-Phase Fixed Resistor.

Value: 150 Ohm.

Maximum power: 500 W.

Selector:

Position 0:circuit opened.

Position 1: circuit closed.

Current fuse: 2 A.

• N-REL60. Single-Phase Under/Over Current Relay.

Current monitoring: AC/DC.

Measurable current: 0,05 – 15 A.

Adjustable response delay time: 0,1 – 20 seconds.

• N-MED72. Single-Phase Energy Counter.

Nominal voltage: 230 VAC.

• N-MED81. DC Ammeter (0 - 30A).

Current range: 0 - 30 A.

• MED65. Digital Multimeter.

This module has a digital multimeter of about 3 ½ digits, with double-jack ending cables of about 4 mm to facilitate interconnections.

With this digital multimeter we will be able to measure:

Voltage.

Current.

Resistance.

Capacitors capacity.

Temperature.

• EMT2. DC Series Excitation Motor-Generator.

Nominal power: 300 W.

Armature voltage: 200 VDC.

Armature current: 1,5 A.

RPM: 7500 r.p.m.

• PMWT01. Permanent Magnet Wind Turbine, 400W, 12V/24V.

Nominal power: 400 W.Output voltage: 12/24 VAC

Speed operation range: 3 – 49,2 m/s.

Starting speed: 3,13 m/s.

• N-DCBUS01. DC Distribution Module 01.

Voltage operation: 12/24 VDC.

• N-MED10. AC Ammeter (0 – 5 A).

DC Current measurement range: 0 – 5 A.

• BAT5. Lead-Acid Battery.

Nominal Voltage: 12 VDC.

Capacity: 90 Ah.

Recommended elements:

• N-REF. Single-Phase Fixed Resistor. (2 units)

Value: 150 Ohm.

Maximum power: 500 W.

Selector:

Position 0:circuit opened.

Position 1: circuit closed.

Current fuse: 2 A.

• N-IND. Single-Phase Inductance.

Value: 1.4 H.

Current fuse: 2 A.

Selector:

Position 0: circuit opened.

Position 1: circuit closed.

• All necessary cables to realize the practical exercises are included.

Cables and accessories, for normal operation.

Manuals:

This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance

& Practices Manuals.

- Dimensions: 1600 x 550 x 2000 mm. approx. (62.99 x 21.65 x 78.74 inches approx.) -Weight: 180 Kg. approx. (397 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.- Study of the over current protection for the stand-alone operation of wind turbine.

2.- Study of the battery to the inverter.

3.- Study of the wind turbine to the wind turbine current controller.

4.- Study of the wind turbine current controller to the battery.

5.- Simulation of different wind conditions.

6.- Start-up of the wind generation system.

7.- Voltage and current measurement at the outlet of the wind turbine and at the battery.

8.- Study of the wind generator to the DC/AC inverter.

9.- Study of AC and DC loads.

10.- Checking the lamps.

11-  Power vs Wind Turbine Speed.

12.- Energy storage from a Wind Turbine into battery.

13.- Battery charging fundamentals.

14.- Feeding from the wind generator.

15.- Feeding from the battery.

Optional

AEL-SWT/ICAI. Interactive Computer Aided Instruction Software System:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.