TENDER SPECIFICATIONS

Unit mounted in anodized aluminum frame and panels of painted steel.

This unit includes wheels for its mobility.

Main metallic elements in stainless steel.

Diagram in the front panel with similar distribution to the elements in the real unit.

Heat pump:

Hermetic compressor:

Power: 0.5 CV, 4 A. Coefficient of performance: 1111 W at 0ºc.

Two water condensers/evaporators, depending on heating or cooling configuration (winter or summer conditions), by using the cycle inversion valve:

Capacity: 1580 W. Consumption: 170 l/h.

Air condenser/evaporator, depending on heating or cooling configuration (winter or summer conditions), by the cycle inversion valve:

Maximum air flow: 980 m³/h. Coefficient of performance: 1591 W at 5ºC.

High pressure control: 8 - 32 bar.

Coolant storage tank. Refrigerant filter.

Refrigerant separation tank. Expansion valve.

Four way-valve (cycle inversion valve) - solenoid valve.

Four “J” type temperature sensors for the refrigerant circuit.

Two “J” type temperature sensors for the air temperature measurement.

Four manometers for the refrigerant circuit.

Refrigerant flowmeter, range: 5 - 60 l/h.

Sanitary water circuit:

Water tank. Capacity: 130 l.

Water pump.

Water flowmeter to measure water flow.

Three “J” type temperature sensors for the water temperature.

Geothermal exchanger simulator:

Water heat exchanger:

A pipe system inside a water bath (at constant temperature).

Three “J” type temperature sensors for the water temperature.

Water pump, to send the water from the pipe system (located inside the bath) to the water evaporator/condenser.

Chilling unit to maintain constant temperature in the water bath:

Power: 2 HP, 1464 W. Optimum water flow: 3000 - 6000 l/h.

Water pump, to send the water from the chilling unit to the water bath.

Two “J” type temperature sensors for the water temperature.

Water flowmeter to measure water flow.

Enthalpy diagram of the refrigerant R134a.

Electronic console:

Metallic box.

Temperature sensors connections. Selector for temperature sensors. Digital display for temperature sensors.

Chilling unit and compressor, pumps switches. Air evaporator regulator. Wattmeter display.

High pressure control connection. Solenoid valve switch and connection.

Cables and accessories, for normal operation.

Manuals: This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

Unit: - Dimensions: 2000 x 800 x 1550 mm approx. (78.74 x 31.49 x 61.02 inches approx.) - Weight: 200 Kg approx. (440.92 pounds approx.)

Electronic console: - Dimensions: 490 x 330 x 310 mm approx. (19.29 x 12.99 x 12.2 inches approx.) - Weight: 15 Kg approx. (33 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.- 	Study of geothermal energy using a geothermal heat pump system for heating and/or cooling.

2.- 	Study of the system with different ground temperatures.

3.- 	Determination of the inlet power, produced heat and coefficient of performance, working in heating mode. Water-water heat pump.

4.- 	Determination of the inlet power, produced heat and coefficient of performance, working in cooling mode. Water-water heat pump.

5.- 	Determination of the inlet power and valuation of the air temperatures, working in heating mode. Water-air heat pump.

6.- 	Determination of the inlet power and valuation of the air temperature, working in cooling mode. Water-air heat pump.

7.- 	Preparation of performance curves of the heat pump, working in heating mode, with different inlet and outlet temperatures. Waterwater heat pump.

8.- 	Preparation of performance curves of the heat pump, working in cooling mode, with different inlet and outlet temperatures. Waterwater heat pump.

9.- 	Lay out of the steam compression cycle in a P-H diagram and comparison with the ideal cycle. Water-water heat pump. Heating mode.

10.- 	Lay out of the steam compression cycle in a P-H diagram and comparison with the ideal cycle. Water-air heat pump. Heating mode.

11.- 	Preparation of the performance curves of the heat pump based on the properties of the refrigerant and at different condensation and evaporation temperatures. Water-water heat pump. Heating mode.

12.- 	Preparation of the performance curves of the heat pump based on the properties of the refrigerant and at different condensation and evaporation temperatures. Water-water heat pump. Cooling mode.

Additional practical possibilities:

13.-  	Sensors calibration.

Optional

EG5B/ICAI. Interactive Computer Aided Instruction Software System:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.