The Bioethanol Process Unit “EBEB” has been designed to study and control the bioethanol production process on a laboratory scale. This unit allows to monitor and examine all the important processes, from liquefaction and saccharification of the raw materials to the conversion of sugar into ethanol and distillation.

The unit consists of three main components: a mash tank, a fermentation tank and a distillation unit.

Tender Specifications

Anodized aluminum structure and panels in painted steel. Main metallic elements in stainless steel.

Diagram at the front panel with a distribution similar to the elements in the real unit.

This unit includes wheels for its mobility.

All the vessels, valves and other accessories in contact with process materials (except the distillation unit) are made of stainless steel. The distillation unit is made of borosilicate glass. Sight glasses are made of Neoceram glass.

The unit consists of:

Mash tank:

Cylindrical vessel made of stainless steel, with an inlet at the upper cover to load the water, raw material and starch, jacket for process heating, stirrer and a sight glass made of Neoceram.

The base of the vessel is inclined slightly towards a port for draining the solution or pumping it into the fermentation tank.

Volume: 5 l.

Fermentation tank:

Cylindrical vessel made of stainless steel with a jacket for process heating, stirrer and a sight glass made of Neoceram.

The vessel has a base inclined slightly towards a port for draining the solution or pumping it into the distillation unit.

Volume: 5 l.

Distillation unit:

Different elements made of borosilicate glass of high thermal and mechanical resistance, as well as perfect chemical inertia. It includes:

A heating mantle, 800 W.

Reactor flask of 5 l. , with discharge stopcock.

Reactor lid, with 4 inlets, especially designed for this system.

Vigreux type distillation column.

Stirring rod with stirring lock that assures a perfect insulation of the system.

A cold finger (dephlegmator).

Liebig-West condenser with interchangeable fittings.

Decantation funnel of 500 ml.

Temperature tappings placed at key points of the system.

Two diaphragm pump to introduce the solution into the fermentation tank and the distillation unit, range: 0-3.8 l./min.

Nine “J” type temperature sensors:

Two temperature sensors located at the mash tank to measure the temperature of the mash inside the tank and the temperature at the outlet of the tank's jacket.

Two temperature sensors located at the fermentation tank to measure the temperature of the preparation inside the tank and the temperature at the outlet of the tank's jacket.

Four temperature sensors located at different points of the distillation unit.

One temperature sensor located at the hot water circulation system.

A pH meter measures the pH of the mash inside the mash tank.

A CO2 meter measures the CO2 concentration generated during the process at the fermentation tank.

A hot water circulation system, including:

Pump.

Thermostatic bath.

An acid/base circuit system, including:

Two peristaltic pumps to introduce an acid or base solution into the mash tank, max. flow: 0-13 ml/min.

Two vessels to contain the acid and base solutions, volume: 1 l.

Seven valves:

Two needle valves are used to divert the hot water between the jacket of the mash tank and the jacket of the fermentation tank. Two ball valves and two needle valves are used to drain the solution from the mash and fermentation tank or pump it into the fermentation tank and distillation unit. One ball valve is used to drain the water for hot water circulation system.

Electronic console:

Metallic box.

Temperature sensor connectors. Digital display for the temperature sensors. Selector for the temperature sensors.

A pH meter connector. Digital display for pH meter.

A CO2 meter connector. Digital display for CO2 meter.

3 Connectors for the stirrers. 3 Switches for the stirrers (one for the mash tank, other for the fermentation tank and another for the distillation unit).

5 Switches for the pumps (two for the peristaltic pumps, two for the diaphragm pumps and one for the pump of hot water circulation system).

2 Switches for the heating element (one for the thermostatic bath and another for the heating mantle).

Cables and Accessories, for normal operation.

Manuals: This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

Dimensions:  Unit: 2000 x 650 x 1800 mm. approx. (78.74 x 25.59 x 70.86 inches approx.)    Weight: 200 Kg. approx. (441 pounds approx.).

Electronic console: 490 x 330 x 310 mm. approx. (19.29 x 12.99 x 12.20 inches approx.)  Weight: 10 Kg. approx. (22 pounds approx.).

EXERCISES AND PRACTICAL POSSIBILITIES

1.- Familiarization with the individual steps required for bioethanol production.

2.- Familiarization with the plant components required for bioethanol production.

3.- Study of the effect of temperature on bioethanol purity.

4.- Study of the effect of pH on bioethanol yield.

5.- Study of the effect of mashing time on bioethanol yield.

6.- Study of the effect of fermentation time on bioethanol yield.

7.- Study of the use of different raw materials to produce bioethanol.

8.- Study of the effect of adding different types of yeast to the fermentation.

Optional

EBEB/ICAI. Interactive Computer Aided Instruction Software System:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager –ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft –ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

-ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc...so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

User Data Base Management.

Administration and assignment of Workgroup, Task and Training sessions.

Creation and Integration of Practical Exercises and Multimedia Resources.

Custom Design of Evaluation Methods.

Creation and assignment of Formulas & Equations.

Equation System Solver Engine.

Updatable Contents.

Report generation, User Progression Monitoring and Statistics.

-ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF  is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired technical knowledge.

Innovative features:

Student Log-In & Self-Registration.

Existing Tasks checking & Monitoring.

Default contents & scheduled tasks available to be used from the first session.

Practical Exercises accomplishment by following the Manual provided by EDIBON.

Evaluation Methods to prove your knowledge and progression.

Test self-correction.

Calculations computing and plotting.

Equation System Solver Engine.

User Monitoring Learning & Printable Reports.

Multimedia-Supported auxiliary resources.