TENDER SPECIFICATIONS

The complete system consists of:

a) AEL-FUSG-M. Final User Smart Grid - Smart Meter Application.

b) Required accessories.

c) Optional accessories.

a) AEL-FUSG-M. Final User Smart Grid - Smart Meter Application, consist of the following modules:

N-ALI01. Industrial Main Power Supply.

This module is used to simulate the electrical grid and supply the data concentrator (N-CTT) and other possible elements.

Three-phase differential protection.

Three-phase output: 380 VAC.

Single-phase output: 230 VAC.

Safety key.

Emergency stop button.

Required power supply: three-phase 380 VAC.

N-CTT. Data Concentrator.

The communications concentrator consists of:

- A metering system formed by a number of smart meters (on our case, there is one residential smart meter). The data concentrator communicates with the smart meter by means of a power line.

- Remote control System. It is a web platform that let us have access to the data concentrator, visualize all the smart meters connected to the power line and configure different parameters, visualize all the electrical parameters of the load connected to each smart meter, etc.

Configuration and control software (platform web).

The N-CTT module includes a platform web to control the Smart Meter.

So, the user can perform the following functions:

Real time monitoring, remote management and verification of the network quality.

Relay breaker to limit the maximum consumed power by the final user.

Bidirectional communication between the Utility (the student) and the Smart Meter: the student can control and monitoring the loads state and limit the maximum power required.

N-SM. Smart Meter.

The N-SM Module can carry out the following measurements and controls:

- Current measurements.

- Voltage measurements.

- Active and reactive power measurement in four quadrants.

- Bidirectional measurements of the active and reactive energy in four quadrants.

- Power factor measurements.

- Smart Relay to be controlled from the data concentrator platform web.

Cables and Accessories, for normal operation.

Manuals.

b) Required accessories:

In order to simulate different real consumptions and to carry out all the practical possibilities proposed AEL-FUSG-M application requires a set of static and dynamic loads that represent different consumption generally used at home, industries and other places.

The following loads must be acquired:

AEL-FUSG-LO. Final User Smart Grid - Smart Grid Loads:

It is formed by:

N-REV. Single Phase Variable Resistor.

Nominal current: 2 A.

Nominal power: 500 W.

N-LAM16. Incandescent lamp.

Input voltage: 2 terminals of 230 VAC.

Power: 60W.

N-IND. Single Phase Inductance.

Nominal current: 2 A.

Inductance: 33 mH; 78 mH; 140 mH; 236 mH.

Commutator.

N-CAR19. Single-phase Bank of conmutable Capacitors.

Nominal voltage: 230 Vac.

Capacitance: 7 mF; 14 mF; 21 mF; 28 mF; 35 mF.

Commutator.

N-LAM32. LED Lamp.

Nominal voltage: 230 VAC.

N-VVCC/M. DC Motor Speed Controller (intermediate option).

Adjustable voltage: up to 320 VDC.

Maximum current: 2 A.

N-REF. Single Phase Fixed Resistor. (4 units)

Nominal current: 2 A.

Nominal power: 500 W.

EMT12. Universal Motor (single-phase).

Power: 230 W.

Speed: 5000/9000 r.p.m.

Frequency: 50Hz/60 Hz.

V.Armature.: 230 V.

FRECP. Eddy Current Brake.

FRECP is an unit designed to work as a magnetic brake by means of the induction of Foucault's parasitic currents.

The FRECP is similar to an electrical motor, since it has a stator winding, the inductor, that we will feed with a DC voltage. We will change the braking torque by means of this direct voltage.

The breaking torque is proportional to the current injected.

Nominal current: 1.67 A.

Maximum current: 1.8 A.

Maximum braking torque: 1.4 Nm.

Bench - support.

DC power supply.

EH. Electric Heating Unit.

This module can be used for different purposes.

Load purpose: this module is used like a resistive load of 700 W.

IMPORTANT!: These loads can be used simultaneously with AEL-FUSG-M. Final User Smart Grid - Smart Meter Application, AEL-FUSG-E. Final User Smart Grid - Smart Energy Application and AEL-FUSG-N. Final User Smart Grid- Net Metering Application.

c) Optional accessories:

For AEL-FUSG-M. Final User Smart Grid-Smart Meter Application:

OSM. Additional Smart Meter with AEL-FUSG-LO. Final User Smart Grid - Smart Grid Loads.

For AEL-FUSG-LO. Final User Smart Grid - Smart Grid Loads:

AEL-APFC. Single-phase Automatic Power Factor Compensation Application.

- Dimensions: 640 x 320 x 670 mm approx.  (25.19 x 12.59 x 26.37 inches approx.)  - Weight: 20 Kg approx.  (44 pounds approx.)

Required accessory:

AEL-FUSG-LO. Final User Smart Grid - Smart Grid Loads:

Static Loads in Rack:   - Dimensions: 640 x 320 x 920 mm approx. (25.19 x 12.59 x 36.22 inches approx.) - Weight: 30 Kg approx.  (66 pounds approx.)

EMT12:   - Dimensions: 285 x 250 x 260 mm approx.  (11.22 x 9.84 x 10.24 inches approx.) - Weight: 8 Kg approx.  (17.6 pounds approx.)

FRECP:  - Dimensions: 285 x 250 x 270 mm approx. (11.22 x 9.84 x 10.63 inches approx.)  - Weight: 8.25 Kg approx.  (18.2 pounds approx.)

EH: - Dimensions: 450 x 340 x 300 mm approx. (17.71 x 13.38 x 11.81 inches approx.) - Weight: 4 Kg approx. (8.81 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.- 	Communication process with the data concentrator.

2.-  Remote control of the smart meter relay.

3.-  Real time monitoring of the energy consumed by the loads.

4.-  Power factor comparison with different load combinations using the data concentrator web server.

5.-  Comparison of the energy consumption from the utility point of view (with the platform integrated in the data concentrator) and from the final user point of view (using the smart meter display).

6.-  Power factor correction using capacitor banks. The student can configure different loads and analyze the quality of energy in real time.

7.- 	Instantaneous measurement of the current, voltage, active power and power factor.

NOTE: All practical exercises can be done remotely, as actual utilities do with real Smart Grids.

Optional

AEL-FUSG/ICAI. Interactive Computer Aided Instruction Software System:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.