TENDER SPECIFICATIONS (for main items)

1 AEL-MEPD-01. Unit.

The application includes the following modules:

• Industrial Main Power Supply.

Supply voltage: 400 VAC, 3PH+N+G.

ON-OFF removable key.

Output voltage connections:

Three-Phase + Neutral: 400 VAC.

Single-Phase: 230 VAC.

Three-Phase supply hose with IP44 3PN+E 32A 400V connecting plug.

Differential magnetothermal, 4 poles, 25A, 300mA AC 6KA.

• Power Generation Substation module with generator circuit breaker control.

Supply voltage: 400 VAC, 3PH+N+G

ON/OFF switch.

Power and signals connection:

Auxiliary connection.

Three-phase turbine supply hose with IP44 3PN+E 32A 400V connecting plug.

Three-phase generator supply hose with IP44 3PN+E 32A 400V connecting plug.

Three switches to choose between the different modes:

Local and remote control mode.

Manual and automatic speed control.

Manual and automatic excitation control

Three control switches to:

Start and stop the turbine.

Give permission to synchronize the generator with the grid.

Give permission to close 52NET circuit breaker.

Two potentiometers to regulate:

Turbine speed.

Generator excitation.

Emergency stop button.

Two circuit breakers for synchronization and stand-alone operations.

Different terminals to measure.

Ethernet connection: RJ45 communication port for SCADA remote control.

• Automatic speed and voltage controller and protection relay module for turbine-generator groups control.

Automatic speed and voltage controller (easygen):

Enables to connect up to 16 electric generators in parallel-island with distribution of active and reactive load and start/stop in function of the load demand.

Enables to connect a generator in parallel with the grid.

Enables different switches control modes, such as opening, closing and synchronization.

Analogical outputs to control voltage and frequency regulators.

Three-phase measurement of the grid and the generator voltage.

Three-phase measurement of the generator intensity and power.

Single-phase measurement of the grid intensity.

Protection system.

Generator:

Maximum/minimum voltage (59/27), maximum/minimum frequency (81O/U), voltage asymmetry, detection of dead busbars, overvoltage (32), load unbalance (46), negative sequence power/reduced power (32R/F), overcurrent by defined curve (50/51), inverse time overcurrent (IEC255), measured ground fault (50N/51N), phase rotation, switches faults.

Network:

Maximum/minimum voltage (59/27), maximum/minimum frequency (81O/U), vector jump, phase rotation.

Six alarms:

Alarm 1: Reverse power.

Alarm 2: Overcurrent.

Alarm 3: Over/undervoltage.

Alarm 4: Inverse Time Overcurrent.

Alarm 5: Over/under frequency.

Alarm 6: Shutdown Alarms.

Four operation signals:

Ready for operation.

Start request.

Synchronization conditions.

Permission for synchronization.

Back-up protections:

Current relay.

Reverse Power relay.

Ethernet connection: RJ45 communication port.

• Three Pole Circuit Breakers with Remote Control for distribution power system (ring topology).

Supply Voltage: 230 VAC.

Simple busbar with ring topology, with two circuit breakers.

Two interconnection terminals.

One Power Input/Output to connect lines, generation, loads, etc.

Two push-buttons by each disconnector / circuit breaker to open and close them.

State indications lamps:

Two lamps to indicate the state of busbars.

Three pilot-lights to indicate the state of the circuit breaker and the disconnectors.

Two Ethernet connections.

• Network Analyzer Modules with Data Adquisition.

ON-OFF switch.

Supply voltage: 400 VAC.

Input terminals: Input connection with the measurement point.

Output terminals: Output connection with the measurement point.

Digital outputs: Three digital outputs are used for pulses or alarms, or for combining both.

RS-485 Communication port.

Fuses: 3x10 A.

Network Analyzer Display. It shows:

Active, reactive and apparent power.

Active, reactive and apparent energies.

Lines and phase currents.

Line and phase voltages.

Frequencies.

Power Factor.

• Variable frequency drive for the propulsion contol.

Supply voltage: 230 VAC.

Supply voltage: 230 VAC.

Nominal power: 0,75 kW.

PWM output voltage connections:

Three-Phases: 230 VAC.

Digital inputs control panel: 5 configurable digital inputs.

Analog inputs control panel:

0-10V analog input for speed control.

4-20mA analog input for speed control.

10K, potentiometer for the induction motor control speed.

2 relay outputs for alarms configuration: 2 outputs NO/NC.

50 mA, 2 transistors outputs for alarms configuration.

Setting and visualization display of the machine parameters.

• Three-phase squirrel cage induction motors for propulsion simulation.

Nominal power: 370 W.

Nominal voltage: 3x 230/400 VAC Δ/Y.

Frequency: 50/60 Hz.

Number of poles: 2.

Speed: 2730 rpm.

Nominal current: 1,67/ 0,97 A.

• Braking system to simulate the propulsion load.

Nominal Torque: 5 Nm.

Maximum Power Dissipation: 100 W.

Maximum output current adjustment.

Operating modes “freewheel “ and “blocking”.

Nominal voltage: 24 VAC/VDC.

Maximum Output Current: 2 A.

Output Load (Resistor): 4 to 20 Ohms.

Maximum power consumed: 70 W.

Remote voltage control: 0 to 10 VDC.

Weight: 4 Kg.

• 1 kVA three-phase synchronous generators with independent excitation.

Nominal power: 250 W.

Nominal voltage: 230 VAC.

Nominal output voltage: 3 x 400 VAC.

Frequency: 50/60 Hz.

RPM: 3000 rpm.

Nominal Current: 1 A.

Nominal Excitation Current: 0.25 A.

Shaft height: 71 mm.

• Lamps modules to simulate general services and auxiliary services lighting.

Nominal voltage: 230 VAC (PH+N).

Halogen lamp.

Power: 60 W.

• Three-phase resistive loads to simulate active power consumption.

Digital bank of commutable resistors module.

Three sliding load switches.

Three three-phase commutable banks of resistors of 150 ohm.

Local/remote control switch.

Communications connector SUB-D of 62 pins.

• Three-phase induction loads to simulate inductive power consumption.

Digital banks of commutable inductances module.

Three sliding load switches.

Three three-phase commutable banks of inductances of 1.4 H.

Local/remote control switch.

Communications connector SUB-D of 62 pins.

• Three-phase isolation transformer to simulate medium voltage and low voltage busbars.

Three-Phase Autotransformer.

Supply Voltage: 400V AC (3PH).

Nominal Output Voltage: 3 x 230V AC (3PH + N).

Nominal power: 1 kVA.

Transformer connection: YY0.

Start / stop switch for instantaneous connection /disconnection of the network transformer.

Fuses: 3 x 5 A.

GND terminal.

• Three-phase hybrid inverter with battery for back-up energy system.

Three-phase inverter.

Three-phase energy injection into electrical grid.

Terminals:

One DC input voltage.

One three-phase AC output voltage.

Nominal power: 2000 W.

Output voltage: 400 VAC.

Frequency: 50 Hz.

Long life battery.

Battery capacity: 2000 Wh.

• Electronic overcurrent relay.

Electronic thermal relay.

Overload protection.

Range 1.2 - 7 A.

Reset and test function.

1 NONC contact.

Temporization.

• All necessary cables to realize the practical exercises are included.

The complete unit includes as well:

Advanced Real-Time SCADA.

Open Control + Multicontrol + Real-Time Control.

Specialized EDIBON Control Software based on LabVIEW.

Projector and/or electronic whiteboard compatibility allows the unit to be explained and demonstrated to an entire class at one time.

Capable of doing applied research, real industrial simulation, training courses, etc.

Remote operation and control by the user and remote control for EDIBON technical support, are always included.

Totally safe, utilizing 4 safety systems (Mechanical, Electrical, Electronic & Software).

Designed and manufactured under several quality standards.

Optional ICAI software to create, edit and carry out practical exercises, tests, exams, calculations, etc. Apart from monitoring user's knowledge and progress reached.

This unit has been designed for future expansion and integration. A common expansion is the EDIBON Scada-Net (ESN) System which enables multiple students to simultaneously operate many units in a network.

2 AEL-MEPD-01/CCSOF. Computer Control +Data Acquisition+Data Management Software:

The three softwares are part of the SCADA system.

Compatible with the industry standards.

Flexible, open and multicontrol software, developed with actual windows graphic systems, acting simultaneously on all process parameters.

Management, processing, comparison and storage of data.

It allows the registration of the alarms state and the graphic representation in real time.

Open software, allowing the teacher to modify texts, instructions. Teacher’s and student’s passwords to facilitate the teacher’s control on the student, and allowing the access to different work levels.

This unit allows the 30 students of the classroom to visualize simultaneously all the results and the manipulation of the unit, during the process, by using a projector or an electronic whiteboard.

3 Cables and Accessories, for normal operation.

4 Manuals:

This unit is supplied with 7 manuals: Required Services, Assembly and Installation, Control Software, Starting-up, Safety, Maintenance & Practices Manuals.

*	References 1 to 4 are the main items: AEL-MEPD-01 + AEL-MEPD-01/CCSOF + Cables and Accessories + Manuals are included in the minimum supply for enabling normal and full operation.

EXERCISES AND PRACTICAL POSSIBILITIES TO BE DONE WITH THE MAIN ITEMS

1.- Main switch board cabling and ring configuration.

2.- Overcurrent relay and circuit breakers setting.

3.- Study of the generation power flows, synchronization, active power-sharing and distribution power systems with different load conditions.

4.- Analysis of the measurements of the power flows of the synchronous generator and loads.

5.- Analysis of the active and reactive power of the synchronous generator against dynamic load variations (ship propulsion).

6.- Study of the synchronous generator in island operation mode.

7.- Study of excitation/voltage regulation of synchronous generator in island mode.

8.- Study of turbine regulation (frequency control) in island mode.

9.- Study of different situation in the distribution busbar with ring topology (maneuvers with circuit breakers).

10.- Logic operation with circuit breakers.

11.- Load sharing with different feeders: propellers, auxiliary services and emergency busbar.

12.- Busbar changeover without interruption.

13.- Study of a blackout in the power system of the ship. Step-by-step energy recovery.

14.- Study of the system response to opening circuit breakers due to failures conditions (simulated).

15.- Recovery of system energy through an uninterruptible power supply.

16.- Study of generator-shedding and energy saving in the UPS.

17.- Study of the auxiliary services of the ship.

18.- Study of emergency operations through the emergency switch boards.

19.- Emergency power requirements during a blackout or system failure until recovery.

20.- Essential and non-essential circuits.

21.- Study and measurement of charging battery system.

Other possibilities to be done with this Unit:

22.- Many students view results simultaneously.

To view all results in real time in the classroom by means of a projector or an electronic whiteboard.

23.- The Computer Control System with SCADA allow a real industrial simulation.

24.- This unit is totally safe as uses mechanical, electrical and electronic, and software safety  devices.

25.- This unit can be used for doing applied research.

26.- This unit can be used for giving training courses to Industries even to other Technical Education Institutions.

- Several other exercises can be done and designed by the user.

TENDER SPECIFICATIONS (for optional items)

a) Technical and Vocational Education configuration

4 AEL-MEPD-01/ICAI. Interactive Computer Aided Instruction Software System.

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc...so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.

b) Multipost Expansions options

6 MINI ESN. EDIBON Mini Scada-Net System for being used with EDIBON Teaching Units.

MINI ESN. EDIBON Mini Scada-Net System allows up to 30 students to work with a Teaching Unit in any laboratory, simultaneously.

The MINI ESN system consists of the adaptation of any EDIBON Computer Controlled Unit with SCADA integrated in a local network.

This system allows to view/control the unit remotely, from any computer integrated in the local net (in the classroom), through the main computer connected to the unit.

Main characteristics:

- It allows up to 30 students to work simultaneously with the EDIBON Computer Controlled Unit with SCADA, connected in a local net.

- Open Control + Multicontrol + Real Time Control + Multi Student Post.

- Instructor controls and explains to all students at the same time.

- Any user/student can work doing "real time" control/multicontrol and visualisation.

- Instructor can see in the computer what any user/student is doing in the unit.

- Continuous communication between the instructor and all the users/students connected.

Main advantages:

- It allows an easier and quicker understanding.

- This system allows you can save time and cost.

- Future expansions with more EDIBON Units.

The system basically will consist of:

This system is used with a Computer Controlled Unit.

- Instructor’s computer.

- Students’ computers.

- Local Network.

- Unit-Control Interface adaptation.

- Unit Software adaptation.

- Webcam.

- MINI ESN Software to control the whole system.

- Cables and accessories required for a normal operation.