Tender Specifications

Main metallic elements made of stainless steel.

Diagram in the front panel with distribution of the elements similar to the real one.

Main components of the station:

Air compressor:

Maximum flow rate: 350  l/min.

Maximum pressure: 10 bar.

Ten cut-off valves (butterfly and ball) approved for gas.

Two line filters: DN25/PN16.

Four pressure triggers:

Two maximum pressure triggers: 400 - 800 mbar.

Two minimum pressure triggers: 8 - 45 mbar.

Diaphragm gas meter. Maximum flow: 10 m³/h.

Five pressure manometers:

High pressure manometer: 0 - 16 bar.

Four low pressure manometers: 0 - 0.6 bar.

Two differential manometers: 0 - 1000 mbar.

Billing manometer.

One thermometer: -10 – 50 ºC.

Two relief valves: 16 - 2100 mbar.

Two dielectric joints: PN10.

Two pressure regulators: 0.5 bar.

Assembly and disassembly tools set:

Tool case with several compartments.

Six combination wrenches.

Two flat screwdrivers.

Soft face hammer.

Spare gaskets for all the connections.

Cables and Accessories, for normal operation.

Manuals: This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

Dimensions: 1000 x 2000 x 1500 mm approx. (39.37 x 78.74 x 59.05 inches approx.)  Weight: 100 Kg approx. (220 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.-  Identification of the components of a regulation station (PDF and P&ID).

2.-  Study of the regulation systems, pressure triggers and relief valves.

3.-  Checking the tightness of the regulation station.

4.-  Start-up procedure for a regulation station.

5.-  Maintenance procedure for a measurement and regulation station.

6.-  Gas meter replacement in a measurement and regulation station.

7.-  Gas filters replacement in a measurement and regulation station.

Additional practical possibilities:

8.-  Study of the protection systems for pipes and welds.

9.-  Study of current regulations.

10.-Construction method for regulation stations.

Optional

MRST/ICAI. Interactive Computer Aided Instruction Software System:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc...so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.