Tender Specifications

- FACO. Power Supply:

Fixed outputs DC: + 5 V, ± 12 V, 1 A.

Variable outputs DC: ± 12 V, 0.5 A.

AC output: 12 V or 24 V.

Connection to the PLC-BS modules through 25 pin Sub-D connectors.

LED’s voltage indicators.

Robust construction.

- BS2. Temperature Test Module:

Painted steel box. Connection diagrams for each transducer are represented graphically.

Bimetallic switch sensor:

Bimetallic contact thermal switch. Opening temperature: 50 °C. Closing temperatures: 30 °C. Configuration: N.C. contact.

Adjustable bimetallic thermostat:

With heater resistor that allows minimizing the differential cycles and preventing overpeaks.

Temperature range: 0°C to 30°C. N. C. contact.

Magnetic block:

Inside of an external case. Composed of a ferrite pipe, with a heater element inside of them.

Incandescent lamp.

Relay AC:

It allows to turn on and off the incandescent lamp placed over the temperature sensors.

Voltage and current (nominal): 250 V – 10 A. N.O. contact. Switching voltage: 12 V.

Capillary thermostat:

Temperature range: 0 ºC – 90 ºC. Max. bulb temperature: 150 ºC. Socket current: 15 A, 250 V AC. N.C. contact.

Thermocouples:

Three cromel-alumel thermocouples "type K". One of them is placed near the capillary thermostat and the bimetallic sensor, another on the adjustable bimetallic thermostat and the third one inside the magnetic collection. Each one of them is used to measure the temperature that each one of the sensor are controlling. Temperature range: -50 ºC  – 250 ºC.

Feedback sensor for PLC control:

Conditioning signal circuit of a temperature sensor.

Voltage output range: 0 – 10 Vdc.

Cables and Accessories, for normal operation.

Manuals: This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manual.

Each module may operate independently of another.

Dimensions: 405 x 300 x 400 mm approx. (15.94 x 11.81 x 15.74 inches approx.)   Weight: 5 Kg approx. (11.02 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.-  How to use the Curie effect as application of a high temperature thermostatic controller.

2.-  Adjustable bimetallic thermostat. To use the bimetallic thermostat as a temperature controller, calculating its hysteresis.

3.-  Adjustable bimetallic thermostat. How we can reduce the hysteresis by adding a resistor to the heating circuit.

4.-  To use the thermostat based on a bimetallic sensor to control the temperature.

5.-  To use the capillary thermostat.

6.-  Using the analog inputs and outputs of the PLC to read and write analog signals.

7.-  Read the temperature sensor signal with the PLC.

8.-  Manual control of the actuator through the PLC.

9.-  PID control of the temperature value through the PLC.

10.-Observe the effects of the temperature control to changes in the PID parameters.

Optional

PLC-BS2/ICAI. Interactive Computer Aided Instruction Software System:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.