Tender Specifications

- FACO. Power Supply:

Fixed outputs DC: + 5 V, ± 12 V, 1 A.

Variable outputs DC: ± 12 V, 0.5 A.

AC output: 12 V or 24 V.

Connection to the PLC-BS modules through 25 pin Sub-D connectors.

LED’s voltage indicators.

Robust construction.

- BS10. Light Test Module:

Painted steel box. Connection diagrams for each transducer are represented graphically.

Lamp:

Voltage: 12 V. Power 5 W.

Photodiode:

Power: 250 mW max. Sensibility: 0.34 A/N. This sensor converts light into either current or voltage, depending upon the mode of operation.

Phototransistor:

Current collector: 20 mA max. Peak wavelength: 570 nm. It also consists of a photodiode with internal gain.

Light Dependent Resistor:

Power dissipation: 250 mW max. Peak wavelength: 550 nm. A LDR is a resistor whose resistance decreases with increasing incident light intensity.

Photovoltaic Cell:

Power: 250 mW max. Peak wavelength: 550 nm. A photovoltaic cell converts solar radiation into direct current electricity.

Infrared emitter-receiver:

Power: 470 mW max. Max. current: 200 mA. Peak wavelength: 880 nm. This element consists of an IR emitter LED and IR phototransistor.

Feedback sensor for PLC control:

Signal conditioning circuit of a luminosity sensor.

Voltage output range: 0 – 10 Vdc.

Cables and Accessories, for normal operation.

Manuals: This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manual.

Each module may operate independently of one another.

Dimensions: 405 x 300 x 300 mm approx. (15.94 x 11.81 x 11.81 inches approx.)  Weight: 6 Kg approx. (13.22 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.-  Study of the equivalent electrical circuit of a photodiode. Study the V-I characteristic of a photodiode.

2.-  Study of the normal operation mode of a photodiode. Study the “ON/OFF“ operation (light switch) of a phototransistor.

3.-  Measurement of light intensity using a solar cell.

4.-  Study of the properties of light dependent resistors (LDR).

5.-  Study of the operation of IR sensors.

6.-  Using the analog inputs and outputs of the PLC to read and write analog signals.

7.-  Read the light sensor signal with the PLC.

8.-  Manual control of the actuator through the PLC.

9.-  PID control of the light intensity value through the PLC.

10.-Observe the effects of the light intensity control to changes in the PID parameters.

Optional

PLC-BS10/ICAI. Interactive Computer Aided Instruction Software System:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.