Tender Specifications

Bench-top unit.

Anodized aluminum frame and panels made of painted steel.

The "MED" unit mainly consists of:

Electrical motor with variable speed which can reach up to 8300 rpm.

Transmission through pulleys and a belt from the motor to the shaft.

Two balancing discs. They are made of aluminum and have a diameter of 150 mm.

Aluminum external disc, that we will name Graduated disc. It has a diameter of 150 mm.

Set of sector masses and weights to do the practices:

Two sector masses of 27º angle.

Two sector masses of 114º angle.

Two sector masses of 43º angle.

Two sector masses of 72º angle.

Eighteen weights of 60 g, 40 g, 30 g, 20 g and 15 g, to do the balance of masses in rotation experiments.

Auxiliary Module for the electrical supply and the motor control. At its back, there are connections and at its front part it has a potentiometer to control the speed of the motor.

Cables and Accessories, for normal operation.

Manuals: This unit is supplied with the following manuals: Required services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

Dimensions: Unit: 450 x 550 x 600 mm approx. (17.71 x 21.65 x 23.62 inches approx.)  Weight: 30 Kg approx. (66.1 pounds approx.)

Auxiliary module: 310 x 220 x 145 mm approx. (12.20 x 8.66 x 5.70 inches approx.)  Weight: 2 Kg approx. (4.4 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.-  Balance on an individual plane of revolution.

2.-  Balance on separated planes of revolution.

3.-  Simple demonstration experiments.

4.-  Illustrate the dynamic balance of rotation and reciprocating systems.

5.-  Illustrate the balance of reciprocating masses.

6.-  Observe the effects on oscillations of various conditions of partial balance in the reciprocating systems.

Optional

MED/ICAI. Interactive Computer Aided Instruction Software System:

This complete software package consists of an Instructor Software (INS/SOF) totally integrated with the Student Software (MED/SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.

BDAS. Basic Data Acquisition System and Sensors:

For being used with mechanical modules.

BDAS is designed to monitor the measurements of each mechanical module from a computer.