Tender Specifications

Bench-top unit.

Anodized aluminum frame and panels made of painted steel.

The "MEVLB" unit mainly consists of:

Bending test bar:

Material: anodized aluminum.

Length: 650 mm.

Section: 20 x 3 mm.

Two strain gauges of 120 Ω attached to the bar by a Wheatstone half-bridge configuration.

Support to simulate the anchoring of the bar and to allow the variation and adjustment to the length of the bar.

Hanger for the masses with knobs to fix the masses.

Set of masses made of stainless steel: ten masses of 100 g.

Two measuring rules, one horizontal and one vertical, to measure both the length of the bar and the initial amplitude of the motion.

Two levels, each one installed on a rule, to guarantee the perpendicularity between them.

Range of maximum amplitudes: ± 150 mm.

Software for data acquisition.

Electronic console:

Metallic box.

Connectors of the two strain gauges.

Main switch.

USB connector to the computer.

Cables and Accessories, for normal operation.

Manuals: This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Security, Maintenance & Practices Manual.

Dimensions: Unit: 750 x 400 x 1050 mm approx. (29.52 x 15.74 x 41.33 inches approx.)  Weight: 15 Kg approx. (33 pounds approx.)

Electronic console: 300 x 190 x 130 mm approx. (11.81 x 7.48 x 5.11 inches approx.)  Weight: 2.5 Kg approx. (5.51 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.-  Study of free vibration of a horizontal bending bar.

2.-  Study of free vibration of a vertical bending bar.

3.-  Determination of natural frequencies of a bending bar according to Rayleigh's method and comparison with the experiment.

4.-  Study of the influence of weight on natural frequencies and other parameters of oscillation.

5.-  Study of the influence of clamping length on natural frequencies and other parameters of oscillation.

Optional

MEVLB/ICAI. Interactive Computer Aided Instruction Software System:

This complete software package consists of an Instructor Software (INS/SOF) totally integrated with the Student Software (MEVLB/SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.