Tender Specifications

Bench-top unit with adjustable legs.

Anodized aluminum frame and panels in painted steel.

The MVV unit mainly consists of:

Main column, made in aluminum, (the vertical cantilever is clamped at its lower end to this main column to carry out the experiment).

Loading head, made in aluminum, located at the upper end of the column, which can rotate 180° at 15° intervals around the vertical axis of the beam.

Set of pulley, located at the loading head, to apply a horizontal load.

Two dial gauges of 0-25 mm and 0.01 mm accuracy, to measure ∆u and ∆v deflections.

Two steel beams are supplied, one with rectangular section and the other one with L shape section.

In order to carry out some of the practices with MVV unit, an “B Type” Set of weights is required.

Manuals: This unit is supplied with the following manuals: Required services, Assembly and Installation, Starting-up, Security, Maintenance and Practices manual.

Optional models and accessories (not included):

- MVV/1. Accessory for determining the torsion centre of a beam.

Dimensions: 400 x 300 x 400 approx. (15.75 x 11.81 x 15.75 inches approx.).   Weight: 14 Kg. approx. (30.86 pounds approx.).

EXERCISES AND PRACTICAL POSSIBILITIES

1.- Determining the deflection of the beam depending on the intensity of the force applied.

2.- Determining the deflection of the beam depending on the direction of the force applied.

3.- Determining the ∆u and ∆v deflections at free ends of cantilevers.

4.- Studying the deflections at two planes, for several sections.

5.- Determining deflections for different angles of force applied.

6.- Studying the rigidity variation.

7.- Determining the position of the torsion centre of the beam (It requires the optional accessory MVV/1).

Optional

MVV/ICAI. Interactive Computer Aided Instruction Software System:

This complete software package consists of an Instructor Software (INS/SOF) totally integrated with the Student Software (MVV/SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

-ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

User Data Base Management.

Administration and assignment of Workgroups, Tasks and Training sessions.

Creation and Integration of Practical Exercises and Multimedia Resources.

Custom Design of Evaluation Methods.

Creation and assignment of Formulas & Equations.

Equation System Solver Engine.

Updatable Contents.

Report generation, User Progression Monitoring and Statistics.

-ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

Student Log-In & Self-Registration.

Existing Tasks checking & Monitoring.

Default contents & scheduled tasks available to be used from the first session.

Practical Exercises accomplishment by following the Manual provided by EDIBON.

Evaluation Methods to prove your knowledge and progression.

Test self-correction.

Calculations computing and plotting.

Equation System Solver Engine.

User Monitoring Learning & Printable Reports.

Multimedia-Supported auxiliary resources.

BDAS. Basic Data Acquisition System and Sensors.

For being used with mechanical modules.

BDAS is designed to monitor the measurements of each mechanical module from a computer (PC).