Unit for photoelasticity practices, illustrating the subjects of the Photoelasticity theory, the Elasticity theory, Strength of Materials, and Structure theory. It is very suitable for the introduction and study of photoelasticity: optical elements, isochromatic, isoclinic, band order, band factor, edge tensionsing, etc.

Using this unit photoelastic experiments and practices of transparent test specimens (models) may be performed.

The different test specimens are subjected to loading by external forces and have poralised light shone through them.

A load application element can apply tensile, bending, compressive, and distributed and punctual loads to the specimen.

The stresses and strains occurring in the test specimen are represented as bright spots or figures of different colours, and we can visualise the distribution of stress.

TENDER SPECIFICATIONS

Bench-top unit.

Anodized aluminium structure.

Main metallic elements in stainless steel.

Light source, two fluorescent tubes of 30 cm and 8W.

Monochromatic light 35W.

Opalescent diffuser plate.

Double effect polarizing filters (linear polarization and circular polarization), of 30 x 30 cm and protected by methacrylate plates.

Load  frame with pulling jack.

Dynamometric bar.

Comparator clock (millesimal indicator).

10 pressure screws and accessories.

This unit is supplied with:

-EFO-K1. Kit of Static Test Specimens (basic kit), formed by:

N°3.					Stepped Rectangular Specimen.

N°4.					Compact Circular Specimen.

N°5.					Circular with Orifice Specimen.

N°9.					Medium Rectangular Specimen.

N°13.				“C” Specimen.

N°14.				Specimen with Arch.

N°17.				Square with Diagonal Bar Specimen.

Cables and accessories, for normal operation.

Manuals: 	This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance, & Practices Manuals.

Dimensions: 750 x 400 x 550 mm. approx.  Weight:20 Kg. approx.

Additional and optional Test Specimens: (not included in the standard supply)

-EFO-K2. Kit of Static Test Specimens (advanced kit), formed by:

N°1.				Big Irregular Specimen.

N°2.				Small Irregular Specimen.

N°6.				Notches Rectangular Specimen.

N°7.				Trapezoidal Specimen.

N°8.				Big Rectangular Specimen.

N°10.			Small Rectangular Specimen.

N°11.			“U” Specimen.

N°12.			Romboide Specimen.

N°15.			Triangular Specimen.

N°16.			Hollow Square Specimen.

N°18.			Square with two Diagonal Bars Specimen.

N°19.			“T” Beam Specimen.

N°20.			Double “T” Beam Specimen.

N°21.			Rectangular with Hole Specimen.

-EFO-K5. Kit of Articulated Structures, formed by:

N°30.			Articulated Structure 1.

N°31.			Articulated Structure 2.

N°32.			Articulated Structure 3.

-EFO-K6. Kit of Dynamic Panels, formed by:

N°40.			Dynamic Panel 1.

N°41.			Dynamic Panel 2.

EXERCISES AND PRACTICAL POSSIBILITIES

1.-	Introduction to photoelasticity: optical elements, isochromatic, isoclinic, band order, band factor, edge tension sign, etc.

2.-	Determination of principal stress difference.

3.-	Isochromatics.

4.-	Illustration of the themes about elasticity, strength of materials and structures using photoelastic tests.

5.-	Pure traction/optical-tensional law.

6.-	Diametrically compressed disc.

7.-	Ring with diametrical compression traction.

8.-	Ring with diametrical compression.

9.-	Plate with circular drill with traction.

10.-	Comparison of the effects from different engraves in piece with traction.

11.-	Pure traction in a piece with section linearly variable.

12.-	Pure flexion.

13.-	Simple flexion.

14.-	Simple flexion, compound beams.

15.-	Compound flexion.

16.-	Compound central core of the section.

17.-	Piece with a great curvature subjected to flexion.

18.-	Arch built-in with a central charge.

19.-	Triangular structure.

20.-	Comparison of the structures.

21.-	Comparison of the effect of different notches.