TENDER SPECIFICATIONS

Brinell hardness testing unit 30kN:

It can work with round, flat or irregular shape test pieces.

Response time control: adjustable between 5 and 60 seconds.

Measurement range: 8-650HBW.

The test load is applied by an electrical motor.

Applied test force: 612.9 N (62.5 Kgf) – 980 N (100 Kgf), 1226 N (125 Kgf) - 1839 N (187.5 Kgf) – 2452N (250 Kgf) – 4900 N  (500 Kgf) -7355 N (750 Kgf) – 9807 N (1000 Kgf) - 2940 N (3000 Kgf).

Maximum height of the test piece: 220 mm.

Throat depth (distance between the central point of the indenter and the hardness tester body): 135 mm.

Small test piece holder plate: 60 mm diameter.

Large test piece holder plate: 200 mm diameter.

“V” shape test piece holder plate: 80 mm diameter.

Indenters:

Steel ball of 2.5 mm diameter.

Steel ball of 5 mm diameter.

Steel ball of 10 mm diameter.

Four additional balls of each size.

2 Testing blocks:

HBW/3000/10 (150 ~ 250).

HBW/750/5 (150 ~ 250).

Portable microscope to read the imprints:

Amplification: 20 X. Minimum division value of the micrometer wheel: 0.005 mm. Reading field effective range: 6 mm.

Spare fuse.

This unit is supplied with the following manuals: Required Services, Assembly and Installation, Start-up, Safety, Maintenance and Practice, Manuals.

Unit: - Dimensions: 300 x 500 x 800 mm approx. (11.81 x 19.68 x 31.49 inches approx.) - Weight: 150 Kg approx. (330.69 pounds approx.)

Case for elements: - Dimensions: 350 x 300 x 150 mm approx. (13.78 x 11.81 x 5.91 inches approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.- To learn how to use the instrumentation to perform hardness tests.

2.- Study and familiarization with Brinell hardness test equipment.

3.- Brinell hardness measurement on different materials.

4.- To observe the behaviur of diverse materials under different loads applied.

5.- To know the types of standard test pieces for these types of tests.

6.- To know the types of standard indenters for these types of tests.

Optional

EEDB/ICAI. Interactive Computer Aided Instruction Software System:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.