TENDER SPECIFICATIONS

Bench-top unit.

Anodized aluminum structure and panel of painted steel.

Vacuum-meter of range (-9800 [ mmH2O] to 0).

Vacuum-meter of range (-1000 [ mmH2O] to 0).

Manometer of range (0 to 1000 [ mmH2O] ).

Manometer of range (0 to 2.5 [ bars] ).

Mobile Piston (syringe).

8 valves.

Non-return valve.

Polyurethane tubes.

This system is supplied with atm, bares, psi, mmHg, mmH2O, conversion tables.

This system allows the calibration of 6 sensors (same type) simultaneously.

Manuals: This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

Dimensions: 720 x 300 x 570 mm. approx. (28.35 x 11.81 x 22.44 inches approx.).     Weight: 15 Kg. approx. (33 pounds approx.).