TENDER SPECIFICATIONS

This multimanometer has been designed for operating with Pitot’ s tube.

It allows finding the pressure between two points or two fluids.

Anodized aluminium structure and panel in painted steel (epoxi paint).

2 U-shape Glass Manometers of 500 mm. length.

Millimeter precision rules of 500 mm. length.

3 points for pressure measurement.

Manuals: 	This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

*Dimensions: 250 x 500 x 870 mm. approx.  Weight: 3 Kg. approx.