TENDER SPECIFICATIONS

Designed for wall assembly.

Anodized aluminium structure and panel in painted steel (epoxi paint).

U-shape manometer of 1000 mm. length.

Millimeter precision rules of 1000 mm. length.

Upper collector.

Lower collector.

Drain valve.

Manuals: 	This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

Dimensions: 170 x 40 x 1400 mm. approx.  Weight: 2 Kg. approx.