## TENDER SPECIFICATIONS

Anodized aluminium structure.

Approx. 30º inclination.

20 manometric tubes of 250 mm. length.

Tubes inner diameter: 8 mm., to avoid bubbles.

Water tank for filling.

20 points for differential pressure measurement, with key.

Common collector.

Drain valve.

Millimeter precision rules of 250 mm. length.

Manuals: 	This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

Dimensions: 1400 x 1400 x 700 mm. approx.  Weight: 10 Kg. approx.