### TENDER SPECIFICATIONS

Anodized aluminium structure and panel in painted steel (epoxi paint).

Vertical position.

8 Manometric tubes of 500 mm. length.

Tubes inner diameter: 8 mm., to avoid bubbles.

Air pump for pressurization.

8 points for differential pressure measurement, with key.

Common collector.

Non-return valve.

Drain valve.

Millimeter precision rules of 500 mm. length.

Manuals: 	This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

Dimensions: 300 x 500 x 870 mm. approx.  Weight: 4 Kg. approx.