### TENDER SPECIFICATIONS

Bench-top unit.

Anodized aluminium structure and panel in painted steel (epoxi paint).

Diagram in the front panel.

Vacuum-meter of range (-9800 [mm H2O] to 0).

Vacuum-meter of range (-1000 [mm H2O] to 0).

Manometer of range (0 to 1000 [mm H2O] ).

Manometer of range (0 to 2.5 [bars]).

Mobile Piston (syringe).

8 valves.

Non-return valve.

Polyurethane tubes.

This system is supplied with atm, bares, psi, mmHg, mm H2O, conversion tables.

This system allows the calibration of 6 sensors (same type) simultaneously.

Manuals: 	This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

Dimensions: 720 x 300 x 570 mm. approx. Weight: 15 Kg. approx.