Tender Specifications

Anodized aluminum frame and panels made of painted steel.

The unit includes wheels to facilitate its mobility.

Main metallic elements made of stainless steel.

Flotation tank of 2700 x 525 x 750 mm approx. (106.29 x 20.67 x 29.52 inches approx.). Capacity: 1000  l approx.

1/70 scale floating model of a cargo vessel.

Dynamometer to measure the righting moment of the ship.

Clinometer with battery, over the range of 0 to 360º (4 x 90º), to measure the inclination of the model over the range of 0 to 45º.

Resolution: 0.01º (0º – 9.99º) and 0.1º (10º – 90º).

Set of weights and ballasts.

Manuals: This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

Optional Models and Accessories: (Not included)

- USSB/A. Model of rectangular barge.

Scale model of a rectangular barge equipped with internal bulkheads and flooding valves and supplied with a set of ballasts and weights. Dimensions: 2200 x 400 x 250 mm approx. (86.61 x 15.74 x 9.84 inches approx.)

- USSB/B. Trawler model.

Scale model of a trawler equipped with transverse watertight bulkheads in suitable positions and flooding valves.

- USSB/C. Crane ship model.

Scale model of a typical crane ship used in industry. The hull is ballasted and equipped with a movable derrick supplied with several masses for suspension.

Dimensions: 2200 x 2700 x 2000 mm approx. (86.61 x 106.29 x 78.74 inches approx.)  Weight: 600 Kg approx. (1322 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.-  Study and performance of inclining experiments.

2.-  Determination of the effect of a free surface on stability.

3.-  Determination of the influence of a suspended mass on stability.

4.-  Study of the effect of flooding one or several compartments.

5.-  Study and performance of rolling experiments.

6.-  Study and determination of buoyancy and center of buoyancy.

Optional

USSB/ICAI. Interactive Computer Aided Instruction Software System:

This complete software package consists of an Instructor Software (INS/SOF) totally integrated with the Student Software (USSB/SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.