Tender Specifications

Channel made up of group of modular parts of 2.5 m long. Each rectangular piece of different sections with transparent walls of 10 mm thick is made in such a way that guarantees a uniform section along the entire channel. All the sections are made of tempered glass, stainless steel and anodized aluminum, guaranteeing corrosion resistance. The alignment process and level testers guarantee a perfect alignment of the perfectly watertight assembled unit.

The assembly has inlet and outlet gates to carry out different experiments and safety level switches that prevent water from exceeding the maximum level.

Metal beam structure, made of welded steel, to support the assembly of sections. It allows for adjusting the tilt from -0.5% to 2.5%.

Fiberglass inlet tank with draining valve and safety water level switch.

Fiberglass reception tank with draining valve and safety water level switch.

Two storage tanks with cover and draining valve at the bottom to store the recirculation water. Capacity: 1200  l per tank.

Variable speed driving pump. The power of the pump varies in function of the channel version up to 140 m³/h, 4 kW. Water velocity inside the channel can be controlled from 0 m/s to the maximum flow rate supplied by the pump.

Measurements:

Graduated scales to obtain the channel height position (tilt).

Differential pressure digital indicator for inlet flow measurement (included in CFGTVC).

Available versions to choose:

- CFG300/5. Flow Channel (section: 300 x 450 mm), length: 5 m.

- CFG300/7. Flow Channel (section: 300 x 450 mm), length: 7.5 m.

- CFG300/10. Flow Channel (section: 300 x 450 mm), length: 10 m.

- CFG300/12. Flow Channel (section: 300 x 450 mm), length: 12.5 m

- CFG310/5. Flow Channel (section: 310 x 450 mm), length: 5 m.

- CFG310/7. Flow Channel (section: 310 x 450 mm), length: 7.5 m.

- CFG310/10. Flow Channel (section: 310 x 450 mm), length: 10 m.

- CFG310/12. Flow Channel (section: 310 x 450 mm), length: 12.5 m.

- CFG400/5. Flow Channel (section: 400 x 450 mm), length: 5 m.

- CFG400/7. Flow Channel (section: 400 x 450 mm), length: 7.5 m.

- CFG400/10. Flow Channel (section: 400 x 450 mm), length: 10 m.

- CFG400/12. Flow Channel (section: 400 x 450 mm), length: 12.5 m.

- CFG600/5. Flow Channel (section: 600 x 450 mm), length: 5 m.

- CFG600/7. Flow Channel (section: 600 x 450 mm), length: 7.5 m.

- CFG600/10. Flow Channel (section: 600 x 450 mm), length: 10 m.

- CFG600/12. Flow Channel (section: 600 x 450 mm), length: 12.5 m.

- CFG1000/5. Flow Channel (section: 1000 x 450 mm), length: 5 m.

- CFG1000/7. Flow Channel (section: 1000 x 450 mm), length: 7.5 m.

- CFG1000/10. Flow Channel (section: 1000 x 450 mm), length: 10 m.

- CFG1000/12. Flow Channel (section: 1000 x 450 mm), length: 12.5 m.

- CFGCD. Flow Channel (dimensions: “Custom Design”).

Cables and Accessories, for normal operation.

Manuals: This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

Required elements:

- CFGRM. Level Gauge for Water Height Measurement (Hook and Point Gauge) (to measure water level).

- CFGTP. Pitot Tube with Manometer Tubes Board (to measure velocity).

- CFGTVC. Venturi Tube with Differential Pressure Digital Indicator for Inlet Flow Measurement (to measure the inlet flow to the channel).

Recommended elements:

- CFGPR. Adjustable Undershot Weir.

- CFGCVR. Vertical Flat Gate and Radial Gate.

- CFGVD. Sharp Crested Weir.

- CFGVG. Broad Crested Weir.

- CFGVC. Crump Weir.

- CFGPV. Weirs.

- CFGVOTP. Ogee Type Weir with Pressure Measurement.

- CFGPVTP. Weirs with Pressure Intakes.

- CFGPVP. Weirs and Piers.

- CFGSDL. Syphon Spillway.

- CFGSDS. Air Regulated Syphon.

- CFGMDE. Energy Dissipation Accessories.

- CFGRA. Rake.

- CFGMU. Model of Sill.

- CFGMA. Models of Culvert.

- CFGCA. Culvert Fitting.

- CFGPCG. Rotatory Short Piers.

- CFGP. Long Piers.

- CFGPLR. Artificial Roughened Bed.

- CFGFS. False Floor Sections.

- CFGVEN. Venturi Flume.

- CFGMP. Parshall Meter.

- CFGMT. Trapezoidal Meter.

- CFGGO. Wave Generator.

- CFGMPL. Model of Plain Beach.

- CFGPVI. Set of Vibrating Piles.

- CFGSRS. Sediment Recirculation System.

- CFGAS. Sediment Feeder.

- CFGTS. Sediment Trap.

- CFGRMD. Digital Water Level Indicator.

- CFGMV. Velocity Meter.

- CFGSMI. Movable Instruments Support.

- CFGTA. Water Tank.

- CFGPAS. Metallic Footbridge.

- CFG10SP-KIT. Kit for Pressure Measurement along the Channel.

- CFGC10SP. Ten Pressure Sensors Module.

- CFGBAE. Scale, drag and lift.

- CFGZG. “Zagni” Flow Monitoring Model.

- APIV. Accessory for Particle Image Velocimetry (PIV).

EXERCISES AND PRACTICAL POSSIBILITIES

1.-  Measurement of water level and speed along the channel.

2.-  Flow rate measurement using sharp-crested weirs.

3.-  Flow rate measurement through changes in the channel section.

4.-  Flow rate measurement using Venturi flume.

5.-  Flow rate control using gates.

6.-  Level control using syphons.

7.-  Flow over overflow weirs.

8.-  Flow between the piers of a bridge.

9.-  Connection of a channel to a culvert.

10.-Characterization of the hydraulic jump.

11.-Profiles of the water free surface.

12.-Manning coefficient calculation for channels with sedimentation.

13.-Comparison of the discharge coefficient in gates with or without sedimentation.

14.-Simulation of the effect of the piers of a bridge in a channel with sediments.

15.-Study of turbulences using ink.

16.-Visualization of the transitions of the sediments on the bed when abrupt discharges are generated.

17.-Dependence of the sediments shape on the flow rate variation.

18.-Study of the sediments transport and settling mechanisms.

Additional practical possibilities:

19.-Investigation of currents and torrential floods states.

20.-Water levels measurement.

21.-Discharge process in a submergible spillway.

22.-Pressure drop in open channels.

23.-Operation and study of a syphon.

24.-Flow and discharge coefficient of a syphon.

25.-Flow in pipes.

26.-Comparison between overflow and syphon.

27.-Study of the amplitude of the hydraulic jump.

28.-Generation of different flow states using an underwater dam.

29.-Study of the discharge processes under an adjustable weir:

- Study of alternating changes during the discharge.

30.-Relationship between backwater level and discharge level.

31.-Study of discharge under a radial gate:

- Study of alternating changes during the discharge.

32.-Hydrostatic pressure on a weir.

33.-Study of waves.

34.-Behaviour of structures under swell conditions (in rough sea).

35.-Application and understanding of Manning formula.

36.-Study of subcritical and supercritical flows.

37.-Learning how to apply the force, momentum and energy equations in typical situations.

38.-Study of the transition from flowing current to accelerated current.

39.-Calculation of the water flow.

40.-Use of the limnimeter

Optional

CFG/ICAI. Interactive Computer Aided Instruction Software System:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.