TENDER SPECIFICATIONS

Bench-top unit.

Anodized aluminum structure and panel of painted steel.

Main metallic elements of stainless steel.

Diagram in the front panel with similar distribution to the elements in the real unit.

Water inlet tube, including:

A “J” type temperature sensor.

A flow meter.

A valve to regulate the water inlet flow to the circuit (0-3 bars) to avoid overpressures along the circuit.

A regulation valve.

Recycle loop, where the water that flows through the periphery of the test tube is heated. It consits of:

Hot water impulsion pump.

Heating element of 2000 W. It includes a protection thermostat.

Three water regulation valves to select the recycle loop and regulate the water flow.

Three different volumes of recycle loop: additional volume, rigid pipe and flexible pipe.

Two “J” type temperature sensors.

One flow meter.

Water outlet pipe, including:

A “J” type temperature sensor.

A flow meter.

Electronic console:

Metallic box.

Temperature sensors connectors.

Digital display for the temperature sensors.

Selector for the temperature sensors.

Pump regulator.

Electrical heating element controller.

Cables and Accessories, for normal operation.

Manuals: This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

Dimensions: Unit: 1110 x 630 x 300 mm. approx. (43.70 x 24.80 x 11.81 inches approx.).     Weight: 40 Kg. approx. (88 pounds approx.).

Electronic console: 490 x 330 x 310 mm. approx. (19.29 x 12.99 x 12.20 inches approx.).     Weight: 12 Kg. approx. (26.4 pounds approx.).

EXERCISES AND PRACTICAL POSSIBILITIES

1.-	Understanding the meaning of Water Recycle Loop.

Mass balances of steady state:

2.-	Mass balance in the recycle loop in stationary regime with different water proportion in recirculation and different loops.

Heat balances of unsteady state:

3.-	Determination of the recycle loop system response faced, when the heating element is switched on, at different flow rates and different loops.

4.-	Determination of the recycle loop system response faced, when the heating element is switched off, at different flow rates and different loops.

Heat balances of steady state:

5.-	Thermal balance in the recycle loop in stationary regime with different water proportions in recirculation and different loops.

Additional practical possibilities:

Mass balances of steady state:

6.-	Demonstrating that whatever the recycle rate, the inlet flow rate equals the outlet flow rate.

Heat balances of unsteady state:

7.-	Study of the effect of change the inlet flow.

8.-	Study of the effect of recycle with no through flow.

Heat balances of steady state:

9.-	Checking the variation of the outlet temperature, with the heating element switched on and a fixed water flow at the inlet, caused by different recycled flow.

10.-	Determination of the heat quantity absorbed in the recycle loop.

11.-	Use of the steady flow energy equation for the overall system.

12.-	Use of the steady flow energy equation for different points of the system.

13.-	Study of the system response when the recycle flow is changed.

14.-	Study of the system response when the inlet-outlet flow is changed.

15.-	Study of the system response when the recycle volume is changed.

16.-	Study of the system response when the heating element power is changed.