Tender Specifications

Anodized aluminum frame and panels made of painted steel.

The unit includes wheels to facilitate its mobility.

Diagram in the front panel with distribution of the elements similar to the real one.

Heating system:

Circulation pump:

Maximum flow rate: 3600  l/h.

Maximum head: 4 m.

Four-ways mixing valve:

Nominal diameter: 20 mm.

Nominal pressure: 10 bar.

Working temperature: -10 – 110 ºC.

Heating controller with feedback of the feed flow temperature with input for two temperature sensors.

Five automatic air vents.

Overflow valve.

Four radiators:

Heat exchanger with eight plates.

Four thermostatic valves to control the temperature of the radiators.

Five bimetallic thermometers, range: 0 – 100 ºC.

Seven rotameters:

Four of them with a range from 0 – 400  l/h.

Two of them with a range from 150 – 1600  l/h.

One of them with a range from 0 – 1000  l/h.

Four water connections:

Two DN 15 cold water connections with quick-release fittings.

Two DN 15 boiler water connections with quick-release fittings.

Manuals: This unit is supplied with the following manuals: Required services, Assembly and Installation, Starting-up, Safety, Maintenance and Practices manual.

Dimensions: 1700 x 700 x 1700 mm approx. (66.92 x 27.55 x 66.92 inches approx.)  Weight: 90 Kg approx. (198.41 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.-  Familiarization with the most common components of a heating installation.

2.-  Study of the operation of a central heating system and its components.

3.-  Study of a circulation pump.

4.-  Study of the operation of a thermostatic valve.

5.-  Understanding a four-ways mixing valve to adjust the temperature of the feed and return water of the boiler.

6.-  Study of the operation of a heating controller.

Optional

THST/ICAI. Interactive Computer Aided Instruction Software System:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.