Tender Specifications

Bench-top unit.

Anodized aluminum structure and panels of painted steel.

Main metallic elements in stainless steel.

Diagram in the front panel with similar distribution to the elements in the real unit.

A condenser (radiator).

An evaporator.

Two refrigeration fans.

A filter.

A electric motor (to simulate the car’s engine).

A variable frequency drive to adjust the number of revolutions of the motor between 300 and 1500 r.p.m.

A variable area compressor.

An expansion valve.

A storage tank.

A compartment made of methacrylate with ventilation windows.

A safety pressure switch that stops the compressor at 14 bars.

Six “J” type temperature sensors.

A low pressure manometer for the coolant to measure the pressure before the compressor.

A high pressure manometer for the coolant to measure the pressure after the compressor.

A high pressure manometer for the coolant to measure the pressure after the condenser.

Flow meter of the coolant, range: 5-60  l./h.

Electronic console:

Metallic box.

Temperature sensors connectors.

Digital display for the temperature sensors.

Digital display for the internal temperature.

Digital display for the electric motor speed.

Selector for the temperature sensors.

Compressor switch.

Switches and regulators for the fans flow (0-100%).

Switch and regulator for the electric motor speed (0-100%).

Cables and accessories, for normal operation.

Manuals: This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

Dimensions: Unit: 1000 x 600 x 500 mm. approx. (39.37 x 23.62 x 19.68 inches approx.)    Weight: 70 Kg. approx. (154.32 pounds approx.).

Electronic console: 490 x 330 x 310 mm. approx. (19.29 x 12.99 x 12.2 inches approx.)    Weight: 10 Kg. approx. (22 pounds approx.).

EXERCISES AND PRACTICAL POSSIBILITIES

1.-  Study of the typical elements of a refrigeration system.

2.-  Simulation of the speed variation of a car.

3.-  Cooling in function of the condenser’s fan.

4.-  Cooling in function of the compartment inlet.

5.-  Energy balance in the evaporator and condenser.

6.-  Determination of the performance of the system.

7.-  Experimental determination of the air specific heat capacity.

8.-  Optimum determination of the parameters that take part in an air conditioning process.

Additional practical possibilities:

9.-  Calibration of sensors.

Optional

TAAU/ICAI. Interactive Computer Aided Instruction Software System:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager –ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft –ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

-ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc...so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

User Data Base Management.

Administration and assignment of Workgroup, Task and Training sessions.

Creation and Integration of Practical Exercises and Multimedia Resources.

Custom Design of Evaluation Methods.

Creation and assignment of Formulas & Equations.

Equation System Solver Engine.

Updatable Contents.

Report generation, User Progression Monitoring and Statistics.

-ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF  is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired technical knowledge.

Innovative features:

Student Log-In & Self-Registration.

Existing Tasks checking & Monitoring.

Default contents & scheduled tasks available to be used from the first session.

Practical Exercises accomplishment by following the Manual provided by EDIBON.

Evaluation Methods to prove your knowledge and progression.

Test self-correction.

Calculations computing and plotting.

Equation System Solver Engine.

User Monitoring Learning & Printable Reports.

Multimedia-Supported auxiliary resources.