Tender Specifications

Bench-top unit.

Anodized aluminum frame and panels made of painted steel.

Main metallic elements made of stainless steel.

Diagram in the front panel with distribution of the elements similar to the real one.

Pressure regulator and filter. It is supplied fixed to 3 Bar.

Regulation valve to regulate the flow of air at the inlet of the bed chamber.

Bed chamber:

Cylinder made of glass where the granular material that forms the bed is contained.

Back light to facilitate the visualization of the fluidized bed.

It includes:

Heating element:

Cylindrical heating element with copper coating:

Transfer area: 20.4 cm².

Maximum power: 150 W.

Potentiometer that regulates the current to the heating element.

Heating power measurement with a wattmeter.

“J” type temperature sensor on the surface of the heating element.

Filter at the top of the chamber.

Distributor at the bottom of the bed chamber. Nine different distributors are included with different number of orifices, different sizes of orifices and different distribution of orifices.

Graduated scale to measure the height of the bed.

Two “J” type temperature sensors to measure:

Bed temperature.

Air temperature at the outlet of the chamber.

Granular material:

1 Kg (170 – 300 microns).

1 Kg (250 – 420 microns).

Safety tank made of PMMA to prevent overpressures in the chamber.

Two ball valves to select the flowmeter in function of the working range.

“J” type temperature sensor to measure the air temperature at the inlet of the chamber.

Two flowmeters to measure the inlet air flow of the bed chamber:

Flowmeter 1, range: 22 – 130  l/min.

Flowmeter 2, range: 1 – 5.5 l/s.

Differential pressure U-shaped manometer to measure the pressure drop in the bed. Range: 0 – 500 mm H2O.

“J” type temperature sensor to measure the air temperature at the inlet of the chamber.

Pressure sensor to measure the air pressure at the inlet of the chamber. Range: 0 – 100 PSI.

Cables and Accessories, for normal operation.

Manuals: This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

Dimensions: Unit: 700 x 600 x 800 mm approx. (27.55 x 23.62 x 31.49 inches approx.)  Weight: 40 Kg approx. (88 pounds approx.)

Electronic console: 490 x 330 x 310 mm approx. (19.29 x 12.99 x 12.20 inches approx.)  Weight: 15 Kg approx. (33 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.-  Study of the behavior of particles in a bed when an ascending airflow is applied.

2.-  Study of the particles' segregation into size and density.

3.-  Study of the relation between bed's height, drop of pressure and ascending air's velocity through the particle bed.

4.-  Study of the variation of the heat's transference coefficient in a fluidized bed caused by the effect of the following parameters:

Superficial velocity.

Depth of the hot surface in the bed.

Particle’s granulometry.

5.-  Study of the distributor’s effect on the bed’s behavior.

Optional

TTLFB/ICAI. Interactive Computer Aided Instruction Software System:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.