TENDER SPECIFICATIONS (for main items)

1  EANC. Unit:

RF-Generator and SWR-Meter: (included in the Control Interface Box)

RF-Generator:

Based on voltage controlled oscillator (VCO). Wide range of generated frequencies: from 600MHz to 1700MHz.

Frequency tuning through the computer (PC). Frequency displayed on the computer (PC). 50  of nominal impedance.

SWR-Meter: Frequency range: 600 MHz to 2.5GHz. Insertion loss ≥ 0.1dB. SWR measurement displayed on the computer. 50  of nominal impedance.

SMA connector to transmitter antenna.

Stepper Motor Controller: (included in the Control Interface Box)

This controller allows the full-automatic 360° rotation of the transmitter antenna.

Spectrum Analyzer: (included in the Control Interface Box)

Frequency range: 50 MHz to 6 GHz. Typically level range: -40 dBm to +23 dBm. Accuracy of +/- 0.18 dB at measurement lower than +18 dBm.

Standing wave ratio lower than 1.2:1. Gain and offset self-calibration. 50  of nominal impedance. SMA connector to receiver antenna.

Frequency and power signal measurement from the computer (PC).

Two Towers Antennas:

Receiver Antenna Tower.

Transmitter Antenna Tower. The base of this tower has a computer controlled stepper motor. The base of this tower also has a degree wheel.

EAN-1. Antennas Kit: (included in the supply)

All antennas connect to RF-Generator through a SMA connector.

Monopole antenna: Designed for 1200MHz transmission. /2 of wavelength. 50  of nominal impedance.

Monopole antenna with ground plane: Designed for 1200MHz transmission. /2 of wavelength. 50  of nominal impedance.

Drooping monopole antenna: Designed for 1200MHz transmission. /4 of wavelength. 50  of nominal impedance.

Straight dipole antenna (Short /2): Designed for 1300MHz transmission. /2 of wavelength. 50  of nominal impedance.

Straight dipole antenna (Large ): Designed for 1300MHz transmission.  of wavelength. 50  of nominal impedance.

Folded dipole antenna (300 ): Designed for 1400MHz transmission. /2 of wavelength. 300  of nominal impedance.

Folded dipole antenna (adapted 50 ): Designed for 1400MHz transmission. /2 of wavelength. 6:1 Balun (length: /2 of wavelength) inside the fixing system of the antenna. 50  of nominal impedance.

Helical antenna (Right-hand circular polarization): Designed for 1600MHz transmission. 50  of nominal impedance.

Helical antenna (Left-hand circular polarization):Designed for 1600MHz transmission. 50  of nominal impedance.

Circular loop antenna: Designed for 850MHz transmission. 50  of nominal impedance.

Square loop antenna: Designed for 850MHz transmission. 50  of nominal impedance.

Diamond loop antenna: Designed for 850MHz transmission. 50  of nominal impedance.

Microstrip patch antenna: Designed for 5 band of frequency transmission. /2 of wavelength. 50  of nominal impedance.

Yagi-Uda antenna: Designed for 900MHz transmission. 9 elements Yagi-Uda antenna. 50  of nominal impedance.

Log-periodic antenna: Designed for the range between 680-2900MHz transmission. Directional antenna. Max. transmission power: 10 W. 50  of nominal impedance. VSWR (typ.): < 2:1. Gain (typ.): 7dBi.

Antenna expositor which allows the access of different antennas easily.

Space required between antennas: 2-3 m.

The complete unit includes as well:

Advanced Real-Time SCADA.

Open Control + Multicontrol + Real-Time Control.

Specialized EDIBON Control Software based on Labview.

Projector and/or electronic whiteboard compatibility allows the unit to be explained and demonstrated to an entire class at one time.

Capable of doing applied research, training courses, etc.

Remote operation and control by the user and remote control for EDIBON technical support, are always included.

Totally safe, utilizing 4 safety systems (Mechanical, Electrical, Electronic & Software).

Designed and manufactured under several quality standards.

Optional CAL software helps the user perform calculations and comprehend the results.

This unit has been designed for future expansion and integration. A common expansion is the EDIBON Scada-Net (ESN) System which enables multiple students to simultaneously operate many units in a network.

Optional accessories: (NOT included in the minimum supply)

EAN-2. Antennas Kit:

Microstrip patch array antenna. Horn antenna. 	Parabolic reflector. 	Log-periodic antenna. Discone antenna. 	Antennas expositor which allows the access of different antennas easily.

2  EANC/CIB. Control Interface Box:

The Control Interface Box is part of the SCADA system.

The control interface box includes: the Spectrum Analyzer, the RF-Generator, the SWR-Meter and the Stepper Motor Controller. All of them connected to computer (PC) for recording, display and evaluation of data.

The unit control elements are permanently computer controlled, without necessity of changes or connections during the whole test procedure.

Simultaneous visualization in the computer of all parameters involved in the process and analysis: Received signal power value, SWR value, frequency of signal, etc.

Shield and filtered signals to avoid external interferences. Real time computer control.

Open control, allowing modification of frequency of signal for the analysis of radiation patterns, etc.

Safety levels, one mechanical in the unit, another electronic in the control interface and the third one in the control software.

3  EANC/CCSOF. Computer Control +Data Acquisition+Data Management Software:

The three softwares are part of the SCADA system.

Compatible with the industry standards.

Flexible, open and multicontrol software, developed with actual windows graphic systems, acting simultaneously on all antenna parameters.

Management, processing, comparison and storage of data.

Sampling velocity up to 10 KS/s (kilo samples per second).

Three selectable antenna tests: Antenna radiation pattern, Antenna bandwidth test and Power signal measurement.

The configuration of each antenna has been memorized in the software for a quick and easy antenna study.

Open software, allowing the teacher to modify texts, instructions. Teacher’s and student’s passwords to facilitate the teacher’s control on the student, and allowing the access to different work levels.

This unit allows the 30 students of the classroom to visualize simultaneously all the results and the manipulation of the unit, during the process, by using a projector or an electronic whiteboard.

4  Cables and Accessories, for normal operation.

5  Manuals: This unit is supplied with 8 manuals: Required Services, Assembly and Installation, Interface and Control Software, Starting-up, Safety, Maintenance, Calibration & Practices Manuals.

* References 1 to 5 are the main items: EANC + EANC/CIB + EANC/CCSOF + Cables and Accessories + Manuals are included in the minimum supply for enabling normal and full operation.

Exercises and Practical Possibilities to be done with Main Items

1.-	Familiarization with the trainer.

2.-	Installation, connection and familiarization with the computer control software.

3.-	Basic principles of radiation pattern parameters measurement.

4.-	Study of the surrounding signals.

5.-	Distance effect over radiation power.

6.-	Direction of maximum radiation and gain of an antenna.

7.-	Analysis of the antenna bandwidth.

8.-	Study of monopole antennas.

9.-	Study of antennas with ground planes.

10.-	Study of dipole antennas.

11.-	Study of loop antennas (circular, square and diamond loop antennas).

12.-	Study of circular polarization helical antennas.

13.-	Study of Yagi-Uda antennas.

14.-	Study of microstrip patch antennas.

15.-	SWR measurement and conversion in Return loss and Reflected Power.

16.-	Improvement of the performance of a system.

Additional practical possibilities to be done with the optional Antennas Kit (EAN-2):

17.-	Study of horn antenna.

18.-	Study of parabolic reflector.

19.-	Basic principles of wide bandwidth antennas: log-periodic antenna.

20.-	Basic principles of wide bandwidth antennas: discone antenna.

21.-	Basic principles of microstrip patch array antenna.

Other possibilities to be done with this Unit:

22.-	Many students view results simultaneously.

To view all results in real time in the classroom by means of a projector or an electronic whiteboard.

23.-	Open Control, Multicontrol and Real Time Control.

24.-	This unit is totally safe as uses mechanical, electrical and electronic, and software safety devices.

25.-	This unit can be used for doing applied research.

26.-	This unit can be used for giving training courses to Industries even to other Technical Education Institutions.

27.-	Visualization of all parameters values used in the unit process.

- Several other exercises can be done and designed by the user.

TENDER SPECIFICATIONS (for optional items)

a) Technical and Vocational Education configuration

6  EANC/CAI. Computer Aided Instruction Software System.

This complete software package consists of an Instructor Software (INS/ SOF) totally integrated with the Student Software (EANC/SOF).

-INS/SOF. Classroom Management Software (Instructor Software):

The Instructor can:

Organize Students by Classes and Groups.

Create easily new entries or delete them.

Create data bases with student information.

Analyze results and make statistical comparisons.

Generate and print reports.

Detect student’s progress and difficulties.

-EANC/SOF. Computer Aided Instruction Software (Student Software):

It explains how to use the unit, run the experiments and what to do at any moment.

This Software contains:

Theory.

Exercises.

Guided Practices.

Exams.

b) Higher Education and/or Technical and Vocational Education configuration

7  EANC/CAL. Computer Aided Learning Software (Results Calculation and Analysis).

This Computer Aided Learning Software (CAL) is a Windows based software, simple and very easy to use.

CAL is a class assistant that helps in doing the necessary calculations to extract the right conclusions from data obtained during the experimental practices.

CAL computes the value of all the variables involved and performs the calculations.

It allows to plot and print the results. Within the plotting options, any variable can be represented against any other.

Different plotting displays.

It has a wide range of information, such as constant values, unit conversion factors and integral and derivative tables.

c) Multipost Expansions options

8  Mini ESN. EDIBON Mini Scada-Net System.

EDIBON Mini Scada-Net System allows up to 30 students to work with a Teaching Unit in any laboratory, simultaneously.

The Mini ESN system consists on the adaptation of any EDIBON Computer Controlled Unit with SCADA integrated in a local network.

This system allows to view/control the unit remotely, from any computer integrated in the local net (in the classroom), through the main computer connected to the unit.

Main characteristics:

-It allows up to 30 students to work simultaneously with the EDIBON Computer Controlled Unit with SCADA, connected in a local net.

-Open Control + Multicontrol + Real Time Control + Multi Student Post.

-Instructor controls and explains to all students at the same time.

-Any user/student can work doing "real time" control/multicontrol and visualisation.

-Instructor can see in the computer what any user/student is doing in the unit.

-Continuous communication between the instructor and all the users/students connected.

Main advantages:

-It allows an easier and quicker understanding.

-This system allows you can save time and cost.

-Future expansions with more EDIBON Units.

The system basically will consist of:

This system is used with a Computer Controlled Unit.

-Instructor’s computer.

-Students’ computers.

-Local Network.

-Unit-Control Interface adaptation.

-Unit Software adaptation.

-Webcam.

-Mini ESN Software to control the whole system.

-Cables and accessories required for a normal operation.