TENDER SPECIFICATIONS

The application includes the following modules:

• N-ALI02. Domestic Main Power Supply.

Supply voltage (Single-Phase): 230 VAC, PH+N+G.

ON-OFF removable key.

Output Voltage Connections:

Two Single-Phase: 230 VAC.

Single-Phase supply hose connecting plug.

Differential magnetothermal, 2 poles, 25 A, 30 mA AC 6 KA.

• N-MED22. AC Analog Voltmeter (0-400 VAC).

Measurement range: 0-400 VAC.

Terminals:

Measurement Terminals.

Ground Terminal.

• N-MED10. AC Analog Ammeter (0-5 A).

Measurement range: 0-5 A.

Terminals:

Measurement Terminals.

Ground Terminal.

• N-MED26. Reed Frequency Meter 50 Hz, 400 V.

Nominal voltage: 400 VAC.

Nominal frequency: 50 Hz.

Accuracy: 5 Hz.

• N-EALD. Network Analyzer Unit with Data Acquisition.

Switch ON/OFF.

Voltage supply: 400 VAC.

Input terminals: Input connection with the measure point.

Output terminals: Output connection with the measure point.

Digital outputs: three digital outputs for pulses or alarms or combine both.

Communication port RS-485.

Fuses: 3 x 10 A.

Grid analyzer display, where it shows:

Active, reactive and apparent power.

Active, reactive and apparent energy.

Phase and line currents.

Phase and line voltages.

Frequencies.

Power factor.

• N-MED49. Hour counter.

Real time hour counter of time service.

• N-SWT4. Four position selector (point selector measuring).

IP66 protection.

Additional and recommended modules:

• EMT7. Asynchronous Three-Phase Motor of squirrel cage.

Nominal power: 370 W.

Nominal voltage: 3x 230/400 VAC  Δ/Y.

Frequency: 50/60 Hz.

Number of poles: 2.

Speed: 2730 r.p.m.

Nominal current: 1,67/ 0,97 A.

• EMT9. Dahlander Three-Phase Motor (two speeds).

Nominal power: 370 W.

Nominal voltage: 3x 400 VAC.

Frequency: 50/60 Hz.

Number of poles: 4.

Speed: 1400/2800 r.p.m.

Nominal current: 1,2 / 1,55 A.

• N-REF/T. Three-Phase Resistor Load with commutator module.

Nominal voltage: 400 VAC.

Three-phase resistance: 3x150 Ohm.

Nominal current: 1,6 A.

Manual commutator to switch on/off the inductances.

Fuses: 3 x 2 A.

Terminals:

Four inputs terminals (3PH+N).

Four outputs terminals (3PH+N).

Ground terminal.

• N-CON/T. Three-phase Capacitor module.

Capacitor value: 3 x 7 uF.

Nominal Voltage: 400 VAC.

Manual commutator to switch on/off the capacitors.

Fuses: 3 x 4 A.

Terminals:

Four inputs terminals (3PH+N).

Four outputs terminals (3PH+N).

Ground terminal.

• N-IND/T. Three-phase Inductance module.

Nominal voltage: 400 VAC.

Inductance value: 1,4 H.

Nominal current: 1,6 A.

Manual commutator to switch on/off the inductances.

Fuses: 3 x 2 A.

Terminals:

Four inputs terminals (3PH+N).

Four outputs terminals (3PH+N).

Ground terminal.

• FLYW. Flywheel.

Weight: 2 kg.

Maximum recommended speed: 4000 r.p.m.

Moment of inertia: 0,0025 Km².

• FRECP. Eddy Current Brake.

Maximum supply voltage: 60 VCC.

Nominal current: 1,67 A.

Maximum current: 1,8 A.

Maximum braking torque: 1,4 Nm.

• N-VVCC/M. DC Motor Speed Controller (intermediate option).

Supply voltage: 230 VAC.

Variable output voltage: 0-300 VCC.

Fuse: 2 A.

• All necessary cables to realize the practical exercises are included.

Cables and Accessories, for normal operation.

Manuals:

This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

- Dimensions: 640 x 320 x 920 mm approx. (25.19 x 12.59 x 32.22 inches approx.) - Weight: 60 Kg approx. (132 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.-   Measurement of voltage and current in the installations.

2.-  Measurement of the energy consumption, both active and reactive, and calculate the power factor of the installations.

3.-  Registry of hours of service.

4.-  Development of remote measurement stations.

Optional

AEL-MED/ICAI. Interactive Computer Aided Instruction Software System:

This complete software package consists of an Instructor Software (INS/SOF) totally integrated with the Student Software (AEL-MED/SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.