TENDER SPECIFICATIONS

The application includes the following modules:

• N-KNX34. KNX/EIB USB Programming Interface Module.

Power supply: KNX line, 21…30 VDC.

Current consumption (max.): < 5 mA.

USB connection: USB2.0 connector.

• N-KNX18. KNX/EIB Power Supply Module.

Power supply: 230 VAC.

Maximum load: 640 mA.

Output voltage: 24 VDC.

• N-KNX5. KNX/EIB Binary Output Module.

Nominal voltage: 230 VAC.

Frequency: 50 Hz.

KNX bus voltage: 24 VDC.

Mains inputs/outputs: 4 mm safety sockets.

Bus inputs/outputs: 2 mm safety sockets.

• N-KNX4. KNX/EIB Binary Input Module.

Nominal voltage: 230 VAC.

Frequency: 50 Hz.

KNX bus voltage: 24 VDC.

Mains inputs/outputs: 4 mm safety sockets.

Bus inputs/outputs: 2 mm safety sockets.

Additional and recommended modules:

• N-KNX12. KNX/EIB Fire/Smoke Module.

KNX bus voltage: 24 VDC.

Bus inputs/outputs: 2 mm safety sockets.

Current:

Standby: 85 uA (approx.)

Alarm: 100 mA (approx.)

Operating temperature: - 10 º/+70 ºC.

• N-KNX13. KNX/EIB Flooding Sensor Module.

Nominal voltage: KNX bus voltage.

KNX bus voltage: 24 VDC.

Operating temperature: - 10 to +50 ºC.

• N-KNX3. KNX/EIB Barrier Sensor Module.

Nominal voltage: 230 VAC.

Frequency: 50 Hz.

KNX bus voltage: 24 VDC.

Mains inputs/outputs: 4 mm safety sockets.

Bus inputs/outputs: 2 mm safety sockets.

• N-KNX17. KNX/EIB Movement Sensor Module.

Movement sensor for bus system KNX.

Max. Transmission range frontally 7m.

Number of channels 1.

• N-KNX26. KNX/EIB Siren Module.

KNX bus voltage: 24 VDC.

Bus inputs/outputs: 2 mm safety sockets.

Working temperature: -5ºC to +45ºC.

Current: 200 mA.

Acoustic warning.

• N-KNX6. KNX/EIB Bolt Switch Module.

KNX bus voltage: 24 VDC.

Bus inputs/outputs: 2mm safety sockets.

Working temperature: -20ºC to +60ºC.

Switching current: 300 mA (approx.)

• N-KNX7. KNX/EIB Broken Glass Module.

KNX bus voltage: 24 VDC.

Bus inputs/outputs: 2 mm safety sockets.

• N-KNX33. KNX/EIB Window/Door Contact Module.

KNX bus voltage: 24 VDC.

Bus inputs/outputs: 2 mm safety sockets.

• N-KNX19. KNX/EIB Proximity Sensor Module.

KNX bus voltage: 24 VDC.

Bus inputs/outputs: 2 mm safety sockets.

Working temperature: -5 ºC to +45 ºC.

• N-KNX15. KNX/EIB Magnetic Card Reader Module.

KNX bus voltage: 24 VDC.

Bus inputs/outputs: 2mm safety sockets.

Card operating speed: 10 cm/s to 120 cm/s.

Working temperature: -10ºC to +50ºC.

Working humidity: 20% - 90% RH.

• N-KNX11. KNX/EIB Fingerprint Reader Module.

KNX bus voltage: 24 VDC.

Bus inputs/outputs: 2 mm safety sockets.

Working temperature: -20 ºC to +50 ºC.

Working humidity: 30% - 85% RH.

• N-KNX30. KNX/EIB Touch Panel Module.

Nominal voltage: 230 VAC.

Frequency: 50 Hz.

KNX bus voltage: 24 VDC.

Mains inputs/outputs: 4 mm safety sockets.

Bus inputs/outputs: 2 mm safety sockets.

• N-KNX35. KNX/EIB Infrared Transmitter/Receiver Module.

The IR remote is powered by two batteries of type Alkaline (LR03/AAA; 1,5V).

Normal functions:

Switching.

Switching and Dimming.

Control of blinds.

• N-KNX25. KNX/EIB Single Line Extending Bus Module.

Nominal voltage: 230 VAC.

Frequency: 50 Hz.

KNX bus voltage: 24 VDC.

Mains inputs/outputs: 4 mm safety sockets.

Bus inputs/outputs: 2 mm safety sockets.

Interconnection with other KNX/EIB systems.

• N-KNX2. KNX/EIB Additional Power Supply Module.

KNX bus voltage: 28 VDC.

Bus inputs/outputs: 2 mm safety sockets.

• All necessary cables to realize the practical exercises are included.

Cables and Accessories, for normal operation.

Manuals:

This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

- Dimensions: 640 x 320 x 670 mm approx. (25.19 x 12.59 x 26.37 inches approx.) - Weight: 60 Kg approx. (132 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.-   Study of the fundamental of a KNX/EIB installation BUS.

2.-   Programming of on-off smart switches to demonstrate KNX/EIB switching operations.

3.-   Programming of switching security system control.

4.-   Study of preparation and installation methods of a KNX/EIB project.

5.-   Utilization of conventional switches in an EIB project.

6.-   Programming the 3 way switching equivalent circuit.

7.-   Make complex logics with binary inputs and outputs.

8.-   Make a wide security network with several units with binary inputs and outputs.

Some practical possibilities with additional and recommended modules:

9.-   Programming the touch panel according to different scenes.

10.- Extending a bus system through a single-line topology.

11.- Programming of several alarms to protect the system.

12.- Programming of fire sensor for alert fire in the room.

13.- Programming of smoke detector for a complete protection against fire.

14.- Programming of flooding protection.

15.- Study of the operation of an infrared barrier security.

16.- Study of protection against intruders with a movement sensor.

17.- Verify the state of a room with the touch panel.

18.- Programming of the siren alarm to inform of an event.

19.- Programming of the complete entrance protection with door and bolt sensor.

20.- Notification of a broken glass.

21.- Checking the window state.

22.- Programming of proximity sensor for distance protection.

23.- Use of magnetic card for control access.

24.- Programming of the magnetic reader for card recognition.

25.- Programming of the fingerprint recognition.

26.- Centralized control of the main configurations in the touch panel.

27.- Extending a bus system through a single-line topology.

28.- Manual control over the main actuators.

Optional

AEL-KNX3/ICAI. Interactive Computer Aided Instruction Software System:

This complete software package consists of an Instructor Software (INS/SOF) totally integrated with the Student Software (AEL-KNX3/SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.