TENDER SPECIFICATIONS (for main items)

1 AEL-SVC Application.

• N-ALI01. Industrial Main Power Supply.

Supply voltage: 400 VAC, 3PH+N+G.

ON-OFF removable key.

Output voltage connections:

Three-Phase + Neutral: 400 VAC.

Single-Phase: 230 VAC.

Three-Phase supply hose with IP44 3PN+E 32A 400 V connecting plug.

Differential magnetothermal, 4 poles, 25 A, 30 mA AC 6 KA.

Emergency stop push button.

GND terminal.

• N-AE1. Transmission Lines Simulation Module.

Supply voltage: 400 VAC, 3PH+N.

Three-phase line with variable parameters.

Concentrated parameters line.

Four capacitances benches between lines with three capacitances of 1 µF each one.

Two capacitances benches between line and ground composed by two capacitances of 1 and 2 µF.

Resistance of the line that can be wiring independently:

Three resistors of 15 Ω.

Three resistors of 30 Ω.

Inductance of the line with several set values: 33 mH, 78 mH, 140 mH, 193 mH and 236 mH.

Neutral resistor of 10 Ω.

• N-EALD. Network Analyzer Unit  with  Data Acquisition. (2 units).

The network analyzer module allows fulfilling measurements, displaying and analyzing all the parameters of the AC electrical networks. It has an LCD screen and push-buttons for the navigation through the different menus. It includes specific software for monitoring current and voltage curves, harmonics display, tariffs programming, alarms programming and electrical parameters storage.

Features:

Multifunctional three-phase power meter:

Single and three-phase voltage. Up to 690 VAC L-L.

Phase and line current. Current range up to 200%. Measurement from 0-10 A.

Active, reactive and apparent power.

Suitable frequencies: 25 Hz, 50 Hz, 60 Hz y 400 Hz.

Display of the V-I vector diagram.

Supply voltage: 85-265 VAC.

Energy quality control:

Current and voltage individual harmonics measurement. Up to the 40th  harmonic.

THD voltage and current, TDD and K-factor.

Maximums and minimums display.

Waveforms display, 128 samples/sec.

Events and data storage.

Harmonics analyzer:

THD voltage and current, TDD current and K-factor, up to the 40th  harmonic.

Current and voltage harmonic spectrum and angles.

Tariff programming:

Class 0.5S IEC 62053-22, active and reactive power in four quadrants.

Measurement of the total and per phase three-phase active, reactive and apparent powers.

Usage time, 4 energy/demand records of total tariffs.

8 tariffs, 4 seasons, 4 types of days.

Automatic daily report of energy consumption maximums and minimums.

Communications:

Modbus TCP communication protocol with Ethernet interface.

• N-REL09. Time Electronic Relay against Overcurrents (1.2 - 7 A).

Electronic thermal relay.

Overload protection.

Range 1.2 - 7 A.

Reset and test function.

1 NONC contact.

Temporization.

• N-PSM. Power Switch Module.

Supply voltage: single-phase 230 VAC.

Power terminals:

Four power input terminals (3PH+N).

Four power output terminals (3PH+N).

Auxiliary contacts:

One “NO” contact.

One “NC” contact.

Two push-buttons to open / close the power terminals and auxiliary contacts.

Two control contacts of 24 VDC.

Two voltage supply outputs of 24 VDC.

• N-REFT/3C. 3 x 300 W Three-Phase Configurable Resistors Module.

Configurable Star and Delta connections.

Three banks with three three-phase resistors of 1600 Ω.

Nominal voltage: 400 VAC.

Nominal power: 3x (3 x 300) W.

• N-INDT/3C. 3 x 300 VAr Three-Phase Configurable Capacitors Module.

Configurable Star and Delta connection.

Three benches with three-phase inductances of 5 H each one.

Nominal voltage: 400 VAC.

Nominal power: 3 x (3x300) VAr.

• N-CAR19T/3C. 3 x 300 VAr Three-Phase Configurable Inductances Module.

Configurable Star and Delta connection.

Three benches with three-phase capacitors of 2 µF each one.

Nominal voltage: 400 VAC.

Nominal power: 3 x (3 x 300) Var.

• N-TRANS09.  Three- phase Isolating Transformer, 400/400 VAC, 1 kVA, Module..

Nominal power: 1kVA.

Primary Winding Voltage: 3x 400 VAC Δ.

Secondary Winding Voltage: 3x 400 VAC Y.

Adjustable overcurrent protection: 1.6-2.5 A.

GND terminal.

• N-TCR01. TCR Thyristor Reactor Controller Module.

Supply voltage: 230 VAC.

Nominal power: 1 kVA.

Rated current: 1.44 A.

Thyristor bridge firing angle control.

• N-INDT. Three-phase Commutable Inductive Load.

Nominal voltage: 400 VAC.

Inductance: 1.4 H.

Nominal Current: 1.6 A.

Manual switch to turn on / off inductances.

Fuses: 3x 2 A.

Terminals:

Four Input Terminals (3PH+N).

Four Output Terminals (3PH+N).

GND terminal.

• AEL-PC. Touch Screen and Computer.

Touch Screen:

Energy efficiency class: A.

Screen diagonal: 68.6 cm (27 inch (s)).

Power consumption (operating): 26 watts.

Annual energy consumption: 38 kWh.

Power consumption (standby / off) 0.49 watts.

Screen resolution: 1920 x 1080 pixels.

Computer:

Processor Number: Intel Core i7-6600U Processor (4M Cache, up to 3,40 GHz).

Cache: 4 MB Intel Smart Cache.

Clock speed: 2.6 GHz.

# Of Cores/# of Threads: 2/4.

Max. TDP/Power: 15 W.

Memory Types: DDR4-2133, LPDDDR3-1866, DDR3L-1600.

Graphics: Intel HD 530.

Slot for PCI Express.

• N-TSC01. TSC Thyristor Switch Capacitor Module.

Supply voltage: 230 VAC.

Nominal power: 1 kVA.

Rated current: 1,44 A

Thyristor bridge firing angle control.

• N-CONT. Three- phase Commutable Capacitive Load.

Nominal voltage: 400 VAC.

Capacitance: 3x 7 µF.

Manual switch to turn on / off capacitors.

Fuses: 3x 4 A.

Terminals:

Four Input Terminals (3PH+N).

Four Output Terminals (3PH+N).

GND terminal.

• EMT7/1K. 1 kW/1P Asynchronous Three-Phase Motor of Squirrel Cage.

Nominal power: 1100 W.

Nominal voltage: 3 x 230/400 VAC Δ/Y.

Frequency: 50/60 Hz

Number of poles: 2.

Speed: 2730 rpm.

Nominal current: 2.52 / 1.45 A.

• FRENP. Magnetic Powder Brake.

Nominal Torque: 5 Nm.

Maximum Power Dissipation: 100 W.

Maximum output current adjustment.

Operating modes “freewheel “ and “blocking”.

Nominal voltage: 24 VAC/VDC.

Maximum Output Current: 2 A.

Output Load (Resistor): 4 to 20 Ohms.

Maximum power consumed: 70 W.

Remote voltage control: 0 to 10 VDC.

Weight: 4 Kg.

• N-DLC01. Dynamic Load Controller 1.

Supply voltage: 230 VAC.

LCD Display.

Setting of maximum, minimum and valley braking signal times to simulate real daily energy consumption.

Manual and automatic braking torque.

GND terminal.

• All necessary cables to realize the practical exercises are included.

The complete unit includes as well:

Advanced Real-Time SCADA.

Open Control + Multicontrol + Real-Time Control.

Specialized EDIBON Control Software based on LabVIEW.

Projector and/or electronic whiteboard compatibility allows the unit to be explained and demonstrated to an entire class at one time.

Capable of doing applied research, real industrial simulation, training courses, etc.

Remote operation and control by the user and remote control for EDIBON technical support, are always included.

Totally safe, utilizing 4 safety systems (Mechanical, Electrical, Electronic & Software).

Designed and manufactured under several quality standards.

Optional ICAI software to create, edit and carry out practical exercises, tests, exams, calculations, etc. Apart from monitoring user's knowledge and progress reached.

This unit has been designed for future expansion and integration. A common expansion is the EDIBON Scada-Net (ESN) System which enables multiple students to simultaneously operate many units in a network.

2 AEL-SVC/CCSOF. Computer Control +Data Acquisition+Data Management Software:

The three softwares are part of the SCADA system.

Compatible with the industry standards.

Flexible, open and multicontrol software, developed with actual windows graphic systems, acting simultaneously on all process parameters.

Management, processing, comparison and storage of data.

It allows the registration of the alarms state and the graphic representation in real time.

Open software, allowing the teacher to modify texts, instructions. Teacher’s and student’s passwords to facilitate the teacher’s control on the student, and allowing the access to different work levels.

This unit allows the 30 students of the classroom to visualize simultaneously all the results and the manipulation of the unit, during the process, by using a projector or an electronic whiteboard.

5 Cables and Accessories, for normal operation.

6 Manuals:

This unit is supplied with 7 manuals: Required Services, Assembly and Installation, Control Software, Starting-up, Safety, Maintenance & Practices Manuals.

*	References 1 to 4 are the main items: AEL-SVC + EL-SVC/CCSOF + Cables and Accessories + Manuals are included in the minimum supply for enabling normal and full operation.

EXERCISES AND PRACTICAL POSSIBILITIES TO BE DONE WITH THE MAIN ITEMS

Some practical exercises possibilities with the base unit SVC-UB and SVC-K1:

1.-Manual reactive power control with manual commutable inductances and capacitors loads.

2.-Automatic reactive power compensation with the thyristor reactor controller module (TCR).

3.-Manual reactive power compensation with the thyristor reactor controller module, varying the firing “alfa”.

4.-Comparison of the behavioral dynamics of the transmission system with the manual reactive power control and the automatic reactive power control with   thyristors (TCR).

5.-Visualization of the grid parameters with the influence of the manual reactive power control.

6.-Visualization of the grid parameters with the influence of the automatic reactive control with the thyristors reactor module (TCR).

7.-Manual control of the thyristor firing angle in the TCR and visualization of the grid reactive power response.

8.-Visualization of the voltages nodes in the transmission line and droop voltages compensation against sudden load changes.

Some practical exercises possibilities with the base unit SVC-UB and SVC-K2:

9.-Automatic reactive and active power compensation with the thyristor reactor controller module (TCR) and thyristor capacitor switch controller module (TCS).

10.-Manual reactive power compensation with the thyristor reactor controller module and the thyristor capacitor switch controller module, varying the firing “alfa”.

11.-Comparison of the behavioral dynamics of the transmission system with the manual reactive power control and the automatic reactive power control with both thyristors reactor and capacitor controllers (TCR and TSC).

12.-Visualization of the grid parameters with the influence of the manual reactive and active power control.

13.-Visualization of the grid parameters with the influence of the automatic power factor control with the thyristors reactor and capacitor modules (TCR and TSC).

14.-Manual control of the thyristor firing angle in the TCR and TSC, and visualization of the grid power factor response.

15.-Visualization of the voltages nodes in the transmission line and droop voltages compensation against sudden load changes.

Some practical exercises with Control and Data Acquisition System Software for Electrical Machines EM-SCADA:

16.-Optimum firing angle determination for each load condition.

17.-Visualization and comparison of the reactive power compensation waves working with both TCR and TSC

18.-Visualization of the voltage and current gaps according to the thyristors firing angle.

19.-Thyristors firing angle identification with the high speed data acquisition system.

Other possibilities to be done with this unit:

20.-Many students view results simultaneously.

To view all results in real time in the classroom by means of a projector or an electronic whiteboard.

21.-The Computer Control System with SCADA allows a real industrial simulation.

22.-This unit is totally safe as uses mechanical, electrical and electronic, and software safety devices.

23.-This unit can be used for doing applied research.

24.-This unit can be used for giving training courses to Industries even to other Technical Education Institutions.

- Several other exercises can be done and designed by the user.

Tender Specifications (for optional items)

a) Technical and Vocational Education configuration

5 AEL-SVC/ICAI. Interactive Computer Aided Instruction Software System.

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc...so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.

b) Multipost Expansions options

6 MINI ESN. EDIBON Mini Scada-Net System for being used with EDIBON Teaching Units.

MINI ESN. EDIBON Mini Scada-Net System allows up to 30 students to work with a Teaching Unit in any laboratory, simultaneously.

The MINI ESN system consists of the adaptation of any EDIBON Computer Controlled Unit with SCADA integrated in a local network.

This system allows to view/control the unit remotely, from any computer integrated in the local net (in the classroom), through the main computer connected to the unit.

Main characteristics:

- It allows up to 30 students to work simultaneously with the EDIBON Computer Controlled Unit with SCADA, connected in a local net.

- Open Control + Multicontrol + Real Time Control + Multi Student Post.

- Instructor controls and explains to all students at the same time.

- Any user/student can work doing "real time" control/multicontrol and visualisation.

- Instructor can see in the computer what any user/student is doing in the unit.

- Continuous communication between the instructor and all the users/students connected.

Main advantages:

- It allows an easier and quicker understanding.

- This system allows you can save time and cost.

- Future expansions with more EDIBON Units.

The system basically will consist of:

This system is used with a Computer Controlled Unit.

- Instructor’s computer.

- Students’ computers.

- Local Network.

- Unit-Control Interface adaptation.

- Unit Software adaptation.

- Webcam.

- MINI ESN Software to control the whole system.

- Cables and accessories required for a normal operation.