TENDER SPECIFICATIONS

The trainer includes the following modules:

• N-ALI02. Domestic Power Supply

Supply voltage (Single-Phase): 230 VAC, PH+N+G.

ON-OFF removable key.

Output Voltage Connections:

Two Single-Phase: 230 VAC.

Single-Phase supply hose connecting plug.

Differential magnetothermal, 2 poles, 25A, 30mA AC 6KA.

• N-CFPS. Advanced Single-phase power factor controller module.

Power factor automatic controller.

Regulation in four quadrants.

FCP (fast computerized program) system.

Compensation stages: 6 relay type outputs.

LCD screen with three digits and more than 20 icons to indicate different operating conditions.

ON-OFF switch.

• N-CAR19S4D. Three-phase digital capacitor banks module.

Digital capacitors bank module.

6 stages of  7uF.

Voltage supply of 230 VAC.

Step signal input jack.

Micro connector of 8 pins.

• N-IND. Inductance module.

Value: 1.4H.

Current fuse: 2A

• N-REF. Fixed resistor module.

Value: 150 ohm.

Maximum power: 500 W.

Current fuse: 2 A.

• All necessary cables to realize the practical exercises are included.

Cables and accessories, for normal operation.

Manuals:

This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

Dimensions:  1600 x 550 x 2000 mm. approx. (62.99 x 21.65 x 78.73 inches approx.) Weight: 50 Kg. approx. (110 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.- Studying the reactive power compensation for static loads.

2.- Comparison of the reactive energy before  and after of power factor compensation.

3.- Optimum configuration of the reactive  power controller.

4.- Checking the compensation control unit  applying different reactive power levels.

5.- Practical case in which the user carries out manually the reactive energy compensation.

Optional

AEL-APFC/ICAI. Interactive Computer Aided Instruction Software System:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager –ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft –ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

-ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc...so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

User Data Base Management.

Administration and assignment of Workgroup, Task and Training sessions.

Creation and Integration of Practical Exercises and Multimedia Resources.

Custom Design of Evaluation Methods.

Creation and assignment of Formulas & Equations.

Equation System Solver Engine.

Updatable Contents.

Report generation, User Progression Monitoring and Statistics.

-ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired technical knowledge.

Innovative features:

Student Log-In & Self-Registration.

Existing Tasks checking & Monitoring.

Default contents & scheduled tasks available to be used from the first session.

Practical Exercises accomplishment by following the Manual provided by EDIBON.

Evaluation Methods to prove your knowledge and progression.

Test self-correction.

Calculations computing and plotting.

Equation System Solver Engine.

User Monitoring Learning & Printable Reports.

Multimedia-Supported auxiliary resources.