TENDER SPECIFICATIONS

Anodized aluminum frame and panels made of painted steel.

Main metallic elements made of stainless steel.

Diagram in the front panel with distribution of the elements similar to the real one.

The unit includes:

Stainless steel tunnel of 2000 x 550 x 550 mm approx. (78.74 x 21.65 x 21.65 inches approx.), which includes two transparent windows of 1000 x 130 mm approx. (39.37 x 5.11 inches approx.).

Aerogenerator:

Diameter: 510 mm. Starting air speed: 2.0 m/s.

Max. power output: 60 W. Voltage: 12 V. Max. charging current: 5 A.

It includes a set of six blades.

The aerogenerator incidence angle can be modified to simulate different weather conditions and it is possible to set different blade configurations (aerogenerator with six, three or two blades).

This unit allows to change the angle of every blade, as each one embeds its own calibrated protractor. The blades can be adjusted in a 360º range.

Low friction alternator, which provides a smooth and silent output.

Friction less alternator and fixed shaft.

Axial fan with variable speed for wind simulation:

Max. flow rate: 10650 m³/h. Max. power: 1.5 kW.

It includes a finger guard.

DC Load Regulator:

It regulates how power generated in the aerogenerator is distributed to and from the auxiliary battery and to the load. A display informs about the state of the charge, operating parameters and fault messages. The functions of the electronic protection are:

Overvoltage disconnection, short circuit protection of load and module, overvoltage protection at module input, over-temperature and overload protection, and battery overvoltage shutdown.

Auxiliary battery charger:

It carefully assesses the battery and then delivers the optimum charge required.

Battery: Nominal voltage: 12 V. Rated capacity (20 hours rate): 24 A/H.

DC Loads Module:

Metallic box with diagram on the front panel.

Two lamps of 12 V.

One DC motor: voltage: 24 V, power: 5 W.

Rheostat of 500 W.

Two manual switches.

Independent connection for every load with the help of the four position load selector:

Position 1: The aerogenerator or regulator operates at open circuit voltage.

Position 2: The DC lamps and the rheostat are directly connected to the aerogenerator or regulator. These loads can be connected independently or in parallel with the help of manual switches.

Position 3: The DC motor is directly connected to the aerogenerator or regulator.

Position 4: Bypass mode, there are no DC loads.

Sensors/meters:

“J” type temperature sensor to measure the air temperature inside of the tunnel.

The air speed is measured with an anemometer placed in the tunnel; anemometer range: 0.20 – 20 m/s.

A sensor measures the rotational speed of the aerogenerator (r.p.m.).

DC voltage and current sensor. It is possible to know, in real time, the value of the DC voltage and the current given by aerogenerator, measured before and after the regulator.

Electronic console:

Metallic box.

Connector for the temperature sensor. Digital display for the temperature sensor.

Connector for the speed sensor. Digital display for the speed sensor.

Connector for the DC current and voltage sensor. Digital display for the current (DC) and Digital display for the voltage (DC).

Fan regulator for the axial fan. Switch for the axial fan.

Connectors for the force sensors. Digital displays for the force sensor.

Cables and Accessories, for normal operation.

Manuals: This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

Recommended elements:  (Not included)

- EE-KIT. Kit of Conversion and Consumption Simulation (AC):

Single-phase inverter.

AC Loads Module:

Three lamps, an axial compact fan with plastic guards and four positions selector.

AC voltage and current sensor.

- EE-KIT2. Grid Connection Inverter Kit:

Grid Connection Inverter.

Grid Simulator (ESR).

- EEE/T. Force and Torque Meter for the Wind Turbine.

Unit: -Dimensions: 2300 x 630 x 1080 mm approx. (90.55 x 24.80 x 42.52 inches approx.) -Weight: 120 Kg approx. (264.55 pounds approx.)

Electronic console:  -Dimensions: 490 x 330 x 310 mm approx. (19.29 x 12.99 x 12.20 inches approx.)-Weight: 15 Kg approx. (33 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.-  Identification and familiarization with all components of the unit and how they are associated with its operation.

2.-  Familiarization with the regulator parameters and the wind energy measurements.

3.-  Study of the conversion of kinetic wind energy into electrical energy.

4.-  Study of the power generated by the aerogenerator depending on the wind speed.

5.-  Determination of the typical parameters of the aerogenerator (short circuit current, open-circuit voltage, maximum power).

6.-  Determination of the I-V curve.

7.-  Study of voltage, current and power in function of different loads.

8.-  Study of the influence of the load variation on the aerogenerator.

9.-  Determination of the maximum power output of the aerogenerator.

10.-Determination of the P-air speed curve.

11.-Study of the power generated by the aerogenerator depending on the incident angle of the air.

12.-Study of the characteristic curve of the rotor.

13.-Study of the connection of loads to direct voltage.

Additional practical possibilities:

14.-Study of the power coefficient.

15.-Study of the aerogenerator operation in function of the blade configuration (aerogenerator with six, three or two blades).

16.-Study of the optimum number of blades.

17.-Study of the aerogenerator operation in function of the angle of the blades.

18.-Study of the efficiency of a wind power unit.

19.-Determination of the efficiency of a wind power unit in function of the number of blades, angle of the blades and angle of the generator.

Practices to be done with the recommended element “EE-KIT”:

20.-Study of the connection of loads to alternating voltage of 220 V.

Practices to be done with the  recommended element “EE-KIT2”:

21.-Study of the inverter connected to the grid simulator.

Practices to be done with the  recommended element “EEE/T”:

22. Determination and study of the thrust force on the wind turbine

23. Determination and study of the mechanical torque of the wind turbine.

Optional

EEE/ICAI. Interactive Computer Aided Instruction Software System:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.