Tender Specifications

Anodized aluminum frame and panels made of painted steel.

The unit includes wheels to facilitate its mobility.

Main metallic elements made of stainless steel.

Diagram in the front panel with distribution of the elements similar to the real one.

Recirculation hose made of specific polymer for fuels.

Venturi tube made of polymer resistant to chemicals and fuels.

Filter made of cellulose with pore size of 10 microns.

Purification compartment with ion exchange resin.

Single-phase pump specific for diesel oil:

Inside made of stainless steel.

Gaskets made of polymer resistant to chemicals and fuels.

Maximum flow rate: 80  l/min.

Maximum head: 25 m.

Reactor tank:

Conical vessel made of high density polyethylene resistant to fuels.

Lower outlet for decantantion.

Capacity: 120  l.

Includes:

Heating element of 1.5 kW.

Two level switches made of polymer resistant to fuels.

“J” type temperature sensor.

Glycerin outlet tube and drain tap made of stainless steel.

Oil tank:

Vessel made of high density polyethylene resistant to fuels.

Capacity: 130  l.

Includes:

Removable funnel with cover.

Mesh filter for solid particles.

Methylate tank:

Vessel made of high density polyethylene resistant to chemicals.

Includes:

Lower tap to regulate the flow of product to be added.

Graduated volumetric scale up to 10  l.

Glycerin tank:

Vessel made of high density polyethylene resistant to fuels.

Capacity: 25  l.

Includes:

Lower tap with adjustable flow.

Graduated scale up to 25  l.

Biodiesel tank:

Vessel made of high density polyethylene resistant to fuels.

Capacity: 60  l.

Includes:

Lower tap with adjustable flow.

Graduated scale up to 60  l.

Meters:

Digital Balance to measure the biodiesel and glycerin mass obtained; range: 0 - 150 Kg.

pH meter to study the quality of the biodiesel obtained; range: 0 - 14 pH.

Manometer.

Titration kit:

Suitable bottle for methanol.

Bottle for titrant.

Four droppers of 7 ml.

Three glasses of 250 ml.

Pipette of 10 ml with hand pump.

Plastic wash bottle of 500 ml.

Electronic console:

Metallic box.

Temperature sensor connection.

Digital display for the temperature sensor.

Heating element switch and control.

Switch and regulator for the pump (0 - 100%).

Cables and Accessories, for normal operation.

Manuals: This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

Dimensions: Unit: 1800 x 810 x 1550 mm approx. (70.86 x 31.89 x 61.02 inches approx.)  Weight: 160 Kg approx. (352.74 pounds approx.)

Electronic console: 490 x 330 x 310 mm approx. (19.29 x 13 x 12.20 inches approx.)  Weight: 10 Kg approx. (22 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.-  Study and performance of tests to determine the appropriate amount of catalyst to be used in the biodiesel generation process (titration).

2.-  Familiarization with the operation of a biodiesel production unit during the products reaction, extraction and washing process.

3.-  Study of the agitation and mixing level influence on the final quality of the obtained biodiesel.

4.-  Study of the washing and purifying stage influence on the final quality of the obtained biodiesel.

5.-  Study of the influence of temperature during the vegetable oilspreheating and reaction stage on the final quality of the obtained biodiesel.

6.-  Analysis and tests to determine the biodiesel quality.

Additional practical possibilities:

7.-  Study of vegetable oils transesterification with an alcohol to produce biodiesel.

Optional

EBDB/ICAI. Interactive Computer Aided Instruction Software System:

This complete software package consists of an Instructor Software (INS/SOF) totally integrated with the Student Software (EBDB/SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.